OFFICIAL COORDINATION REQUEST FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION DATE-  10 June 2010

PROJECT-  Bonneville Lock and Dam
RESPONSE DATE-  30 June 2010
Description of the problem- Unit 7 has completed the 72 hour heat run, now it needs to complete a 100 day operation, as per the contract and warranty.  At the June meeting, FPOM requested chain gate 6C be closed and 7A opened.
Type of outage required- BON requests to move Unit 7 to third in priority for PH1.  Project unit priority would be 12,18,15,17,14,13,16,1,3,7,6,2,4,5,8,10,9 (11 remains OOS).
Automated chain gate 6C would be closed.  Manual chain gate 7A would be opened to elevation 71’.
Impact on facility operation- Moving Unit 7 up in priority will allow the Project to get through the 100 day operation quicker.  
Switching to chain gate 7A will require the Project to monitor forebay and adjust the chain gate more often than if the automated chain gate 6C were left open.
Length of time for repairs- The unit priority change is requested until Unit 7 has had 100 days of operation.  This will be flow dependent and may take several months to a year or more.
Expected impacts on fish passage- There are no impacts expected to fish passage since a chain gate will be opened over an operating unit.  
Comments from agencies

CRITFC- This looks ok to me, thanks tom

NOAA- We are ok with the proposed operation.  Thanks,  Gary

Final results- the Project will move forward with the unit priority change.
Please email or call with questions or concerns.
Thank you, 

Tammy Mackey

NWP Operations Division Fishery Section

503-961-5733 Blackberry

Tammy.m.mackey@usace.army.mil 

