CENWP-OD








11 August 2011

MEMORANDUM FOR THE RECORD

Subject: FINAL minutes for the 11 August 2011 FPOM meeting.

The meeting was held in the NOAA Fisheries St. Helen’s Room, Portland OR.  In attendance:

	Last
	First
	Agency
	Office/Mobile
	Email

	Baus
	Doug
	USACE-RCC
	503-808-3995
	Douglas.M.Baus@usace.army.mil

	Benner
	David
	FPC
	503-230-7564
	dbenner@fpc.org

	Bettin
	Scott
	BPA
	503-230-4573
	swbettin@bpa.gov

	Conder
	Trevor
	NOAA
	503-231-2306
	Trevor.conder@noaa.gov

	Cordie
	Bob
	USACE-TDA
	541-506-7800
	Robert.p.cordie@usace.army.mil

	Fredricks
	Gary
	NOAA
	503-231-6855
	Gary.fredricks@noaa.gov

	Fryer
	Jeff
	CRITFC
	
	fryj@critfc.org

	Hausmann
	Ben
	USACE-BON
	541-374-4598
	Ben.J.Hausmann@usace.army.mil

	Hevlin
	Bill
	NOAA
	503-230-5415
	Bill.hevlin@noaa.gov

	Kiefer
	Russ
	IDFG
	208-334-3791
	russ.kiefer@idfg.idaho.gov

	Klatte
	Bern
	USACE-NWP
	503-808-4318
	Bernard.a.klatte@usace.army.mil

	Kruger
	Rick
	ODFW
	971-673-6012
	Rick.kruger@coho2.dfw.state.or.us

	Lorz
	Tom
	CRITFC
	503-238-3574
	lort@critfc.org

	Mackey
	Tammy
	USACE-NWP
	503-961-5733
	Tammy.m.mackey@usace.army.mil

	Martinson
	Rick
	PSMFC
	541-296-8989
	rickdm@gorge.net

	Meyer
	Ed
	NOAA
	503-230-5411
	Ed.meyer@noaa.gov

	Moody
	Greg
	USACE-NWW
	509-527-7124
	Gregory.p.moody@usace.army.mil

	Rerecich
	Jon
	USACE-BON
	541-374-7984
	Jonathan.g.rerecich@usace.army.mil

	Richards
	Steven
	WDFW
	509-545-2050
	richaspr@dfw.wa.gov

	Schwartz
	Dennis
	USACE-NWP
	541-374-4567
	Dennis.e.schwartz@usace.army.mil

	Scott
	Shane
	NWRP
	360-576-4830
	Sscott06@earthlink.net

	Stansell
	Robert
	USACE-FFU
	541-374-8801
	Robert.j.stansell@usace.army.mil

	Statler
	Dave
	Nez Perce
	
	daves@nezperce.org

	Whiteaker
	John
	CRITFC
	
	whij@critfc.org

	Wright
	Lisa
	USACE-RCC
	503-808-3943
	Lisa.S.Wright@usace.army.mil

	Zyndol
	Miro
	USACE-JDA
	541-506-7860
	Miroslaw.a.zyndol@usace.army.mil



S. Bettin, R. Kiefer, S. Richards, S. Scott, D. Statler, L. Wright, called in.
1. Finalized results from this meeting.

1.1. FPOM agreed with the change in unit priority at BON PH2, starting with Unit 12 and moving north.  They also agreed that if there are no blown grates in weirs with direct connection to the AWS, except for weir 3, then there is no need to dewater the AWS for fish salvage.
1.2. FPOM agreed with the operation of BON units 16 and 18 to flush fish from U17.

1.3. FPOM agreed to the following plan of action on the 10 August special FPOM call and today’s meeting: switch to PH1 priority until the Washington fishway is back to normal operation, operate units at the best geometry, PH2 unit priority will be from south to north, BON will finish inspecting weirs with a rental crane and camera on a stick, dive services will be acquired to reinstall the displaced grates.  Divers are expected as early as 16 August.
1.4. BON AFF.  WDFW needs to provide justification as to why they feel they may fall under the US v Oregon exception.  

1.5. Coordination forms.

1.5.1. LMN switchgear replacement.  FPOM had no issues.

1.6. FPOM agreed with including JDA in the orifice light improvement plan.
1.7. FPOM is ok with the two separate pages for salmon counts and lamprey counts.

2. The following documents were provided or discussed.  Documents may be found at http://www.nwd-wc.usace.army.mil/tmt/documents/FPOM/2010/ 

2.1. Agenda, Fish Passage O&M Coordination Team.  

2.2. Coordination/Notification Forms (NWW/NWP)
2.3. Avian predation update. (Zorich) 

2.4. FPP change forms (NWD/NWP/NWW)
3. Action Items

3.1. NWP Action Items
3.1.1. [Aug 11] BON Unit 17.  ACTION: Schwartz will arrange for the unit repair PM to present at FFDRWG.

3.1.2. [Aug 11] JDA MU1 trashrack repairs.  ACTION: Mackey and Zyndol will draft a coordination form requesting unit outages to allow divers to clean off the trashrack sill.
3.1.3. [Aug 11] BON AFF protocols.  ACTION:  Klatte and Rerecich will work with WDFW as to whether they fall under US v Oregon.

3.1.4. [Aug 11] Critical Infrastructure.  ACTION: Klatte will construct the list for NWP.  Moody will have to do some more investigation to find the NWW list.
3.1.5. [Aug 11] JDA DSM orifices.  ACTION: Schwartz will bring the issue to FFDRWG.  Fredricks would like a method to ensure the gate is truly open, whether it’s a sensor or mechanical.  

3.1.6. [Aug 11] TDA fishlock testing.  ACTION: Cordie will bring back volume calcs and sediment sampling.
3.2. NWW Action Items

3.2.1. [Dec 10] MCN emergency bypass operations.  ACTION:  NWW engineers will send drawings to Dykstra, who will then send them to FPOM.  Information will include depths and velocities, etc.  STATUS:   Completed. Fredricks still has some questions about the information provided.  A meeting to discuss these issues will be scheduled.
3.2.2. [May 11] LMN RSW SOP.  ACTION:  NWW will provide SOP at August FPOM.  STATUS: NWW is still drafting.
3.2.3. [May 11] LGS T-1 Transformer Iso-Phase Bus Seal Repairs & T-1/T-2 500 KV Disconnects Inspection.  ACTION: Stephenson will investigate the potential for an emergency fishing closure during this work.  STATUS: completed.
3.2.4. [Jun 11] MCN count station debris on the picket leads.  ACTION:  NWW will confirm if there is a hole in the upstream lead and if there isn’t, the upstream leads will be left out of the water all the time.  STATUS: confirmed there are holes in both upstream and downstream leads in both ladders.  S. Richards commented that when the OR shore backboard was pulled, there was no structure behind the board.  He saw fish swim between the picket leads when the board was pulled, so the exit hole is important for those fish to exit.  Fredricks asked the size of the “holes”.  Moody responded that they are normal sized orifices (18” or 24”).  
3.2.5. [Jun 11] LGS adult passage.  ACTION:  Moody and Dykstra will bring this issue to the SRWG forum.  They will develop a draft one-pager, in conjunction with FPOM members.  STATUS: Model trip in winter 2011-12 and RT study in 2013.  
3.2.6. [Jun 11] MCN TSW removal.  ACTION:  Dykstra will provide Fredricks with times when the spill pattern was altered.  STATUS: Completed.
3.2.7. [Jun 11] Spill weir debris clogs.  ACTION:  NWW will draft language to allow for immediate spills when debris builds up in front of surface routes.  Status: completed.
3.2.8. [Jun 11] MCN unused fishway entrances.  ACTION:  NWW will bring back a schedule detailing how much time it would take to fill the openings with concrete.  STATUS: Not completed due to funding.  A new schedule will be provided if funding becomes available.
3.2.9. [Aug 11] MCN count station picket lead orifices and count station backboard.  Action: Moody will follow up with MCN to make sure there is a panel behind the backboard.
3.2.10. [Aug 11] DWR draft tube dewatering.  ACTION: Moody will send the latest version by 12 August.

3.2.11. [Aug 11] MCN NERC/WECC testing.  ACTION: Moody will get more information and re-submit to FPOM.

4. Updates 

4.1. NWW Updates 
4.1.1. NWW Turbine cooling water strainer update.  The spreadsheet will be posted to the website.  http://www.nwd-wc.usace.army.mil/tmt/documents/FPOM/2010/.  
4.1.2. Transportation.  
4.1.2.1. Last barge leaving LWG on 15 August.  
4.1.2.2. MCN daily transport since 3 August.  One day barge, one day truck.  
4.1.2.3. Every other day trucking mode- 17 August.  Fredricks asked about the unit work.  Bettin said it may all be completed by 13 August.  Temperatures and north loading may be issues.  Moody will keep an eye on it.

4.2. NWP Updates

4.2.1. BON Mid-season fishway ROV inspection results.  Displaced grates in the Washington Shore fishway.  FPOM had a conference call on 10 August to discuss the plan forward.  Hausmann reported a crane will be arriving today.  A manbasket and camera on a stick will be used to inspect the diffusers that could not be inspected with the ROV.  Klatte has been working with the Dive Safety Office to get divers in to replace the gratings.  
4.2.1.1. The plan is to replace the grates in place without dewatering the AWS.  A bulkhead will be installed at the UMT and the ladder dewatered from Weir 67 to tailwater.  Fredricks said if there are no other grates displaced in weirs that have direct access to the AWS, besides Weir 3, then do not dewater the AWS.  Schwartz suggested a solid orifice block might allow the diver to work on the grating without going below orifice flow.  The schedule for work is as early as 15 or 16 August.  Statler asked if there would be any inspection for lamprey in the pits.  Lorz commented that lamprey can get back out of the grates if they want because the grates are 1”.  Hausmann said the Project thought the easiest reattachment would be welding but the Navy divers may not have the equipment.  Rerecich stated the Project would cut out the welds and reattach the grates with clips in the winter.  Schwartz reported that the clips were not designed for uplift; they were designed to keep the grates in place while people walked on them.  Bettin asked about the potential to use zip ties.  Lorz suggested that the lamprey group may have some input on the design of tie down straps.  Tentatively planning to dewater in October to do more thorough repairs.  FPOM agreed with the change of unit priority starting with unit 12 moving up to unit 18.
4.2.1.2. Schwartz reported that Unit 17 is out of service due to the same issues that shut Unit 11 down.  The BON Chief of Ops is trying to rebalance the unit to allow for spinning at load then install tail logs.  There are only two units worth of tail logs.  Right now Unit 15 and Unit 11 are dewatered so Unit 17 won’t be dewatered until Unit 15 returns.  Fredricks asked if Unit 17 will take less than three years since we have the Unit 11 experience.  Schwartz could not say it would take less time but the goal is to not have Unit 17 out of service for as long.  Hausmann requested running units 18 and 16 when flushing U17 to make sure fish are flushed away from the draft tube.  FPOM agreed with the operation of units 16 and 18 to flush fish from U17.  ACTION: Schwartz will get the PM to present at FFDRWG.
4.2.2. TDA Mid-Season ROV inspection.  Everything looked great.
4.2.3. JDA- During our ROV inspection on 3 August, it was confirmed that at MU1C, one trashrack segment has a bar broken, which is sticking out and prevents raking of that slot (danger of hooking up of the raking crane and risking its damage.) Plus a couple of other segments have a corresponding bar completely missing which creates larger opening than desired and that could affect the integrity and working of the STS in that slot.  JDA would like to have the MU1C trashrack fixed soon and is proposing cleaning of MU1 top trashracks' segments by Navy Divers on 13 October. This cleaning is necessary since the debris accumulated on the top segment makes it impossible to hook a lifting beam to it.   MU1 is last on, first off at this time.
4.2.3.1. Coordination needs: JDA-S AWS 2 turbines need to be shut off for divers safety (AWS intake is located near MU1); 0700 to no longer than 1200, 5 hrs maximum on 13 October.  This is not the best time due to the peak fall migration, but it is important this work be done soon and there are really no better timing options. JDNFL is being dewatered on 7 November, so waiting after the peak fall migration is over doesn’t work this year. ACTION: Mackey and Zyndol will draft a coordination form.
4.2.4. JDA count station pickets- trapped adult update.  All adults appear to have been jumpers.  
4.3. Researcher updates.  
4.3.1. PNNL collecting lamprey from JDA SMF.  Collected lamprey on 10 August.
4.3.2. Bass fishing at TDA.  A few highlights: ODFW has rounded the 1,000 fish mark.  The weekly catch (averaging 100-150 per week) now consists of approximately 10% recaptures, and it’s rumored that the pikeminnow angling team is seeing a fair number of PIT-tagged bass at this stage as well.  Additionally, powerhouse catches (both sides) remain strong, whereas those in riprap areas have trailed off considerably in the recent few weeks.  
4.3.3. BON AFF.  Interpretation of the AFF use temperature limitations in the FPP (does WDFW's study fall under the US v Oregon exception).  Rerecich reported that the flume has been modified, the tank has been installed and the holding tanks should be ready to go.  Since they are using the old anesthetic tank, they will be restricted to fish less than 100 cm.  As far as working in temps 70 and above, WDFW needs to provide justification as to why they feel they may fall under the US v Oregon exception.  ACTION: Klatte and Rerecich will discuss with WDFW.
4.3.3.1. BON AFF.  CRITFC- would like to do some work on their equipment when the WS fishway goes to orifice flow for grate repairs.

4.4. FFDRWG Updates.  Next meeting is 17 August.  Schwartz handed out the schedule for discussion of the one-pagers on 24-25 August.
4.5. RCC update.  
4.6. BPA updates.  
5. Coordination/Notification forms needing approval.
5.1. LMN Switchgear replacement.  Moody provided and update that units 5 and 6 will be out of service for two weeks in November, during this replacement.  The issue is that the unit priority is 2,3,4,5,6,1.  FPOM had no issues. 
6. Critical Infrastructure.  Fredricks would like a running list of critical fish facility components.  Having a Top 10 list for each project would be useful.  ACTION: Klatte will construct the list for NWP.  Moody will have to do some more investigation to see where the NWW list may reside.
7. NWP DSM orifices.  
7.1. JDA new LED orifice lights.  Our internal model test of the proposed LED orifice light conducted by JDA Electrical has produced significantly less illumination as compared with the existing incandescent reflectors. Zyndol would like to put this FPOM agenda on hold until a better product is found.  Schwartz said that if BON lights are improved, then JDA should be included in that improvement plan.  Zyndol said the orifice tubes are 17’ long but LEDs could be placed further down the tube since they do not produce as much heat.  Moody said metal halide lights were used at LGS due to the light spectrum.  Schwartz said the design on the new orifice light rings have redundant LEDs and would only need to be changed every 10 years.  FPOM agreed with including JDA in the orifice light improvement plan.
7.2. JDA orifice gate/shaft issues.  Zyndol said JDA agrees with Fredricks and they will be looking into making modifications and repairs.  Zyndol reported that with the caisson, the Project can make repairs in-season if needed.  ACTION: Schwartz will bring the issue to FFDRWG.  Fredricks would like a method to ensure the gate is truly open, whether it’s a sensor or mechanical.  
7.3. BON orifice gate/shaft issues.  Hausmann reported BON fabricated and installed more robust connections on all DSM2 orifice gates.  BON no longer has concerns regarding metal fatigue with the orifice gates.

8. Fish count website.  Stansell presented the proposed changes to the fish count website.  FPOM is asked to comment on a change to the look and query features of the website, specifically, the separation of salmonids from lamprey (and shad).  The reports page is getting too big, especially with all the LPS and night lamprey counts soon to be coming.  Every feature will remain the same as it is now, just with lamprey having their own database site.  The column headings are still up for discussion, but there will likely be one more than is shown on the attached sample…that being “total lamprey”, adding all others together.  FPOM is ok with the two separate pages for salmon counts and lamprey counts.
8.1. The lamprey LPS counts that were posted for awhile may change as we have a meeting w/NMFS and COE folks later this month to discuss LPS counting protocols, proofing, etc.  Fredricks asked if the counts are additive.  Stansell responded that you can add them but they haven’t been added yet.  Part of the delay in doing that is the counts come in at different times and night counts have to be manually entered.
9. BON juvenile lamprey mortality. Fredricks provided a handout.  He expressed concern about the 9.9% overall mortality rate.  He tried to find a reason for it and if it was related to screens in and screens out.  He found mortality rates were high in the season though debris wasn’t.  He suggested it is another indicator that the gatewell condition is not conducive to safe juvenile passage.  Schwartz suggested some tests that could be done when the slot filler testing is conducted.  
10. TDA fishlock testing.  As part of the east fishladder backup study, TDA is looking into cleaning some piping in the fishlock which may flush some mud into the culdesac. Our project engineer is working on plans now.  The flush that occurred last year didn’t get the 48” and 36” pipes completely flushed.  Cordie asked if this is an in-water work task; currently the Project would like to have the water and sediment flush to the cul-de-sac.  He also said there are environmental regs that require the Project to make sure the sediment is clean enough to discharge back to the river.  Hevlin asked if the sediment could be trucked off-site.  Cordie said that would be very difficult.  Fredricks said he wouldn’t be concerned unless the sediment has hydro-carbons in there.  ACTION: Cordie will bring back volume calcs and sediment sampling.  
11. LGS Spillway Weir operations. Moody reported that the coordination to move the weir from low to high was completed in July.  Chinook numbers increased when spill decreased to below 30%.  Issues with fish passage have been worked on and the fixes appear to be working.  Adult passage was discussed at the NWW FFDRWG.  Hevlin commented that there were surprising outcomes with adult passage.  
12. LWG Powerhouse operations.  Refers to the coordination report sent on Monday.  Moody reported that the work is scheduled to be started around 22 August and should take about a week.  Until then, units 5 and 6 will be available.  Units 1-4 are experiencing the same ISO-phase issues seen at LGS.  Not sure those units will be back in service by 22 August.  Right now only one unit is running.  Fish passage may not be affected by the outages, but there isn’t much that can be done at this time.  Bettin said a full powerhouse outage will be needed before everything is back on-line.     

12.1. Adult Fish Trap Operations for Fall 2011.  Moody reported the Nez Perce has requested access to the trap.  NWW granted access provided the tribe gets their NOAA permit renewed.  Lyons Ferry has not sent in their access request yet.  Trapping usually begins around 20 August through November.  
12.2. Lower Granite Dam update after 11 August FPOM.  The repair work on the transformer will start early this coming Monday, August 15.  Repairs will be done by a BPA maintenance crew.  For the first portion of the repair, the Lower Granite Powerhouse Line will have to be taken out of service due to safety clearance issues.  This required outage of the powerhouse will last from Monday, August 15 through Wednesday, August 17.  The Lower Granite Powerhouse Line will be returned to service on August 18, but the transformer will continue to be out of service for continuation of the repair work, including purification of the transformer oil.  Transformer #1 will remain out of service for an additional 2-4 days while this work is being done.  At this time, Transformer #2 at the Lower Granite Powerhouse will be in service.  Then, after Doble testing on T1 is completed, Lower Granite Units 1-5 should be available for service.  Unit #6 is scheduled to return to service on August 26.  
13. DWR draft tube salvage.  Moody reported that on 18 July, NWW went to DWR to walk through the salvage procedures.  A draft tube salvage is scheduled for 26 September.  Bettin asked if Moody has the personnel.  Moody said they will be pulling in people from the other Snake River projects as well.
13.1. Moody asked about an electric fence installed around the draft tubes to prevent fish from entering once the headgates are installed.  Conder said BioMark makes such a thing, Fredricks said Smith-Root does too.  Meyer said that if the fence is only operated once every three years, it won’t last.  A graduated electric field allows fish to move out of the field without having a full shock.  Putting the system in a bulkhead slot allows for only a full shock.  NOAA’s position on graduated electric barriers is that they are not to be used as a stand-alone option.  
13.2. A barrier fence downstream was another idea.  Hausmann said they want the same thing to keep sturgeon out of the draft tubes.  Debris is an issue that has to be considered since the barrier would be similar to a 1” trashrack.  Fredricks said FPOM needs to approve  any potential changes to the FPP, Appendix I (Dworshak dewatering guidelines) as soon as possible, before any dewatering occurs this season.  ACTION: Moody will send the latest version by 12 August.
14. Task Group Updates. 
14.1. FFU Avian observations.  Stansell provided a handout.
14.2. AFF mods (Mackey).  CRITFC will provide information about what mods they would like to see.  A future meeting will be scheduled with TAC and other policy folks.  Mackey reported the grating and supports are in need of replacement sooner rather than later.  The tank is going forward.  Mods to the brail pool to keep the fish from getting under have been completed.  PIT tag detection on the brail pool exit has not moved forward.  The task group will meet after the August FPOM.
14.2.1. This meeting is to discuss CRITFCs proposed modifications and an update on the anesthetic tank and flume mods.
14.3. Sturgeon task group (Hausmann).  Currently investigating tanks for salvage.  Lorz requested the task group meet after the September FPOM.
15. 2012 FPP Change Forms. 
15.1. 12AppG001 BON AFF fish over 100cm.  
16. Potential 2012 FPP change forms.

16.1. BON ITS gate settings for kelts.
16.2. LMN spill pattern. (effort led by Hevlin and NWW)
16.3. Updated acronyms from NWW and NWP. (specifically referring to TSWs, RSWs, SWs, etc)

16.4. NWP crowder setting.  This will be universal language for all three projects. (effort led by Cordie)
16.5. BON Fish screen re-installation criteria.  May need to include turbidity, flows, phase of the moon, star alignment, and debris found on other racks.
17. Other

17.1. MCN and LGS plans to do NERC/WECC testing.  This entails running a unit through the entire range.  FPOM expressed concern about having the unit out of normal condition for five hours.  Fredricks suggested this should be done outside the fish passage season.  Moody expects it will be a four hour outage and not all of that would be outside the 1%.  ACTION: Moody will get more information and re-submit to FPOM.
17.2. JDA gatewell mortality MFR.  The MFR is on the website.  An internal investigation occurred but no information is available.
17.3. TDA line 6 outage (roof work).  Velocities look good to Unit 16.  Counts all look normal.  Meyer suggested a MFR be written so if the need to take Unit 18 out in the future, we can easily justify going to Unit 16.
18. Break.

19. AFF Task Group meeting.

[image: image1.png]US Army Corps o Engincers. —




 

[image: image2.png]



[image: image3.png]



[image: image4.png]



[image: image5.png]Document1 - Microsoft Word

lfintra. nwp.us my.millenvironment/fishdatalfcounts. asp?fr & xplorer. Bx

B ~ [T mosiineampusce sy ifewtormens ettt coy=2o iy 7o ciémtets 7ot ] @] (4] ) [Lv 5021 o]

B Vew Favortes Took Hep @icomart - MRl

P G|t nwpsece amymienvronmensshas. | | - & - page - ChTook -

U.S. Army Corps of Engineers
Portland District

Running Sum Adult Fish Counts
Bonneville 7/1/2011 - 7/28/2011
Aduit Jack an Ciipped | Unciipped |, o Jack
Chinook | Chinook | Steelhead | Steelhead | Steelhead Coho
aaiy | aaiy | aaiy | aaiy | sum aaiy | aaiy | aaiy | sum
Rl 2116 oo ) e
2011 | a0s2 21 7% s 6
rszont | s2e7 275 105 s 18
ar2011 | 2554 1708 2 8
2011 | 2540 1908 1 stz
72011 | 254 1642 56 S
rmr2ont | 250 721 s o7
2ot | 2032 129 s s
201t | 1962 1% sis a7
70011 1873 1275 ) oo
112011 1802 1251 o8 )
7122011 1834 % )
7132011 1469 21 75
71a2011) 1551 1060 [
[rns2011| 1691 187 1010
6011 163 172 105
72011 1330 941 1378
a0t 1152 o 122
lrsrz0n1| ass 44 125
202011 1229 % 1454
212011 1182 75 1670
222011 1150 o0 7
232011 1218 78 1744
r2a2011| 1121 781 246
r2sre0ni| so7 E) 2102
r2er2011| 1127 219
272011 1081 25
262011 1126 3508
|

Date | All Chinook

aaty  sum aay sy s

Al Clipped | Unclipped

All Ghinook Steelhead | Steelhead | Steclhead

AllCoho. Chum

Report Run: 712812011 258:41 Pl

|83 Local reranet

Adrinstrat

tra v





[image: image6.png]



OFFICIAL COORDINATION REQUEST FOR
NON-ROUTINE OPERATIONS AND MAINTENANCE

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺
COORDINATION DATE- 
Aug 2, 2011

PROJECT- 
Lower Monumental

RESPONSE DATE-  FPOM meeting August 11, 2011

Description of the problem:
 UPDATE TO JUNE FPOM MEETING.
At the time the FPP was in draft, it was thought this work would not need this level of outage necessary for this work.  Since the contracts have been awarded and specific discussions of the work have evolved to a point to determine that we will need this level of outage to complete the work. On June 9,  we received FPOM approval for the outages to install and remove the temporary power for the SQ2 portion of this job.  

It was recently discovered that Main Units 5 &6 will be out of service while the SQ2 is being replaced.  The contractor is providing temporary power at SU5 & SU6 for this job, as specified at 480v 3 phase.  The SQ2 also has a 4160v 3 phase power that will not have temporary power.  The 4160v power services CP5 & CP6 with provides power to the Governor oil pumps of Main Units 5 &6

Type of outage required:  Emergency Diesel / SQ2 installation contract (LSR Diesel Generator and Switchgear Replacement Projects); the contract work for on the SQ2 portion of this job will require two power house outages. The first outage will be necessary to install temporary power to keep critical systems online while the SQ2 is being replaced.  The second outage will be necessary to remove the temporary power and cut over to the new SQ2 panel.  The CO2 fire suppression is fed out of SQ2 and generation is not permitted unless the CO2 system is active.  The placeholders for this work are in November of 2011. These outages will be all 6 units off line and back feeding the power house via BPA feed.  

In addition to the power house outages for temporary power installation and removal, the facility will also need Units 5 &6 OOS while the SQ2 is being replaced.  

Impact on facility operation:   The tentative date for cutover to temporary power is November 15 for ½ day to 1 day. The tentative date for reinstatement of permanent power 30 November for a ½ day to 1 day.  All 6 units OOS for this time   We will power the Lower Monumental facility via the 500KV line and backfeeding the power the house from the grid

Unit 5 & 6 will be OOS for the two week duration between the power house outage dates, while SQ2 is oos.

Length of time for repairs:  November 7 to November 30

Expected impacts on fish passage:  Adult fish counting ends October 31 as all runs have largely passed by this time.  Fish pumps and equipment will operate as normal for maintenance of fish ladder passage conditions. The river flow will be spilled while the units are off line so adult fish attraction flow will change and favor the south ladder. 

Overall there is a possibility of minor delay as adult fish follow attraction flow (spill) to the south entrance, but overall impact is likely to be negligible.  All entrances, north ladder and south ladder, will be operated normally thus providing passage opportunity at north, mid, and south river.

The juvenile fish bypass is operated October 1 through December 15 for adult fallback. Juvenile fish numbers in November will be largely composed of shad juveniles with extremely few salmonids in the mix. In that the vast majority of the river flow during the outage will be spill, any juvenile outmigrants will pass via this route.  Under normal November low flow conditions, gas levels will not likely exceed the 120% gas cap.

Current data on fish passage is unavailable for the period of November through March and historic data for this period is unlikely to accurately represent current passage numbers.

Comments from agencies 
On June 9, we received FPOM approval for the outages to install and remove the temporary power for the SQ2 portion of this job.

Final results: 
☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺
☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺
FPP Change Forms
☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻
☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻
Change Request Number: 12AppG001BON  

Date: August 5, 2011
Proposed by: CRITFC
Location of Change- 11AppG_ BON 1.13

Current Language:
1. General facility protocols General facility protocols.

1.13. Fish greater than 100 cm in length will not be diverted into the anesthetic tank.  These fish will be allowed to return to the ladder untouched.
Proposed Change: Remove 1.13 completely
Reason for Change:  CRITFC has installed a new sampling tank that is 6 inches wider and 6 inches longer.  FPOM had agreed that this sampling restriction could be removed once a new sampling tank was installed.  

Comments from others:  
Record of Final Action:  
☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻

[image: image7.jpg]T T e Werem ] T T S
TR 76 p7i B P} EQ ETIEY
3 4 s 6 Iz 9
TrdEserines Dot Tl | S0 0am FORE | 350am TZG0m T Ty e
10 Y R FE] £} 15 I
Tepr SRy | om0 00w TPAC | S S CO% | 9 300 M

B Raions wesirg 2
2 Tt (0
3 Fortaa(acad

locaven T80}
17 ] 1 zn Ty 22 £
S 10w FFAC | sroam (oanpm T | S T SeT | [ P

24 25 26 27 T28. 29 30
5
3

En Aug 1 2 3 [« 5 o
3|





[image: image8.jpg]August 2011

ETTT

o S T oo T o T S
TS g T 7 El T 3
T T 0 775l O T
- 0am 160 FPAC | | ID e 501 grabing specton (LIS
b i
] 5:00am 12:000m THT
3
7 s 9 [10 11 12 13
e 1000 AT e
1 15 16 17 [18 10 20
TGP o o Tl | {ad S Fgni ] | S1003m 200 e | 9750am T30m 50T
u 5:00em 10:0am FPAC RS (1
S SisnctOffce Room
& £
H 5:00em 12:000m THT
i
B ) 23 2 25 26 27
505 10003 FPAC
3
28 2 30 51 [Sep1 2 £l
e Sio0am 100w FPRC | [ BICEO05 ]
o 00 12:000m THT
B





[image: image9.jpg]S o Toeea T e T Ty e

Rig 28 £ EC £y Sep1 z £

4 B B 7 B B 10

T T A el

T Uaor ey ey J || 3:00am 10:006n FFAC

5 5:00em 31005 FPOM
B

1 12 e} 10 15 16 17

Tappy Biiiday | S0am 12000m THT | 3i00em 12:00pm SCT EETETTT)

i Si0am 10:00an FPAC 12055 4:00pm TSP
o SRWG/FFORNG
2 (vont)
|

15 15 20 2 22 e} 24

25 26 27 T28 29 30 Oct 1

Ty Bithdey ] | 900 T200pm 1T

z S0 10:00an FPAC
g
|






MEMORANDUM   

FROM:           John Whiteaker



Fishery Scientist



CRITFC

SUBJECT:      Adult Fish Facility at Bonneville Dam

The Columbia River Inter-Tribal Fish Commission has been sampling adult salmonids at the Bonneville Dam Adult Fish Facility (AFF) since 1985.  The primary focus of this research is to provide age, length at age, and stock composition information for Pacific salmon and steelhead to regional managers for assessing adult returns above Bonneville Dam.  This information is critical for monitoring ocean abundance, in-season harvest, run reconstruction, forecasting, and stock specific escapement.  Data collected are predominantly used by the Pacific Salmon Commission’s (PSC) United States Chinook Technical Committee (USCTC) and the U.S. v. Oregon’s Technical Advisory Committee (TAC) for the region’s salmon management.  Base funding for this project comes from the PSC and the Columbia River Accords. 

For several years the use and operation of the AFF has become increasingly restrictive making it difficult, if not impossible, to achieve all our monitoring goals.  Key concerns from the Fish Passage Operations and Maintenance (FPOM) group have included the amount of time the picket leads divert fish from the Washington shore fish ladder through the AFF, the number of fish diverted through the facility, the added elevation and migration time, and sampling at water temperatures above 70 degrees Fahrenheit.  While these concerns are valid, the reduced sampling capability is of equal concern to CRITFC and the technical committees that use the data.  Since CRITFC will likely be involved in this base monitoring for many years onto the future, a solution needs to be found to satisfy both the needs and concerns of the Pacific salmon managers. 

While loosening the sampling restrictions at the AFF would be of minimum cost, it has become apparent that FPOM will not buy into this option.  The alternative would be to modify the existing facility to increase our sampling capabilities, or build an entirely new adult fish facility.  From a sampling perspective, the primary factor affecting sample size is the four hour time restriction allowed to divert fish into the AFF.  This is enough time to send a suitable number of fish through the facility but the pass-through configuration doesn’t allow us to sample the majority of fish migrating through the lab.  For example on August 5, 2011 the picket leads were dropped at 08:48 and raised at 12:48.  There were a total of 3279 steelhead that passed the Washington shore count station for the day, 234 were counted passing through flumes in the AFF, and a total of 52 steelhead were sampled.  In the time it takes to anesthetize, sample and tag the fish (along with water changes), we missed 77.8% of the fish passing through the facility.  A trap and hold configuration would be far more efficient for sampling and could reduce the total time and number of fish that would have to go through the lab.  On August 5th, 100 steelhead passed through the flumes in the first 2 hours.  With a trap and hold capability, there would have been no need to continue trapping for the day.  

CRITFC researchers would prefer a trap and hold configuration with a capacity for 200-300 adults.  This would allow us to attain adequate sample sizes for all species while minimizing the number of fish that are diverted through the facility.  Adapting the existing AFF to a trap and hold configuration would be difficult due to its small usable footprint and limited elevation between the collection pool and return fish-way, but it’s not impossible (Figure 1).   The other issue with adapting the existing configuration of the AFF is the added migration, elevation and sheer volume of the entrance fish ladder and collection pool but this too may be remedied by the construction of an alternate route into the facility (Figure 2).  The only other option would be the construction of a new sampling facility.

The ideal adult sampling facility would be at a similar elevation to the main fish ladder, have a minimal migration distance to a trap, a collection pool holding capacity of 300 fish, a sampling area with multiple stations, an adequate recovery pool with volitional release, and reasonable return (elevation, distance)  to the main fish ladder (Figure 3).  A new facility could also add improvements such as chillers to address sampling at higher water temperatures and an automated trap to collect fish randomly. While a trap and hold facility may increase the impact of individual fish that are sampled, it would drastically reduce the overall impact to migrating salmon by minimizing the number of fish going through the facility over the current configuration.  With modifications or construction of a new facility, there is no reason that FPOM concerns cannot be remedied.

Of course whenever discussions of building new facilities or retrofits of old facilities come up, the immediate response comes down to “who is going to pay for it”.  This too is not an impassable problem that can’t be addressed and should not be used as an excuse to impede progress towards a reasonable resolution. Fish Accords partners have a vested interest in working together on these types of problems.     

  


[image: image10.emf]Option A - Refit using much of the original equipment

To Fish Ladder

From Fish Ladder

Walkway

Brail Pool

Collection 

Pool

Walkway

N

Holding

Tank



[image: image11.emf]Option B -

More advance refit of AFF

Fish Ladder

From Fish Ladder

Walkway 

Metal Grate

New Recovery/Hold

Walkway

N

Holding 

Tank

Sample tank

Sample tank

Remove

bulkhead

New switch gate


Sort Station








Recovery 


Pool





Holding tank 


Up to 300 fish





Anesthetic/ Sampling stations





Crowder/Lift








Fish Ladder








7

Sheet1

																Option A - Refit using much of the original equipment







										To Fish Ladder





																																																												From Fish Ladder





																												Walkway



										Brail Pool



																																																						Collection 

																																																						Pool











																												Walkway





																														N

















Holding 
Tank



Sheet2





Sheet3






Sheet1



		Option B -

		More advance refit of AFF

																																		Fish Ladder



















																																																												From Fish Ladder





																												Walkway 

																																																								Metal Grate





																																																				New Recovery/Hold













																												Walkway

																														N

















Holding 
Tank

Sample tank

Sample tank

Remove bulkhead

New Pickets

New switch gate

New Flume



Sheet2





Sheet3






