	OPERATING GUIDANCE #14
Fish Protection Procedures for Turbine Maintenance


	Dworshak O&M Section
	Date of Issue: 31 January 2011
	Last Revision: 


Purpose:  Define operational procedures to minimize the number of fish that can become trapped when dewatering a penstock/scrollcase for annual maintenance, repairs, or overhaul of a power unit.  If any fish are trapped, define proper handling procedures and documentation requirements. 
These activities will be followed to completion including the fish protection and recovery provisions outlined in this procedure, regardless of overtime requirements.
1. This procedure provides a general outline of the dewatering process itself and includes details for only those constraints specifically intended to promote fish survival.  It is not intended to address the details of personnel safety policy or procedures, or any detailed operational instructions for the actual dewatering process. Personnel safety provisions are detailed in the appropriate activity hazard analysis. Details of the operational steps for un-watering are covered by separate Operating Procedures.  All un-watering efforts will be adhered to in reducing the time incurred throughout the un-watering process.  
2. Hydroelectric turbines and water passages must be inspected and serviced periodically.  This requires draining the water passages between the emergency (headgate) gates and the tailrace stoplogs.  After the water reaches tail water level, the remaining water is drained to an un-watering sump and then pumped out into the river.  Any fish trapped in the draft tube area must be removed before being stranded or lost through drains.  It is therefore desirable to minimize the numbers of fish involved in the draining process and then to quickly salvage any fish that may have been trapped.
3. The fisheries biologist from another project or District Operations will coordinate with the NWW District Operations Technical Support Branch and provide notification at least two weeks if possible in advance of any maintenance requiring dewatering or otherwise potentially affecting fish. 

4. The biologist will direct and coordinate the fish protection procedures and the recovery and release process.  The Operations and Maintenance Section will provide the biologist notice of planned turbine unit un-watering as soon as possible prior to the date of un-watering. The biologist will conduct meetings and briefings as necessary to ensure all un-watering team members are familiar with this Operating Guidance, documenting entrapped fish, and the required ESA safe fish handling and recovery process.    
5. A fisheries biologist from another project or District Operations will direct fish protection and recovery operations with the help of operations and maintenance personnel from the operating project.  The biologist may request additional personnel to assist with activity at the discretion of the operations manager.  During the un-watering process, the biologist will be present at the draft tube entry door and will direct and monitor water levels through the final stages of the draft tube dewatering. 

6. Several hours before the unit is to be un-watered the DWR Operations Section will contact BPA to get final approval for the outage and make sure all the clearance tags are ready to be placed. Early on the day of the un-watering, the mechanics and operators will coordinate to lower the emergency gate and/or install the intake bulkhead. This will isolate the intake water passage from the forebay.  The biologist will ensure that adequate fish recovery equipment and personnel trained in fish handling are available for the un-watering and fish recovery event.  Trained personnel may come from local fish facilities and/or district operations division. 
7. When the turbine unit draft tube is to be un-watered, the operator will coordinate with local agencies, PAO for media releases, RCC and BPA to run the unit with a full load for 15 minutes to flush the scroll case and the draft tube of fish. In the case of unit 3, full load will not be achieved for 1 + hour due to river rate-of-change restrictions. The operator will close the penstock emergency gate (hydraulic headgate) to drain the water out of the penstock down to tailrace water elevation. Once a seal is confirmed by closing the unit wicket gates and monitoring penstock pressure and flow, the mechanics will place the tailrace stoplogs.  The process from flushing the remaining water out of the penstock and confirmation of a seal through complete installation of tailrace stoplogs is estimated to take 4-6 hours barring any complications.  (Units 1&2 have 2 stop logs each and unit 3 has 4 each).  If a seal is not obtained, the process must be repeated.  Installation of the penstock maintenance bulkhead may be accomplished after the tailrace stoplogs are installed.
8. Operators will open the penstock drain and the draft tube un-watering valve and start draining the draft tube to the un-watering sump. At the same time the sump un-watering pumps will be reprogrammed to maintain water level in the draft tube to an elevation between 936 to 938 feet above sea level.  The draft tube is drained by gravity to the un-watering sump, so by restricting the un-watering sump to a minimum elevation of 936 feet, the draft tube is also restricted to this minimum elevation.  The bottom of the draft tube is at an elevation of 929’ for unit 3 and 933’ for units 1 and 2, so this leaves a large pool of water between 3 to 7 feet deep for any trapped fish.   The water level in the draft tube will be monitored remotely from this un-watering sump.  At no time will the water level in the un-watering sump drop below 936’, thereby maintaining a sanctuary pool of 3 to 7 feet depending on the units draft tube, without all aspects of the fish recovery plan in place to include; recovery devices, insulated transport device, etc. Project personnel will have dip nets, lifting sling, and insulated fish carrying tank, and all other required fish recovery equipment and safety equipment at the unit during the final un-watering process.
9. For safety reasons, the draft tube entry door will not be opened until confirmation that the tailrace stoplogs are sealed, i.e.:  the water level is verified to be below the draft tube man door petcock and a maximum of one un-watering pump is maintaining the water level in the sump.  Once Operations has declared a satisfactory seal has been achieved, the mechanics will then open the draft tube access door. Maintenance personnel will install safety gear at this time for access to the bottom of the draft tube.
10. When satisfied all fish recovery preparations are in place, the biologist will authorize the clearance holder to request the water level in the draft tube be lowered below the 938-foot elevation to a level that allows for safe entry into the draft tube. Upon authorization, the clearance holder will request the shift operator lower the water level in the sump/draft tube below an elevation of 938 feet. Upon receiving the clearance holder’s request to go below 938 feet, the shift operator shall contact the biologist to confirm that all fish recovery preparations are complete, and lowering the water level below 938 feet is authorized.   After receiving this confirmation, the shift operator will operate the sump as required to control the water level in the draft tube as requested by the biologist. Once the level in the sump drops below 938 feet, the biologist and project maintenance personnel will visually monitor the draft tube water level.

11. When the water is down to a level where entry is safe, approximately two feet in depth, personnel should enter the draft tube through the draft tube access door at the 956-foot level to inspect for trapped fish.  Any live fish will be netted out with a dip net and placed in a rubber-lifting sling that is sized to hold the fish and water. The sling will then be lifted vertically to the 956-foot level into a container with water.  This should take less than five minutes, during which time the fish will be in water.  They will then be placed in a large insulated fish carrying tank full of river water which will be transported to the freight elevator, and then taken to the 1005-foot level erection floor then transferred to the best release site as determined by the biologist and released into the tailwater, using a flume if necessary.  The fish will be handled only once during the process.  At all other times the fish will be kept in water.

12. When the biologist has determined that either there are no fish in the draft tube or that all the fish have been safely removed, he will notify the shift operator that all fish recovery operations are complete. He will also notify the clearance holder that all fish protection restrictions on water levels in the draft tube and un-watering sump have been released. 

13. Other considerations for fish protection include the following:

a. Annual routine maintenance work windows intended to minimize likelihood of trapping endangered species will be investigated to determine if work can be shifted to a time with less migration of endangered species, although BPA power demands somewhat limit the timing of unit outages.  Initially, avoidance of the peak adult fish migration from late September thru December is suggested; adjustments may be considered according to experience.  This routine maintenance schedule will be submitted to NWW Operations, Technical Support Branch, Adult Fish Passage Coordinator for review.

        b. Within 24 hours of Operation and Maintenance activities being completed, fish salvage activities should be documented with a “Record of Fish Salvage Operations” which is attached.  The records should be maintained providing helpful information to predict the numbers of fish to be salvaged in a forthcoming un-watering activity.  The records should also contain comments on how well the un-watering and fish recovery activities preceded, any problems encountered, and observations on fish and holding conditions.  Submit this report to NWW-OD-T Adult Fish Passage Coordinator.

c. Units 1 through 3 have floor drains with a horizontal grate with 1 ¼” inch spacing. It is possible for fish smaller than about ten inches to slip through these draft tube floor drains before they can be salvaged. 
14. Equipment required for performing this procedure:
a. Two clean fish transfer tanks on push carts.

b. Hose attached to tailrace deck wash system (river water) for filling fish transfer tanks.

c. Two large fish nets, one for each worker.

d. Two small fish nets, one for each worker.

e. Two rubber slings sized to hold fish and water 
f. Two flashlights for workers in draft tube.

g. Four radios, one for each worker.

h. Rubber boots for workers.

i. Rubber or wool gloves for workers.

j. Wristwatches.

k. Thermometers.

l. Rope with lead weight and marked increments for measuring water depth.

m. Hard hats, waders/rubber boots, wool gloves and rain gear for personnel entering draft tube.

n. Fish buckets, 32-gal capacity (4) (station at tugger station).

o. Tugger winch, fish bucket lifting gear  (station at tugger station).

p. Four wheel carts (2) with fish tanks approximately 1/3 filled with water on each dip from the tailrace or industrial water supply. Have oxygen injection system and oxygen enriched atmosphere sensing equipment also standing by at same location.

q. Hazardous atmosphere  monitoring device for sensing inside the draft tube (at tugger station).

r. Record of Fish Salvage Operations

15. Personnel required for performing this procedure:
a. Operator for hoist (lowers and raises fish).

b. Rigger (assists hoist operator).

c. Fishery Biologist

d. Shift operator (ensures slow and proper timing of draft tube drainage).

e. Four laborers,  (two inside draft tube to net fish into rubber lifting slings and  at least two outside draft tube to transfer fish to release site).

16. Fish Handling Procedures
a. Roll the unit for about 15 minutes before lowering the emergency gate and tailrace stoplogs. (all done within about 4-6 hours) 

b. Attend a safety meeting and discuss safe operating and ESA fish handling procedures. Be sure proper clearance procedures are discussed.  Also, the draft tube area should be treated as a confined space.

c. Begin pumping the draft tube as described above.  This requires several hours.

d. Obtain a river temperature reading.  

e. Allow the deck wash system to run until the water temperature matches that in the river, then fill the fish transport tanks.

f. Ensure that un-watering is done very slowly once the water is about two feet deep.  Mechanics and biologist monitor water level.

g. Two workers enter the draft tube .
h. Net fish into rubber slings and lift them out of the draft tube via the hoist.  Do not put more than 2 adult salmonids in a net at one time.

i. Pour fish into the fish transfer tank.  Oxygen may be added if needed.  The biologist will determine if oxygen is needed and monitors the oxygen level. 

j. The biologist monitors the number of fish in the transfer tank and, considering the water temperature and holding time, determines when the fish should be taken to the tailrace to be released to the river.  Rule of thumb: 10 adult salmonids maximum or 10 minutes maximum (first adult fish in fish transfer tank until tank movement to release site begins), whichever occurs first.

k. When the fish transfer tank exits the powerhouse, use the deck wash system to refresh the water and/or adjust the water temperature as needed.  Ensure that the water temperature in the tank is within 2oF of the river temperature.

l. Release fish by netting them into the fish flume on the tailrace.

m. Complete the Record of Fish Salvage Operations.  This is a permanent record.


Larry Deardorff


Operations  & Maintenance Manager


Dworshak Project

Record of Fish Salvage Operations - Dworshak Dam
	Biologist in Charge:
	Activity
	Date
	Time

	Other Personnel:
	Emergency Gate in Place
	
	

	
	Tailrace Stoplogs Installed
	
	

	
	Draft Tube Door Open
	
	

	
	Fish Recovery Begins
	
	

	
	Fish Recovery Complete
	
	

	
	
	
	
	
	
	
	

	Purpose of un-watering:



	River Temperature:

(Note: Temperature of containers to be maintained within 2 degrees of river temperature.) 



	Problems/Comments:


	Species and Counts of Fish Released to Tailrace


	Species
	Female
	Male
	Comments

	
	Clipped
	Un-clipped
	Clipped
	Un-clipped
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	Species and Counts of Fish Mortalities



	Species
	Female
	Male
	Comments

	
	Clipped
	Un-clipped
	Clipped
	Un-clipped
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


**Submit this report to NWW-OD-T Adult Fish Passage Coordinator within 24 hours of fish recovery.  FPOM will be notified immediately of any fish mortalities.
