OFFICIAL COORDINATION REQUEST 

FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION DATE- 6/1/2011

PROJECT- 
Mc Nary
RESPONSE DATE -  FPOM meeting 9 June
Description of the problem:
  Need to remove hydroacoustics equipment from powerhouse so servicing can occur, to complete data analysis sensitivity and prepare to redeploy if 2012 study is funded.  We tried to schedule this along with the BPA outage but it shuts down too many units.  McNary project personnel thought this schedule was better because it leaves more units available for service on any given date.  The equipment needs to come out so it can be calibrated and put back in with the trolley pipe installation outages in late October or early November.  
Type of outage required:  3 units at a time for half a day, eight units total (Units 3,4,5,6,8,9,11,13).  All equipment is in the A slots.
Impact on facility operation:  Power production capacity
Length of time for repairs:  August 22-25, 2011
Expected impacts on fish passage: Some potential for impact on Fall Chinook and steelhead passage while Units 2, 3, 4 are down to remove transducer from Unit 3. 
No affect on transport different than the other BPA outages.

Comments from agencies

Final results:
Thank you,
