FPP Change Request Form
Change Request Number: 13TDA001 Revised Spill Pattern Table TDA-6
Date Submitted:  25 July 2012
Project: The Dalles Dam (TDA)
Requester Name, Agency: NWD RCC
Location of Change: Table TDA-6 Spill Patterns  
Proposed Change:  The spill pattern table was updated on June 15, 2012, with additional increments at gate openings between 9-14 feet.  Flow and spill values were recalculated on July 24, 2012, to be based on a forebay elevation of 158.5 feet. The updated table may be found on the FPP website: 
http://www.nwd-wc.usace.army.mil/tmt/documents/fpp/2012 
Justification for Change: Revised spill table provides a greater level of precision at achieving prescribed spill rates, particularly when spilling to the gas cap spill rate rather than the target 40% spill rate.  In 2010, increments of 0.2 and 0.7-foot gate openings were added to gate openings between 4.0-9.5 feet, but adding these increments at gate openings higher than 9.5 feet was overlooked.  This revised spill table adds the 0.2 and 0.7-foot increments at gate openings between 9.5-15.0 feet in order to achieve a greater level of spill rate precision.  
The table has also been updated to calculate spill and flow rates based on a forebay elevation of 158.5 feet.  Previous spill and flow rates were calculated based on a forebay elevation of 160 feet (1.5 kcfs per foot of gate opening).  Average April-August forebay elevation at TDA for the years 2009-2012 is 158.5 feet, thus calculations based on this elevation are more precise estimates of actual spill rates achieved per foot of gate opening.  The rating curve is consistent with the rating curve in GDACS.
Comments from others (Date – Name – Comments): 
Record of Final Action (Date – Action): 
Table TDA-6 (page 1 of 4).  The Dalles Dam Spill Distribution Pattern – 40% Spill for Juvenile Fish Passage (see footnotes at bottom of table).  Table calculated for forebay elevation = 158.5 feet.1
	Spillbay Number 2 – Vertical Gate Opening (ft)
	Total Gate Open (ft)
	Forebay Elevation = 158.5 feet 1

	
	
	Total Spill (cfs)
	Total River Flow (cfs)
	Range of Total River Flow
	Range of

% Spill 3
	See Footnote

	1
	2
	3
	4
	5
	6
	7
	8
	9
	10
	11
	12
	13
	14
	15
	16
	17
	18
	19
	20
	21
	22
	23
	
	
	
	Low
(cfs)
	High
(cfs)
	Low
(%)
	High (%)
	

	
	
	
	
	
	
	4
	4
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	8
	11,700
	61,700
	61,700
	62,450
	18.7%
	19.0%
	4

	
	
	
	
	
	
	4.5
	4.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	9
	13,200
	63,200
	62,450
	63,900
	20.7%
	21.1%
	4

	
	
	
	
	
	
	5
	5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	10
	14,600
	64,600
	63,900
	65,350
	22.3%
	22.8%
	4

	
	
	
	
	
	
	5.5
	5.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	11
	16,100
	66,100
	65,350
	66,850
	24.1%
	24.6%
	4

	
	
	
	
	
	
	6
	6
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	12
	17,600
	67,600
	66,850
	68,300
	25.8%
	26.3%
	4

	
	
	
	
	
	
	6.5
	6.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	13
	19,000
	69,000
	68,300
	69,750
	27.2%
	27.8%
	4

	
	
	
	
	
	
	7
	7
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	14
	20,500
	70,500
	69,750
	71,200
	28.8%
	29.4%
	4

	
	
	
	
	
	
	7.5
	7.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	15
	21,900
	71,900
	71,200
	72,600
	30.2%
	30.8%
	4

	
	
	
	
	
	
	8
	8
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	16
	23,300
	73,300
	72,600
	74,050
	31.5%
	32.1%
	4

	
	
	
	
	
	
	8.5
	8.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	17
	24,800
	74,800
	74,050
	75,500
	32.8%
	33.5%
	4

	
	
	
	
	
	
	9
	9
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	18
	26,200
	76,200
	75,500
	76,950
	34.0%
	34.7%
	4

	
	
	
	
	
	
	9.5
	9.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	19
	27,700
	77,700
	76,950
	78,400
	35.3%
	36.0%
	4

	
	
	
	
	
	
	10
	10
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	20
	29,100
	79,100
	78,400
	79,800
	36.5%
	37.1%
	4

	
	
	
	
	
	
	10.5
	10.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	21
	30,500
	80,500
	79,800
	81,200
	37.6%
	38.2%
	4

	
	
	
	
	
	
	11
	11
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	22
	31,900
	81,900
	81,200
	82,600
	38.6%
	39.3%
	4

	
	
	
	
	
	
	11.5
	11.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	23
	33,300
	83,300
	82,600
	85,150
	39.1%
	40.3%
	4

	
	
	
	
	
	
	12
	12
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	24
	34,800
	87,000
	85,150
	87,375
	39.8%
	40.9%
	

	
	
	4
	4
	4
	4
	4
	4
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	24
	35,100
	87,750
	87,375
	90,000
	39.0%
	40.2%
	

	
	
	4.2
	4.2
	4.2
	4.2
	4.2
	4.2
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	25.2
	36,900
	92,250
	90,000
	95,500
	38.6%
	41.0%
	5

	
	
	4.5
	4.5
	4.5
	4.5
	4.5
	4.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	27
	39,500
	98,750
	95,500
	100,625
	39.3%
	41.4%
	5

	
	4
	4
	4
	4
	4
	4
	4
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	28
	41,000
	102,500
	100,625
	105,000
	39.0%
	40.7%
	

	
	4.2
	4.2
	4.2
	4.2
	4.2
	4.2
	4.2
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	29.4
	43,000
	107,500
	105,000
	111,375
	38.6%
	41.0%
	5

	
	4.5
	4.5
	4.5
	4.5
	4.5
	4.5
	4.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	31.5
	46,100
	115,250
	111,375
	116,125
	39.7%
	41.4%
	5

	4
	4
	4
	4
	4
	4
	4
	4
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	32
	46,800
	117,000
	116,125
	120,000
	39.0%
	40.3%
	

	4.2
	4.2
	4.2
	4.2
	4.2
	4.2
	4.2
	4.2
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	33.6
	49,200
	123,000
	120,000
	127,375
	38.6%
	41.0%
	5

	4.5
	4.5
	4.5
	4.5
	4.5
	4.5
	4.5
	4.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	36
	52,700
	131,750
	127,375
	134,750
	39.1%
	41.4%
	5

	4.7
	4.7
	4.7
	4.7
	4.7
	4.7
	4.7
	4.7
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	37.6
	55,100
	137,750
	134,750
	142,000
	38.8%
	40.9%
	5

	5
	5
	5
	5
	5
	5
	5
	5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	40
	58,500
	146,250
	142,000
	149,250
	39.2%
	41.2%
	5

	5.2
	5.2
	5.2
	5.2
	5.2
	5.2
	5.2
	5.2
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	41.6
	60,900
	152,250
	149,250
	156,625
	38.9%
	40.8%
	5

	5.5
	5.5
	5.5
	5.5
	5.5
	5.5
	5.5
	5.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	44
	64,400
	161,000
	156,625
	163,875
	39.3%
	41.1%
	5

	5.7
	5.7
	5.7
	5.7
	5.7
	5.7
	5.7
	5.7
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	45.6
	66,700
	166,750
	163,875
	171,125
	39.0%
	40.7%
	

	6
	6
	6
	6
	6
	6
	6
	6
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	48
	70,200
	175,500
	171,125
	178,375
	39.4%
	41.0%
	

	6.2
	6.2
	6.2
	6.2
	6.2
	6.2
	6.2
	6.2
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	49.6
	72,500
	181,250
	178,375
	185,625
	39.1%
	40.6%
	

	6.5
	6.5
	6.5
	6.5
	6.5
	6.5
	6.5
	6.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	52
	76,000
	190,000
	185,625
	193,000
	39.4%
	40.9%
	

	6.7
	6.7
	6.7
	6.7
	6.7
	6.7
	6.7
	6.7
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	53.6
	78,400
	196,000
	193,000
	200,375
	39.1%
	40.6%
	

	7
	7
	7
	7
	7
	7
	7
	7
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	56
	81,900
	204,750
	200,375
	207,625
	39.4%
	40.9%
	

	7.2
	7.2
	7.2
	7.2
	7.2
	7.2
	7.2
	7.2
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	57.6
	84,200
	210,500
	207,625
	214,750
	39.2%
	40.6%
	

	7.5
	7.5
	7.5
	7.5
	7.5
	7.5
	7.5
	7.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	60
	87,600
	219,000
	214,750
	221,875
	39.5%
	40.8%
	

	7.7
	7.7
	7.7
	7.7
	7.7
	7.7
	7.7
	7.7
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	61.6
	89,900
	224,750
	221,875
	229,000
	39.3%
	40.5%
	

	8
	8
	8
	8
	8
	8
	8
	8
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	64
	93,300
	233,250
	229,000
	236,125
	39.5%
	40.7%
	

	8.2
	8.2
	8.2
	8.2
	8.2
	8.2
	8.2
	8.2
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	65.6
	95,600
	239,000
	236,125
	243,375
	39.3%
	40.5%
	

	8.5
	8.5
	8.5
	8.5
	8.5
	8.5
	8.5
	8.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	68
	99,100
	247,750
	243,375
	250,625
	39.5%
	40.7%
	

	8.7
	8.7
	8.7
	8.7
	8.7
	8.7
	8.7
	8.7
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	69.6
	101,400
	253,500
	250,625
	257,875
	39.3%
	40.5%
	

	9
	9
	9
	9
	9
	9
	9
	9
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	72
	104,900
	262,250
	257,875
	265,125
	39.6%
	40.7%
	

	9.2
	9.2
	9.2
	9.2
	9.2
	9.2
	9.2
	9.2
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	73.6
	107,200
	268,000
	265,125
	272,375
	39.4%
	40.4%
	

	9.5
	9.5
	9.5
	9.5
	9.5
	9.5
	9.5
	9.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	76
	110,700
	276,750
	272,375
	279,625
	39.6%
	40.6%
	

	9.7
	9.7
	9.7
	9.7
	9.7
	9.7
	9.7
	9.7
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	77.6
	113,000
	282,500
	279,625
	286,625
	39.4%
	40.4%
	

	10
	10
	10
	10
	10
	10
	10
	10
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	80
	116,300
	290,750
	286,625
	293,625
	39.6%
	40.6%
	

	10.2
	10.2
	10.2
	10.2
	10.2
	10.2
	10.2
	10.2
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	81.6
	118,600
	296,500
	293,625
	300,625
	39.5%
	40.4%
	

	10.5
	10.5
	10.5
	10.5
	10.5
	10.5
	10.5
	10.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	84
	121,900
	304,750
	300,625
	307,625
	39.6%
	40.5%
	

	10.7
	10.7
	10.7
	10.7
	10.7
	10.7
	10.7
	10.7
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	85.6
	124,200
	310,500
	307,625
	314,875
	39.4%
	40.4%
	

	11
	11
	11
	11
	11
	11
	11
	11
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	88
	127,700
	319,250
	314,875
	322,000
	39.7%
	40.6%
	

	11.2
	11.2
	11.2
	11.2
	11.2
	11.2
	11.2
	11.2
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	89.6
	129,900
	324,750
	322,000
	329,125
	39.5%
	40.3%
	

	11.5
	11.5
	11.5
	11.5
	11.5
	11.5
	11.5
	11.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	92
	133,400
	333,500
	329,125
	336,375
	39.7%
	40.5%
	

	11.7
	11.7
	11.7
	11.7
	11.7
	11.7
	11.7
	11.7
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	93.6
	135,700
	339,250
	336,375
	343,500
	39.5%
	40.3%
	

	12
	12
	12
	12
	12
	12
	12
	12
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	96
	139,100
	347,750
	343,500
	350,500
	39.7%
	40.5%
	

	12.2
	12.2
	12.2
	12.2
	12.2
	12.2
	12.2
	12.2
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	97.6
	141,300
	353,250
	350,500
	357,375
	39.5%
	40.3%
	

	12.5
	12.5
	12.5
	12.5
	12.5
	12.5
	12.5
	12.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	100
	144,600
	361,500
	357,375
	364,250
	39.7%
	40.5%
	

	12.7
	12.7
	12.7
	12.7
	12.7
	12.7
	12.7
	12.7
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	101.6
	146,800
	367,000
	364,250
	371,250
	39.5%
	40.3%
	

	13
	13
	13
	13
	13
	13
	13
	13
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	104
	150,200
	375,500
	371,250
	378,375
	39.7%
	40.5%
	

	13.2
	13.2
	13.2
	13.2
	13.2
	13.2
	13.2
	13.2
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	105.6
	152,500
	381,250
	378,375
	385,375
	39.6%
	40.3%
	

	13.5
	13.5
	13.5
	13.5
	13.5
	13.5
	13.5
	13.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	108
	155,800
	389,500
	385,375
	392,250
	39.7%
	40.4%
	

	13.7
	13.7
	13.7
	13.7
	13.7
	13.7
	13.7
	13.7
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	109.6
	158,000
	395,000
	392,250
	399,125
	39.6%
	40.3%
	

	14
	14
	14
	14
	14
	14
	14
	14
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	112
	161,300
	403,250
	399,125
	406,000
	39.7%
	40.4%
	6

	14.2
	14.2
	14.2
	14.2
	14.2
	14.2
	14.2
	14.2
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	113.6
	163,500
	408,750
	406,000
	413,000
	39.6%
	40.3%
	

	14.5
	14.5
	14.5
	14.5
	14.5
	14.5
	14.5
	14.5
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	116
	166,900
	417,250
	413,000
	420,000
	39.7%
	40.4%
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	
	117.6
	169,100
	422,750
	420,000
	433,875
	39.0%
	40.3%
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	4
	
	
	
	
	
	
	
	
	
	
	
	121.6
	175,000
	445,000
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	4
	
	4
	
	
	
	
	
	
	
	
	
	125.6
	180,800
	450,800
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	4
	
	4
	4
	
	
	
	
	
	
	
	
	129.6
	186,700
	456,700
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	4
	
	4
	4
	
	4
	
	
	
	
	
	
	133.6
	192,500
	462,500
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	4
	
	4
	4
	
	4
	
	
	4
	
	
	
	137.6
	198,400
	468,400
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	4
	
	4
	4
	
	4
	
	
	4
	4
	
	
	141.6
	204,200
	474,200
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	4
	
	4
	4
	
	4
	
	
	4
	4
	4
	
	145.6
	210,100
	480,100
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	8
	
	4
	4
	
	4
	
	
	4
	4
	4
	
	149.6
	215,900
	485,900
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	8
	
	8
	4
	
	4
	
	
	4
	4
	4
	
	153.6
	221,700
	491,700
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	8
	
	8
	8
	
	4
	
	
	4
	4
	4
	
	157.6
	227,500
	497,500
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	8
	
	8
	8
	
	8
	
	
	4
	4
	4
	
	161.6
	233,300
	503,300
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	8
	
	8
	8
	
	8
	
	
	8
	4
	4
	
	165.6
	239,100
	509,100
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	8
	
	8
	8
	
	8
	
	
	8
	8
	4
	
	169.6
	245,000
	515,000
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	8
	
	8
	8
	
	8
	
	
	8
	8
	8
	
	173.6
	250,800
	520,800
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	12
	
	8
	8
	
	8
	
	
	8
	8
	8
	
	177.6
	256,500
	526,500
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	12
	
	12
	8
	
	8
	
	
	8
	8
	8
	
	181.6
	262,200
	532,200
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	12
	
	12
	12
	
	8
	
	
	8
	8
	8
	
	185.6
	267,900
	537,900
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	12
	
	12
	12
	
	12
	
	
	8
	8
	8
	
	189.6
	273,700
	543,700
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	12
	
	12
	12
	
	12
	
	
	12
	8
	8
	
	193.6
	279,400
	549,400
	
	
	
	
	

	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	14.7
	
	
	
	12
	
	12
	12
	
	12
	
	
	12
	12
	8
	
	197.6
	285,100
	555,100
	
	
	
	
	

	14.7
	14.7
	15
	15
	15
	15
	15
	15
	
	
	
	12
	
	12
	12
	
	12
	
	
	12
	12
	12
	
	203.4
	293,300
	563,300
	
	
	
	
	

	15
	15
	15.5
	15.5
	15.5
	15.5
	15.5
	15.5
	
	
	
	12
	
	12
	12
	
	12
	
	
	12
	12
	12
	
	207
	298,200
	568,200
	
	
	
	
	

	15
	15
	16
	16
	16
	16
	16
	16
	
	
	
	12
	
	12
	12
	
	12
	
	
	12
	12
	12
	
	210
	302,500
	572,500
	
	
	
	
	

	15
	15
	16.5
	16.5
	16.5
	16.5
	16.5
	16.5
	
	
	
	12
	
	12
	12
	
	12
	
	
	12
	12
	12
	
	213
	306,700
	576,700
	
	
	
	
	

	15
	15
	17
	17
	17
	17
	17
	17
	
	
	
	12
	
	12
	12
	
	12
	
	
	12
	12
	12
	
	216
	310,600
	580,600
	
	
	
	
	

	15
	16
	18
	18
	18
	18
	18
	18
	
	
	
	12
	
	12
	12
	
	12
	
	
	12
	12
	12
	
	223
	320,500
	590,500
	
	
	
	
	

	15
	16
	19
	19
	19
	19
	19
	19
	
	
	
	12
	
	12
	12
	
	12
	
	
	12
	12
	12
	
	229
	328,400
	598,400
	
	
	
	
	

	15
	16
	19
	19
	19
	19
	19
	19
	
	
	
	14
	
	14
	14
	
	12
	
	
	12
	12
	12
	
	235
	336,700
	606,700
	
	
	
	
	

	15
	16
	19
	19
	19
	19
	19
	19
	
	
	
	15
	
	15
	15
	
	14
	
	
	12
	12
	12
	
	240
	343,700
	613,700
	
	
	
	
	

	15
	16
	19
	19
	19
	19
	19
	19
	
	
	
	16
	
	16
	16
	
	16
	
	
	14
	12
	12
	
	247
	353,400
	623,400
	
	
	
	
	

	15
	16
	19
	19
	19
	19
	19
	19
	
	
	
	17
	
	17
	17
	
	17
	
	
	14
	12
	12
	
	251
	358,800
	628,800
	
	
	
	
	

	15
	16
	19
	19
	19
	19
	19
	19
	
	
	
	18
	
	18
	18
	
	18
	
	
	12
	12
	12
	
	253
	361,700
	631,700
	
	
	
	
	

	15
	16
	19
	19
	19
	19
	19
	19
	
	
	
	19
	
	19
	19
	
	19
	
	
	12
	12
	12
	
	257
	367,000
	637,000
	
	
	
	
	7


1. UPDATE 7/24/12: flow and spill (cfs and %) calculated based on forebay elevation of 158.5 feet.  Previous spill pattern tables were based on 1,500 cfs per foot of gate opening, which corresponded to a forebay elevation of 160 feet.  Median TDA April-August forebay elevation for the years 2009-2012 is 158.5 feet.
2. The highlighted columns are spillbays that are operationally restricted because of structural or wire rope issues.  Highlighted bays will be used only if needed for dam safety.

3. Uniform spill patterns are critical to increasing juvenile fish survival through the tailrace.  To accomplish the uniform spill pattern, fixed amounts of spill will occur that result in hourly spill percentages within the ranges shown in the table above.

4. Minimum generation powerhouse requirement = 50 kcfs.  40% spill is not achievable until total river flow is ≥84 kcfs.  At total river flow <84 kcfs, spill all flow in excess of the minimum generation requirement.

5. At certain flow ranges, spill could exceed ±1% of the target spill rate of 40%.  At total river flows of 92,250–161,000 cfs, spill could range from 38.6–41.4% (up to ±1.4% of the 40% rate).  

6. At forebay elevation of 160 ft, the maximum gate opening through bays 1-8 is 14 ft (minimum gate opening is 4 ft), thus higher spillbays will be utilized prior to opening any of spillbays 1-8 more than 14.0 ft.  At lower forebay elevations, the gate openings can be increased up to 14.7 feet before opening up higher spillbays.
7. If gate openings greater than shown in table above are needed, to the extent feasible, incrementally increase gate openings.  If all available spillbays are fully open and more flow is needed to limit pool surcharge, use restricted spillbays in following priority order: 10, 11, 13, 16, 18, 19, and 23.  Fully open each bay as needed before moving to next.
