
CENWP-OD








10 May 2012

MEMORANDUM FOR THE RECORD

Subject: FINAL minutes for the 10 May 2012 FPOM meeting.  

The meeting was held in the St Helens Room.  NOAA Fisheries.  Portland, OR  In attendance:

	Last
	First
	Agency
	Office/Mobile
	Email

	Bailey
	John
	USACE-NWW
	509-527-7123
	John.c.bailey@usace.army.mil

	Baus
	Doug
	USACE-RCC
	503-808-3995
	Douglas.M.Baus@usace.army.mil

	Benner
	David
	FPC
	503-230-7564
	dbenner@fpc.org

	Bettin
	Scott
	BPA
	503-230-4573
	swbettin@bpa.gov

	Conder
	Trevor
	NOAA
	503-231-2306
	Trevor.conder@noaa.gov

	Cordie
	Bob
	USACE-TDA
	541-506-7800
	Robert.p.cordie@usace.army.mil

	Dugger
	Carl
	USACE-MCN
	
	Carl.r.dugger@usace.army.mil

	Ebner
	Laurie
	USACE-NWP
	503-808-4880
	Laurie.l.ebner@usace.army.mil

	Fone
	Ken
	USACE-NWW
	
	

	Fredricks
	Gary
	NOAA
	503-231-6855
	Gary.fredricks@noaa.gov

	Hausmann
	Ben
	USACE-BON
	541-374-4598
	Ben.J.Hausmann@usace.army.mil

	Hevlin
	Bill
	NOAA
	503-230-5415
	Bill.hevlin@noaa.gov

	Klatte
	Bern
	USACE-NWP
	503-808-4318
	Bernard.A.Klatte@usace.army.mil

	Lorz
	Tom
	CRITFC
	503-238-3574
	lort@critfc.org

	Mackey
	Tammy
	USACE-NWP
	503-961-5733
	Tammy.m.mackey@usace.army.mil

	Martinson
	Rick
	PSMFC
	541-296-8989
	rickdm@gorge.net

	Meyer
	Ed
	NOAA
	503-230-5411
	Ed.meyer@noaa.gov

	Moody
	Greg
	USACE-NWW
	509-527-7124
	Gregory.p.moody@usace.army.mil

	Petersen
	Christine
	BPA
	
	chpetersen@bpa.gov

	Plummer
	Mark
	USACE-IHR
	509-543-3208
	

	Richards
	Steven
	WDFW
	509-545-2050
	richaspr@dfw.wa.gov

	Setter
	Ann
	USACE-NWW
	
	Ann.l.setter@usace.army.mil

	Stansell
	Robert
	USACE-FFU
	541-374-8801
	Robert.j.stansell@usace.army.mil

	Stephenson
	Ann
	WDFW
	360-600-8274
	stephaes@dfw.wa.gov

	Swenson
	Larry
	NOAA
	503-230-5448
	Larry.swenson@noaa.gov

	Wright
	Lisa
	USACE-RCC
	503-808-3943
	Lisa.S.Wright@usace.army.mil

	Zyndol
	Miro
	USACE-JDA
	541-506-7860
	Miroslaw.a.zyndol@usace.army.mil


Dugger, Bailey, Fone, Hausmann, Lorz called in.
There appear to be no May birthdays.

1. Finalized results from this meeting.

1.1. April FPOM minutes approved.  
1.2. MCN avian hazing needs to cover all daylight hours as soon as possible.

1.3. Coordination Forms.

1.3.1. 12BON08 Gantry 7 rehab.  Approved.
1.3.2. 12BON11 2012 November chum ops.  Pending.  Moved to June.
1.3.3. 12BON12 Spillway repairs.  FPOM agreed with the repairs and the timing.  Avian wires will need to be removed.  Funding for re-installation will be included in the annual MIPR, though not in the contract.   The contract will be written to clearly state that tailwater will fluctuate for chum operations.  
1.3.4. 12MCN05 avian sprinkler repair.  FPOM agreed with going forward with the repairs today.

1.3.5. 12IHR03 North powerhouse entrance 1 and 2.  FPOM did not concur with changing operations for this year.  Meyer suggested there is a structural problem with the gate.  NWW would like CRFM to look at it.  FPOM recommends this go back to FFDRWG for further investigation.
1.3.6. 12LMN05 SMCAP pre-filter request.  Would like to do this work on 11 June.  FPOM concurs with this MOC.  
1.4. FPOM concurs that sun-shading at the count window is acceptable.  
1.5. IHR coffer cell.  FPOM encouraged the Project to look at a one day outage for barging and agreed that spuds would be acceptable to use.
1.6. TDA avian contingency plan. FPOM says make sure you can have adequate coverage.  Make sure an additional boat is readily available.  
1.7. BON PH1 open geometry.  FPOM says get PH2 to operate at the mid to lower 1% THEN the language for PH1 can be changed.
1.8. BON VBS cleaning.  The debris has been plugging the DSM dewatering screens.  FPOM recommends continual operation of the screen cleaners during VBS cleaning.
1.9. BON SQ replacement.  12 June is the date chosen for doing the work.  Units 11, 13, and 15 would be out of service.  It will require about a three hour outage.  FPOM says do the work anytime after about 1000.  
2. The following documents were provided or discussed.  Documents may be found at http://www.nwd-wc.usace.army.mil/tmt/documents/FPOM/2010/ 

2.1. Agenda, Fish Passage O&M Coordination Team.  

2.2. LMN tail screen pdf.

2.3. Pinniped update.
2.4. NWW lamprey spreadsheet.

2.5. ODFW pikeminnow report.
2.6. Coordination/Notification Forms (NWW/NWP)
2.7. FPP change forms.

2.8. Tribal platform photos.

3. Action Items

3.1. NWP Action Items

3.1.1. [Mar 12] Fishway maintenance.  ACTION: Klatte and Setter will develop a list of maintenance items that are not being addressed.  This list will be available at the May FPOM.  STATUS: The critical infrastructure list is available on the FPOM website.  Mackey clarified that this action item was to address a specific request from Bettin about work that needs to be done for which there is not sufficient funding.  Bettin said he made the request to provide some budget support for the Projects.  Setter said there is no funding for non-routine items.  Mackey suggested ENS budget increments 4 and 5 may be able to fill this request, those are non-routine items that are not likely to be funded and we have projected costs for.
3.1.2. [Apr 12] JDA avian lines.  ACTION: Zyndol will provide an update on the two missing lines at the May FPOM.  STATUS:  lines are still missing but should be installed by the end of next week.  Zyndol reported that there are no birds in the area yet.  As of 14 May, all 125 lines are properly installed and therefore the JD avian grid is complete/ without any gaps. 

3.1.3. [Apr 12] JDA fixed blade units.  ACTION:  TSP group will provide drawings of the block for the May FPOM.  STATUS: The blades for both Unit 5 and 11 are presently blocked in place at29 degrees.  At the end of the spring freshet - sometime in late June or early July, Unit 11 will be taken off-line, the blocks removed and the blades permanently pinned in place.  A decision on whether or not Unit 5 will remain a Kaplan or be converted to fixed-blade propeller unit is yet to be made.  Fredricks added that the conversion to an MGR unit has been put off until later.
3.1.4. [Apr 12] BON Gantry 7. FPOM generally approves, but BPA still needs to give concurrence. ACTION: Bettin will send an email to Mackey as soon as he gets that.  STATUS: Ok with one unit.  
3.1.5. [Apr 12] TDA avian contingency plan.  ACTION: Klatte said he would task Zorich with working on trigger numbers.  STATUS: FPOM says make sure you can have adequate coverage.  Make sure an additional boat is readily available.  Lorz recommended coordinating with NWW to help provide coverage at MCN.  FPOM talked about lethal take.  
A. Zorich provided the following recommendation: 
Per my phone call to Bern this morning. Below is my guidance for deciding:

1) When to move a the hazing boat from John Day to The Dalles

I would suggest looking at the proportional difference in the foraging bird counts with a minimum count required for any action at all. When there is a daily mean of 50 birds at TDA and the mean value is 25% greater than JDD, move the boat to TDA (and visa versa).

As for a numeric trigger to determine when to move hazing efforts between John Day and The Dalles, or request more money for hazing, as you noted this can be tricky. Attack and success rates used to determine smolt or fish consumption vary a lot between zones and with time (week and month). It seems like counts might be the easiest way to communicate your needs  and allow you  to compare your dam to dams of similar size without getting buried by the time commitment required to estimate smolt consumption.
Regular counts of birds foraging at each project are easy to take, and easy to understand when trying to communicate with the region. Looking back at the counts collected at 2009, 2010, and 2011 a reasonable trigger might be a mean of 50 gulls on three consecutive days, or a mean of 75 on any given day. 

2) When to bring on another hazing boat
John Day gull counts were typically greater than 50 in most of 2009, for 2 day during 2010 (lamprey outmigration spike), and maxed out at 30 during 2011. 

The Dalles gull count was greater than 50 during late April (prior to the start of AM shore hazing) and most of May during 2010 (about 5 days after AM & PM boat hazing began). In 2011 The Dalles gull count was only greater than 50 twice, 6 May and 23.

Overall, is seems a gull count between 50-100 indicates you have a lot of birds at your project and a mitigation action is called for as birds attrack more birds.I suggest bringing on a 2nd hazing boat if the mean count at both projects exceeds 100 foraging birds twice in one week. That is, as you are moving the hazing boat back and forth between projects, the unprotected project consistently attracks more than 100 birds.–Nathan
3.1.6. [Apr 12] TDA spillbay 9 trunion pin.  ACTION:  Need to know if this is a contract or in-house and what the time needed is estimated to be.  STATUS:  Klatte talked to the OPM.  This will need to go to contract and could be six months or more out.  Fredricks didn’t express significant concerns about spilling outside the wall for the rest of the spring freshet.  Cordie suggested that the pattern may not be as bad as originally expected without Bay 9.  This is on the UFR list.  
3.1.7. [Apr 12] BON lamprey trap location.  ACTION: Tackley will draft a MOC to provide greater detail on location. STATUS:   the trap has been moved.  MOC 12BON13 was provided to FPOM on 22 May.
3.1.8. [May 12] Lorz requested fish count crowder min and max openings be included in the FPP.  ACTION: Mackey will include the NWP information in the FPP.  Hausmann, Cordie and Zyndol will send her the information.  Moody will handle the NWW sections.
3.1.9. [May 12] BON spillway erosion repair.  ACTION:  NOAA will provide written comments.
3.1.10. [May 12] Avian hazing/lethal take.  ACTION:  Klatte will find out where the EA sits.
3.1.11. [May 12]  PH2 unit operating range.  ACTION: Hausmann will find out how long it will take to reprogram the units to operate at the mid to lower 1% and the costs.
3.1.12. [May 12] PH2 FGE.  ACTION:  Rerecich will find the final report and send to Mackey.

3.1.13. [May 12].  ODFW pikeminnow.  ACTION: FPOM requested John Skidmore provide an update at the June FPOM.
3.1.14. [May 12] Bettin reported that currently the transmission folks are scheduling an entire PH2 outage in late August for about a week.  FPOM was not in support of this outage.  ACTION: Bettin will need to bring back more information.
3.1.15. [May 12] BON Fishing platforms.  Lorz said the platforms are 150’ away from the fishway exit.  Fredricks has concerns about debris from the platforms getting into the fishway.  ACTION: Klatte said we will have our regulatory folks come in to talk to FPOM about the platforms.

3.2. NWW Action Items

3.2.1. [Mar 12] Fishway maintenance.  ACTION: Klatte and Setter will develop a list of maintenance items that are not being addressed.  This list will be available at the May FPOM.  STATUS: The critical infrastructure list is available on the FPOM website.  Mackey clarified that this action item was to address a specific request from Bettin about work that needs to be done for which there is not sufficient funding.  Bettin said he made the request to provide some budget support for the Projects.  Setter said there is no funding for non-routine items.  
3.2.2. [Mar 12] LGS spill.  Bettin suggested re-looking at the 85Kcfs to make sure it is appropriate.  ACTION:  NWW will write up a coordination form and/or a FPP change form with the information they have available.  STATUS:  Moody said that he found the only dissenting voice on the original change form was BPA.  He suggested holding off on moving the weir until we see an issue.  He will put out an email if issues are seen.  S. Richards asked if there would be consideration to go to the high crest, even if we are above 90kcfs, if issues are seen.  Moody and Setter noted that juvenile survival will need to be balanced with adult passage.  How fast can the change in the weir crest be made?  Moody said it will take about four hours for the weir to change from one crest level to the other.  Factors such as wind need to be considered.  Baus and Fredricks asked what difference in fish counts would need to be seen to implement a change, even if above the 85kcfs.  Setter added that we should include multiple days of counts to even out any one day spikes.  Hevlin shared his wisdom he has gained over the years.  He said this is an operation that needs to be discussed in real time on a day to day basis.  This is not something that can readily, nor accurately, predicted.  Hevlin said the group discussion usually results in the greatest solution.  It was clarified that the action is not specified in the BiOp.  Fredricks said we also need to look at species composition (steelhead v chinook).  Setter said the evidence shows that at LGS, chinook use the weir and there isn’t good justification to pull the weir until absolutely necessary.  NWW clearly stated that the weir change will not occur over a weekend.  Hevlin said next year there will be a crane to facilitate this work.  
3.2.3. [May 12] LMN Count window shading for cameras.  ACTION: NWW will encourage B. Spurgeon to investigate installing sun-shades at his count windows as well.

3.3. Action Items completed or to be discussed later in the agenda.
3.3.1. [Apr 12] LMN tailrace screens.  ACTION: Spurgeon will provide a drawing of the tail screens.  STATUS:  see tailscreen.pdf  
4. Updates 
4.1. NWW Updates
4.1.1. Review of the current Transport Operations.  LWG barge loading started on 1 May, barge left on 2 May; LGS barge left 4 May, direct loading started on 5 May; LMN barge loading started on 5 May, barge left on 6 May.  Hevlin asked about the line blockage.  Bailey said there was a unit cycled which brought a slug of debris into the gatewell.  The debris blockage occurred in the line to the barge.  This resulted in a fish kill at LWG.  Hevlin commented that direct loading is a good thing but when debris is brought in from the forebay to the barge; that is not such a good thing.  Bettin asked how long the project has been direct loading at LWG.  Bailey said it only happens with a barge is available.  Bettin noted that this has been occurring for a number of years with line blockages being very rare.
4.1.2. IHR N. adult fish count station – improvements for transmitting video to S. shore count station.  Moody reported that improvements have been completed.  There are two ladders but only one count station.  There is a live feed that counters look at.  S. Richards commented that the shading has helped prevent glare.  Plummer wanted to clarify that shading is acceptable over the count stations now.   Stansell commented that the main goal is to not have fish go from light to dark or vice versa.  S. Richards said the sunshade has reduced the disparity between the top and the bottom of the window.  With the uniformity, the light in the count slot could be reduced from four lights down to two.  He believes it promotes smoother passage and should help with the maintenance.  Plummer said he hasn’t seen any impact on passage.  FPOM concurs that sun-shading at the count window is acceptable.  ACTION: NWW will encourage B. Spurgeon to investigate installing sun-shades at his count windows as well.  
4.1.3. IHR Coffer Cells.  These were installed in the 1990’s.  Recently it was noted that one coffer cell is tilting.  Funding was received for repairs but timing has not yet been determined.  The Project would like to use a barge crane to drop rocks into the cell to re-balance it.  The cell is now starting to buckle so the integrity of the cell is now in question.  Moody said July was proposed but that is not a good time.  Moody suggested September.  Lorz suggested having the Project look at a time of lower spill (30% spill days), between runs and figure out why they can’t do the work from the navlock side.  FPOM encouraged the Project to look at a one day outage for barging and agreed that spuds would be acceptable to use.  
4.1.4. 12LMN04 STS fish mortality and STS fastener replacement 7 – 10 May.  The entire Project has faulty fasteners so new ones are being installed this week.  
4.2. NWP Updates
4.2.1. JDA-S has 4 FPP required floating orifices in service (bays 1, 2 and 18, 19.) JDA Structural crew pulled the bulkheads and re-installed the two floating orifices "under flow" (AWS outage wasn't necessary.) This is a historical moment, since this is first time that JDA-S could be in the "three turbine operation" since 2008 :).  Lorz complimented USACE for completing the fish turbine overhaul and returning the ladder to normal.
4.2.2. TDA avian contingency plan; 50 -80 gulls at TD and only few at JDA. Pulled JDA boat down to TDA temporarily. 

4.2.3. BON Unit 11 update.  Hausmann doesn’t have an ETA.  Not sure what is going on with the unit.  No testing has yet happened.  The unit is not balanced well enough to start testing.  The air gap tolerances are out of criteria.  
4.2.4. Pinniped update.  Stansell provided a handout.  Ten CA sea lions have been removed this year.  This is about 1/3 of the CA sea lions seen at BON.  Klepto-parasitism is preventing CA from eating in peace.  Stellar predation is on the rise.  20 Stellars have been tagged and branded but not transferred down to Astoria.  They are released back below BON.  Two traps are in the forebay.  Baus asked if there are just fewer pinnipeds coming up or are we pushing them somewhere else, like the Willamette.  Stansell said Willamette and Bonneville sea lions do not tend to mix much.  PSU has some students studying the pinnipeds but Stansell didn’t have any results from their study yet.  
4.3. Researcher updates.  Approval letters, permits, etc located at  www.nwd-wc.usace.army.mil/tmt/documents/FPOM/2010/NWP%20Research/Research.html
4.3.1. ODFW Pikeminnow electro-fishing in Project BRZs.  As in past years, ODFW has requested and received permission to electro-fish for pikeminnow within the BRZ.  Concerns have been broached in regards to conducting that work at BON, given the high numbers of fish passing at this time.  ACTION: FPOM requested John Skidmore provide an update at the June FPOM.  
4.4. RCC update.  
	Project
	Current (kcfs)
	5 day forecast (kcfs)
	10 day forecast (kcfs)

	LWG
	101.5
	91.4
	98.2

	MCN
	338.4
	324.3
	326.4

	TDA
	346.5
	318.4
	326.5

	BON
	371.5
	325.4
	335.7


4.5. BPA updates.  Bettin reported that currently the transmission folks are scheduling an entire PH2 outage in late August for about a week.  FPOM was not in support of this outage.  ACTION: Bettin will need to bring back more information.
5. Coordination/Notification forms needing approval.
5.1. 12BON08 Gantry 7 rehab.  Pending- need BPA input.
5.2. 12BON11 2012 November chum ops.  Bettin requested to run unscreened units to accommodate chum operations.  Fredricks was not yet willing to comment on this change form.  After further discussion, it was determined that if the flows were exceeding capacity, then the units would be run and that isn’t a coordination, that is something that is just going to happen.  Lorz asked about operating the B2CC if unscreened units are operated at PH2.  This will be carried over to June.
5.3. 12BON12 Spillway repairs.  Ebner reported that the work window requested is 1 November 2012 through 31 March 2013.  Work will include concrete removal, concrete grinding, drilling, grouting, concrete placement, etc.  Bay 9, 12, 14 in that priority.  Other holes may be repaired if time and money allows.  Undercut at Bays 3/4 may also be included in the repairs.  Plan to work 24/7 at this time.  The ladders will not be out of service and the attraction flow will remain in service during the work.  The critical work is cutting out concrete.  Water Quality will be monitored.  Concrete will be formed but not contained.  Concrete will be pumped into a non-watertight form.  Elevations are -16’ to 4’ msl.  The repairs are on the ogee, thus the need for the forms.  Fredricks is not too worried about the noise.  Ebner stressed that they are willing to work with the recommendations made by FPOM.  She said concrete placement may occur three weeks after the start of work, so the end of November.  Fredricks commented on the water quality and noted that there was a lack of flow in the area.  Ebner said Kansas City District has done similar work with extensive water quality monitoring so she is trying to get that information.  Fredricks said if water quality folks sign off on the work, he doesn’t have much issue.  Avian wires will need to be removed.  Baus asked about any tailwater restrictions since we will be entering into the chum requirements.  Ebner said the specs will clearly state that tailwater will vary to meet chum operations.  Avian wire re-installation will be included in the costs, though it will not be in the contract.  Further discussion about the water quality permits occurred.  ACTION:  NOAA will provide written comments.
5.4. 12MCN05 avian sprinkler repair.  Dugger suggested adding hazers to cover 8 hours a day.  The birds have shifted to the spillway but they are still hitting the outfall.  Funding can be found if hazing needs to be increased.  Fone has not yet talked to USDA about increasing their efforts for the season.  He said the additional personnel are not readily available since they have to hire new people.  The MIPR and workplan would need to be modified as well.  A quicker alternative may be to borrow a hazer from another project, if there was a project that felt they could give up a hazer temporarily.  Moody said LGS has pulled in a bio tech to assist USDA hazers.  Dugger said they would have to train a bio-tech and draft an AHA.  Techs are limited to a certain number of hours a week but they may be able to help with some coverage.  Fredricks said there is a performance standards study going on and the BiOp requires effective hazing so a remedy needs to be implemented soon.  He commented on the birds he saw and how they were working the spillway, probably hitting juvenile salmonids.  He didn’t think the sprinkler repair was worth it if you could have a person out there instead.  NWW clarified that there would be no reduction in spill for the sprinkler repairs.  FPOM agreed with going forward with the repairs today.  The electrical needs have been dealt with.  All daylight hours need to be covered as soon as possible.  FPOM also suggested pursuing a lethal take permit.  ACTION:  Klatte will find out where the EA sits.
5.5. 12IHR03 North powerhouse entrance 1 and 2.  Plummer explained the MOC.  FPOM did not concur with changing operations for this year.  Meyer suggested there is a structural problem with the gate.  NWW would like CRFM to look at it.  FPOM recommends this go back to FFDRWG for further investigation.
5.6. 12LMN05 SMCAP pre-filter request.  Would like to do this work on 11 June.  FPOM concurs with this MOC.  
6. BON PH1 Open Geometry.  (Schwartz).  I will not be able to make the meeting today because of a VIP tour and OPM responsibilities.  What I would like to see is language allowing us to load PH1 units to best geometry when we have put PH2 at upper 1% and we are at the 100K spring spill level.  I would then like the authority to bump PH1 up to best geometry and then once we are maxed out then put the rest towards spill.  Thanks, Dennis E. Schwartz Hydro Electric Power Operations Manager Bonneville Lock & Dam.  FPOM says get PH2 to operate at the mid to lower 1% THEN the language for PH1 can be changed.
7. PH2 mid-point operation.  The FPP states the PH2 units would operate at the mid to lower range of 1%.  Hausmann said the system would need to be reprogrammed to the mid to lower range of 1%.  NERC requires all units to run in auto and under the current programming, auto runs the units at the upper 1%.  Fredricks and Lorz both said the Project needs to operate as per the FPP.  To operate in manual is against WECC/NERC compliance.  ACTION: Hausmann will find out how long it will take to reprogram the units to operate at the mid to lower 1% and the costs.  BPA states the 11BON14 FPP change form wasn’t fully approved and they may submit a new change form changing it.  Fredricks asked if there was a final report from Gilbreath regarding the FGE study.  ACTION:  Rerecich will find the final report and send to Mackey.
8. 2013 FPP change forms.

8.1. 13IHR001 Primary Dewatering Structure.  Pending.  Plummer provided background information.  Lorz asked for an upper limit for waiting to clean screens.  This has been approved, with the upper limit (Hevlin prefers four hours) included.
8.2. Lorz requested fish count crowder min and max openings be included in the FPP.  ACTION: Mackey will include the NWP information in the FPP.  Hausmann, Cordie and Zyndol will send her the information.  Moody will handle the NWW sections.
9. Potential 2013 FPP change forms

9.1. Update FPP language to clarify what unit priority means.

9.2. MCN trash rack inspections and raking. 
9.3. Incidental species appendix.  May include lamprey, sturgeon, etc.  NWW will take the lead on starting this appendix.
10. Task Group Updates. 
10.1. Sturgeon task group (Van der Leeuw or Hausmann).  Next meeting will be at BON in a couple months.  

10.2. BON VBS task group.  (Hausmann) Task group met after 12 January 2012 FPOM.  Fredricks asked if there would be a PDT to further explore this.  Rerecich said this isn’t currently rolled into the FGE program.  He suggested there may still be some operational changes to address the cleaning.  Fredricks suggested there may need to be a PM assigned and he sees it as part of the FGE program.  Hausmann reported that they just got approval to walk with a load with the TIE crane.  This helps only when the wind restrictions are not exceeded and the backer screen is being used.
10.2.1. ACTION: Fredricks requested a Program be started to look at how fish screens are cleaned at BON.  A paper outlining the problem of pulling screens, not having the crane capacity, etc would be helpful.  
10.2.2. Mackey reported Rerecich is working to get details about acquiring an additional VBS lifting beam so screen cleaning could occur with two cranes during peak debris times.  

10.2.3. Hausmann reported that the orifices now have to be closed during VBS cleaning because debris has tripped the ERG twice this season.  FPOM recommends continual operation of the screen cleaners during VBS cleaning.
10.3. AFF mods (Rerecich).  Fredricks said he would like to see the improvements made next winter maintenance season and suggested it should be CRFM funded.  
10.3.1. Short-term projects:

A. Modify the anesthetic tank to eliminate the internal ledge.  Completed.
B. Modify the crowder net in the anesthetic tank to eliminate net folds.  Completed. 
C. Re-pipe bleed-off water from the anesthetic flume to outside of the recovery pool to eliminate confusing flows in the pool.  Completed.  
10.3.2. Near-term projects:  Rerecich is working on a scope of work.  No PM or TL assigned yet.  Will be CRFM funded with construction anticipated for FY13.  
A. Install a new floor in the recovery pool area to hold up a new two stage recovery tank.  Extend the exit section of this new tank well upstream of the drain grizzly.  
B. Evaluate potential to improve drain grizzly hydraulics to even out flow distribution.  
C. Extend the return to ladder flume pipes out of the existing building (perhaps with another 90 degree bend around corner of the building).  
11. Other 
11.1. BON SQ replacement.  12 June is the date chosen for doing the work.  Units 11, 13, and 15 would be out of service.  It will require about a three hour outage.  FPOM says do the work anytime after about 1000.  
11.2. BON Fishing platforms.  Lorz said the platforms are 150’ away from the fishway exit.  Fredricks has concerns about debris from the platforms getting into the fishway.  ACTION: Klatte said we will have our regulatory folks come in to talk to FPOM about the platforms.
12. Calendar sync.
[image: image1.emf]
[image: image2.emf]
[image: image3.emf]
[image: image4.emf]

Pinniped Predation/Deterrents Update

May 10, 2012
[image: image5.wmf]0

5

10

15

20

25

30

2002

2003

2004

2005

2006

2007

2008

2009

2010

2011

2012

A

V

G

.

 

D

A

I

L

Y

 

#

 

P

I

N

N

I

P

E

D

S

YEAR

AVERAGE DAILY PRESENCE OF PINNIPEDS, BY SPECIES, AT BONNEVILLE DAM, 

FOR JANUARY 1 TO  MAY 3  EACH YEAR

avg harbor seals 1/1

-

5/3

avg stellers 1/1

-

5/3

avg californias 1/1

-

5/3

avg pinnipeds 1/1

-

5/3


Figure 1.  Average daily abundance of Pinniped species at Bonneville Dam through May 3 each year.

[image: image6.wmf]0

1000

2000

3000

4000

5000

6000

7000

CUMULATIVE ESTIMATED SALMONID CATCH FOR ALL PINNIPEDS 

AT BONNEVILLE DAM, 2002

-

2012

2002

2003

2004

2005

2006

2007

2008

2009

2010

2011

2012


Figure 2.  Cumulative estimated salmonid catch for all Pinnipeds at Bonneville Dam.

[image: image7.wmf]0.0

1000.0

2000.0

3000.0

4000.0

5000.0

6000.0

CUMULATIVE ESTIMATED SALMONID CATCH FOR CALIFORNIA SEA LIONS AT 

BONNEVILLE DAM, 2002

-

2012

2002

2003

2004

2005

2006

2007

2008

2009

2010

2011

2012


Figure 3.  Cumulative estimated salmonid catch for California sea lions at Bonneville Dam.

[image: image8.wmf]0

200

400

600

800

1000

1200

CUMULATIVE ESTIMATED SALMONID CATCH FOR STELLER SEA LIONS AT 

BONNEVILLE DAM, 2002

-

2012

2002

2003

2004

2005

2006

2007

2008

2009

2010

2011

2012


Figure 4.  Cumulative estimated salmonid catch for Steller sea lions at Bonneville Dam.

[image: image9.wmf]0

500

1000

1500

2000

2500

N

u

m

b

e

r

 

o

f

 

S

t

u

r

g

e

o

n

Date

Cumulative Expanded Daily Sturgeon Catch at Bonneville Dam, 2006

-

2012

2012

2011

2010

2009

2008

2007

2006


Figure 5.  Cumulative sturgeon catch by Pinnipeds at Bonneville Dam.

[image: image10.wmf]0

50000

100000

150000

200000

250000

300000

N

u

m

b

e

r

 

o

f

 

S

a

l

m

o

n

i

d

s

Date

Cumulative Salmonid Passage at Bonneville Dam, 2002

-

2012

2002

2003

2004

2005

2006

2007

2008

2009

2010

2011

2012


Figure 6.  Cumulative Salmonid passage at Bonneville Dam.

Table 1.  California sea lions removed from Bonneville Dam by the states.

	Year 
	Zoo/Aquaria 
	Accidental Trapping Incident 
	Euthanized 
	Trapped in Astoria and Euthanized 
	Total 

	2008 
	6 
	4 
	1 
	0 
	11 

	2009 
	4 
	0 
	10 
	1 
	15 

	2010 
	0 
	0 
	12 
	2 
	14 

	2011 
	0 
	0 
	0 
	1 
	1 

	2012
	1
	0
	9
	0
	10

	Total 
	11 
	4 
	32 
	4 
	51 


Table 2.  Consumption of adult (including jacks) salmonids by CSL and SSL at Bonneville Dam from January 1 through May 31, 2002 to 2012.
	Year
	California sea lions
	Steller’s sea lions

	
	Expanded salmonid consumption
	Salmonid consumption per capita
	% of run
(Jan 1 – May 31)
	Estimated salmonid consumption
	Salmonid consumption per capita
	% of run
(Jan 1 – May 31)

	2002
	1,010
	33.7
	0.4%
	0
	0.0
	0.0 %

	2003
	2,329
	22.4
	1.1%
	0
	0.0
	0.0 %

	2004
	3,516
	35.1
	1.9%
	13
	4.3
	0.0 %

	2005
	2,904
	35.9
	3.4%
	16
	4.0
	0.0 %

	2006
	2,944
	40.9
	2.7%
	76
	6.9
	0.1 %

	2007
	3,846
	54.2
	4.2%
	13
	1.4
	0.0 %

	2008
	4,294
	52.4
	2.8%
	176
	4.5
	0.1 %

	2009
	4,014
	74.3
	2.1%
	475
	18.3
	0.3 %

	2010
	5,095
	57.2
	1.9%
	986
	13.1
	0.4 %

	2011

2012
	2,527

~400
	46.8
	1.1%
	1,030

~700
	11.6
	0.5%


OFFICIAL COORDINATION REQUEST FOR
NON-ROUTINE OPERATIONS AND MAINTENANCE

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺
☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺
COORDINATION TITLE- 12BON11 2012 November chum ops
COORDINATION DATE-  18 April 2012
PROJECT-  Bonneville Lock and Dam
RESPONSE DATE- 10 May 2012 (FPOM)
Description of the problem- From 1 – 12 November 2012, there will be one screened unit available at PH2 and PH1 will be the priority powerhouse.  Flows to maintain a daytime tailwater of 11.5 feet for chum spawning usually begins between 1 – 10 November.  It may not be possible to meet the desired tailwater using only PH1 and Unit 11. 

From 13 November 2012 through winter maintenance season, PH1 will remain the priority powerhouse and unscreened units will be available at PH2.  
Type of outage require- No outage required, but operating unscreened units prior to DSM2 going out of service (OOS) may be needed in early November to meet chum flows without spilling.
Impact on facility operation- The Project would be operating unscreened units prior to the previously coordinated outage of DSM2.  See 110505 UPDATED 110412 BON WS lamprey flume construction.doc and 12BON08 BON Gantry 7 rehab.doc.  

See unit availability timeline below:

A. 1 August – 31 October 2012- PH1 priority with U11 available at PH2.  

B. 1 – 12 November 2012- PH1 priority with U11 available at PH2, as well as unscreened units, if needed to meet chum ops.

C. 13 November 2012 until DSM2 returns to service (towards the end of winter maintenance season)- PH1 priority with unscreened units available at PH2.

Dates of impacts/repairs- May occur between 1 – 12 November 2012.
Length of time for repairs- Length of time unscreened units would operate (prior to DSM2 going OOS) is dependent on when additional flow would be needed to meet the chum operations.  

Once DSM2 goes OOS (13 November 2012 through about mid February 2013) for lamprey work in Washington Shore, then only unscreened units would operate at PH2.
Expected impacts on fish passage- 
Downstream migrating juvenile salmonids- Smolt monitoring season concludes on 31 October, so it is reasonable to believe few juvenile salmonids will be migrating in November.  Of those that will be migrating, most should pass through PH1 as it will be the priority powerhouse.  Of those passing through PH2, one screened unit will provide protection for juveniles.  The remaining fish passing through PH2 will go through unscreened units.

Downstream passage of adult salmon and steelhead- The screens (STS) are typically left in place through 15 December to prevent adult salmonids from falling back via turbines.  In early November, fallbacks may include fall Chinook salmon, coho salmon, and steelhead.  Of particular concern during this period will be potential impacts of operating an unscreened units (if necessary) at PH2 on later-migrant summer steelhead during the period in question (November 1-12).  The relatively brief duration and the PH1 powerhouse priority operation suggest a low risk of significant fallback rates via any unscreened units at PH2.  Operation of the PH1 ice and trash sluiceway (ITS) will provide a surface route for steelhead and other fallback fish.
Comments from agencies

University of Idaho- -----Original Message-----

From: Matt Keefer [mailto:mkeefer@uidaho.edu]

Sent: Thursday, April 19, 2012 11:00 AM

To: Tackley, Sean C NWP

Subject: Re: BON steelhead fallbacks in early November? (UNCLASSIFIED)

Hi Sean

I don't think this specific question is in any of the old reports.  However, I just dredged through the databases to see what I could easily pull out.  Here's the numbers for steelhead fallbacks that occurred from 1-12 Nov for fish released downstream:

Year

tot tagged
1-12 nov FB
dam pass dates

1996

765

2

22 Jul, 25 Sep

1997

975

1

22 Sep

2000

843

2

23 Oct, 29 Oct

2001

802

3

12 Oct, 31 Oct, 18 Oct

2002

945

4

17 Oct, 25 Jul, 17 Aug, 10 Sep

2003

613

6

19 Jul, 22 Sep, 19 Sep, 1 Sep, 17 Sep, 7 Nov

2004

300

 0

Almost every one of these fallback events occurred after fish were recorded upstream at tributaries or TD/JD, meaning the fallbacks were not likely related to operations at Bonneville.  We attempted to assign fallback routes, and those that occurred during the early Nov period were via navlock, ice/trash sluiceway, possible turbine, and unknown - a fairly even mix, maybe skewed a bit towards unknown.

I hope this helps.

-- Matt

CRITFC- 

-----Original Message-----
From: Tom Lorz [mailto:lort@critfc.org] 
Sent: Thursday, April 19, 2012 4:02 PM
To: Mackey, Tammy M NWP
Subject: Re: FPOM: Official Coordination- MOC 12BON11 2012 November chum ops

While I am not excited about this operation I think we can support it with one additional measure, if we need to operate more than 2 units at Powerhouse 2 then open the corner collector and keep it open for 1 hour after the powerhouse goes back to one unit operation.  Since we have the new easy to open corner collector this should be an easy operation.  tom lorz CRITFC

----- Original Message -----

From: Tom Lorz [mailto:lort@critfc.org]

Sent: Thursday, April 19, 2012 06:20 PM

To: Mackey, Tammy M NWP

Subject: Re: FPOM: Official Coordination- MOC 12BON11 2012
November
chum ops

Yup once we hit the normal inwater work period when the bypass is taken down for the season then not needed.  This is primary for adults but also any late moving juveniles will also benefit from this.     

>>> "Mackey, Tammy M NWP" <Tammy.M.Mackey@usace.army.mil> 04/20/12 1:12 PM >>>

So the DSM will go OOS on 13 Nov, as coordinated last year. The B2CC requirement would then end on 13 Nov? Or are you requesting through 15 Dec?

I just want to make sure I capture you comments accurately so when the counter comments come in, there is limited confusion.   

Have a great weekend!

Tam

-----Original Message-----
From: Tom Lorz [mailto:lort@critfc.org] 
Sent: Friday, April 20, 2012 2:07 PM
To: Mackey, Tammy M NWP
Subject: Re: FPOM: Official Coordination- MOC 12BON11 2012 November chum ops

Ya when the dsm goes out is fine, that is the normal time when screens would be removed and we would not have protection for adults but up until them we should have some form of protection.   tom

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺
COORDINATION TITLE- 12BON12 BON spillway erosion hole repair
COORDINATION DATE- 03 May 2012
PROJECT- Bonneville Lock and Dam
RESPONSE DATE-10 May 2012 or as soon as possible.  
Description of the problem- NWP contractors would like to conduct spillway erosion hole repairs at Bays 9, 12, 14, and possibly 2 and 17 along with the undercut area downstream of Bays 3 and 4.  

Because of the location of the scour holes on the spillway, the work must be done as soon as possible.  The scour holes in bays 9, 12, and 14 as well as bays 2 and 17 have grown larger over time, are located in critical areas of the spillway, and could eventually pose a risk for a breach to occur in the lower galleries.  Repair of the undercut beneath the stilling basin apron slab at bay 3 and bay 4 is needed to prevent it from collapsing.  If any failure related to breaching or apron slab collapse occurs, the spillway will have to be shut down and alternative flow patterns put in place to prevent further damage from occurring.  This creates an unacceptably high risk situation because the spillway is used for often-unpredictable flood control (pool level regulation) and powerhouse by-pass when turbines are out of service, as well as the more-predictable fish passage operations during fish passage season.  FPP spill patterns would most likely be modified and would not use all of the spillway bays.  
Type of outage required - BON spill gates 2-17 closed, 24 hrs/day during construction.  Spill gates 1 and 18 would remain open at 0.5 ft for adult ladder attraction.  Cascades Island is scheduled to be OOS on Dec. 1 for winter maintenance.  B-Branch would operate through the winter maintenance period.    
Impact on facility operation - Spill gates 2-17 would not be in service from Nov. 1 to Mar. 30.  Spill gate 1 would operate at 0.5 ft until Dec. 1 and then close until Mar. 1.  Spill gate 18 would operate at 0.5 ft through the construction period.  This operation would occur unless emergency spill was required due to loss of a powerhouse or in the event flood control measures become necessary.

Dates of impacts/repairs - Nov. 1, 2012 – March 31, 2013.  
Length of time for repairs - Repairs are expected to take three months.  Calculations for duration are based on two dive teams working from two floating plants five days/week, 24 hour/day schedule.  The COE is requesting an early start period on Nov.1, 2012, prior to the FPP IWW start date of Dec.1, to allow for maximum benefit to river system stability of flow, unknowns associated with construction, and concrete cure time.  NWP would also like to have flexibility for work into March if needed.  

The focus of work would be preparation on the middle of the spillway at bays 9, 12, 14 during the Nov. 1 – Dec. 1 period to minimize impacts to adult fish passage at the Cascades Island and B-Branch entrances.  Continued work on bays 9, 12, 14 and work on the undercut at bays 3 and 4 would be priority during the IWW period, Dec. 1 – Feb. 28, since bay 3 and 4 located closest to the Cascades Island entrance.  In season assessment of progress will be made regularly to schedule work in areas where fish impacts will be minimized if more time is needed in March.  If any work needed to occur in March, bays 2 and 17 are expected to be the most likely locations due to distances from the fish ladder entrances and bays 9, 12, and 14, prioritization.  

Work will require preparation of the concrete "patch" placement by cutting the existing concrete around the edges of each scour hole and drilling holes for rebar placement.  

An estimated 200cy of concrete via a tremie pour method will be placed.  The total surface area of concrete patches is expected to be 4000 sq. ft.  The undercut at Bays 3 and 4 has been estimated to require an additional 300cy of concrete.    

An example of the same type of tremie concrete placement was used for the leveling slab on which The Dalles spillwall was constructed over two IWW periods during 2008-2010.  That structure required the placement of approximately 2,000cy of concrete to create 9,000 square feet of leveling slab.
Expected impacts on fish passage- 

Downstream migrants - The spillway is not used for downstream passage after 31 August.  There should be minimal impacts to downstream migrants.

Upstream migrants – While there would be no interruption of attraction flow for Cascades Island and B-Branch fishways, there would likely be some impact due to the construction activity, depending on the type of work and time of day it was conducted.
Comments from agencies

Final results

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺
COORDINATION TITLE- 12MCN05 Avian sprinkler repair
COORDINATION DATE- 
May 8, 2012

PROJECT- 
McNary Lock and Dam

RESPONSE DATE-    May 9, 2012

Description of the problem:
   The new juvenile outfall bird sprinkler system has failed due to faulty construction of the tie-in between the junction box and the pump, out at the end of the outfall pipe.  It has likely caused the junction box to flood, creating an electrical short and causing the pump to trip off and fail.  Fixing the problem will require dropping the John Day Pool to 268 feet or lower in order to reduce water levels and wave splashing to the point that contractors can make the necessary repairs.

Type of outage required:  Dropping the John Day Pool to level 268’ or lower by reducing spill at McNary for approximately 2 hours.  The operation is tentatively scheduled for Thursday, May 10, at approximately 12:00 hours.

Impact on facility operation:  According to the RCC, this operation will require reducing spill from McNary Dam for approximately 2 hours to drop the John Day pool down to the required level.  After the 4 hour repair period, the McNary spillway will be re-opened enough to reduce the McNary pool to its normal operating level.  However, repair of the bird sprinkler system is critical to repelling predatory birds, particularly seagulls, which are currently feeding at the outfall pipe in large numbers.

Length of time for repairs:   Four hours.  However, operators need to lower the pool to 268’ before the 4 hour repair can begin, and then spill more from the McNary pool for 2 hours to return it to normal levels.  Total time:  8 to 10 hours.

Expected impacts on fish passage:  Limiting spill at McNary will reduce gas saturation for approximately 2 hours.  The extra spill after the end of the repairs will increase gas saturation below McNary Dam for approximately 2 hours.  Restoring electrical service to the pump will reduce the bird predation that is currently adversely affecting juvenile salmonids that are passing McNary Dam.

Comments from agencies:

Final results:

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺
COORDINATION TITLE – 12IHR03 North Powerhouse Entrance 1 and 2

COORDINATION DATE- 
May 4, 2012

PROJECT- 
Ice Harbor dam

RESPONSE DATE-  FPOM meeting –May 10, 2012

Description of the problem:  The north powerhouse fish entrance NFE 2 became wedged into its slot at Ice Harbor. The lifting beam was also found to be bent. Without NFE 2 in proper operation the entrance criteria at the south fish entrance (SFE-1) will also be out of criteria.  Spill has an effect in the immediate powerhouse tailrace and on the ability of the entrance weirs to operate within FPP criteria.  Maintaining a 1' differential between the collection channel, the tail race and with spill has been a challenge with our high tail race, even after putting additional fish pump(s) into service.  The center and south entrances are hydraulically connected to the same fish pump discharge.

The operating project was able to retrieve the beam as the weir lifting chains became unhooked from the beam.  

The split leaf entrance weir is currently on sill (both leafs).  There is significant water flow through the weir opening which is affecting the south entrance water levels.  Operation of an additional pump currently has us in criteria (7 of 8 pumps currently in operation).  The south entrance differential is currently at 1.55 feet and the center differential is at 1.38 feet. However, our fluctuating tailrace can change conditions quickly, and correspondingly our compliance with even other FPP collection channel requirements. 

In order to fix this situation we will need to install a bulkhead to be able to remove NFE 2 from service and place NFE 1 into service until repairs are made to the weir and its picking beam.

Path forward would likely require securing spill and the south shore fish pumps to allow installation of the entrance bulkheads.  With the current spill levels, the operating project is at a High risk of getting a bulkhead stuck during install with the crane still attached and no real way to get it loose.  NFE 1 could be put into service and the failed weir would need to be retrieved using divers after flows recede.  We would need to secure spill, attraction water, and several units to accomplish that dive.

Type of outage required:  Installation of a bulkhead into the slot is needed to be able to remove NFE 2 from service and place NFE 1 into service until repairs are made to the NFE 2 and its picking beam. 

To perform this work - spill will have to be biased to the north to prevent back eddies into the center powerhouse weir location, while the bulkhead is placed into position.

If this proves not to work, some immediate spill modification will be needed.

Fish auxiliary water pumps must also be shut down at the same time. 

At a later date – after spill – divers could come in to start the retrieval of NFE 2 off of sill.  Turbine Units 5 and 6, and most likely 3 will need to be out of service for the dive.  IHR unit priority is 1,3,4,2,5 and 6

Impact on facility operation:  Minimal impact, spill adjustment and adult fish pump operation will be out of criteria for 1 hour only.  NFE 1 will now be used as the north powerhouse entrance weir.

Length of time for repairs:  Immediately after the spill and auxiliary fish pumps are adjusted, only one (1) hour is needed to place the bulkhead into position.  Time of day for this operation will be in the afternoon.

Expected impacts on fish passage:  At this time there is no impact to fish passage, however as tailwater elevation changes the north powerhouse adult fish entrance and the south entrance may be out of criteria.

Comments from agencies
FPOM says study it and consider a change for next year.

Final results: no change this year.
☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺
COORDINATION TITLE – 12LMN05 SMCAP prefilter
COORDINATION DATE- 
4/25/12



PROJECT- 
Lower Monumental Dam



RESPONSE DATE-  May FPOM

Description of the problem:
  At the time the FPP and Appendix A was drafted; the small cap project for the lube oil prefilters was not funded.  The project is fully funded and scheduled.  The funding has to be used up by the end of the fiscal year.  All the units work has been scheduled in conjunction with other outages.  However; main unit 3 will need a separate day long outage to execute the work.

Type of outage required:  Main unit 3 on June 11, 2012

Impact on facility operation:  LoMo will have to deviate from unit priority (para 4.1).  Unit 3 is the second in line and with the amount of water in June,  Unit 3 will be in service.

Length of time for repairs:  1 day

Expected impacts on fish passage:  Adult spring chinook migration peaks at Lower Monumental Dam as early as 4/20 and as late as 5/27 (FPP Table LMN-4, page LNM-5).  The proposed work is scheduled after this period and before the historic peak dates for the adult summer chinook migration.  Summer chinook runs peak as early as 6/14 and as late as 7/12. Expected flows will allow units 1 and 2 to operate thus keeping attraction of adult fish strongly to the north fishway entrances.  We have chosen the date based upon adult return dates and availability of manpower to do the work.  This work will be done outside the barrel of the unit thus replacing a potential source point for oil introduction into the river with a no risk location. 

Comments from agencies

Final results:

☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺
☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺☺
FPP change forms.

☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻☻
Change Request Number: 13 IHR001  Primary Dewatering Structure

Date: 4-10-2012.   Revised for May FPOM
Proposed by:  Mark Plummer, Ice Harbor Project Fisheries Biologist
Existing Condition:  Primary Dewatering Screen Cleaner Timing.

2011 FPP IHR-section 2.3.1.2 d.  Dewatering Structure paragraph 1.

1. Trash sweep operating correctly. The frequency of sweep should be set as necessary to maintain a clean screen, with a minimum operation of at least once per hour. If automated cleaning system problems occur, operate manually at least once per work shift, or more as necessary, to maintain a clean screen.

Proposed Change to:
1. The Project Biologist shall determine the frequency of operation of the trash sweep.  The sweep should operate at a frequency to maintain a clean screen given present debris loads. If automated cleaning system problems occur, operate manually at least once per work shift, or more as necessary, to maintain a clean screen.

Reason for Change:  The current FPP criterion minimum frequency setting of once per hour cycle is causing excessive and unnecessary wear on the trash sweep leading to early failure.  Frequent failures of the cleaner travel cable and brush lifting cable are due to exceeding normal expected cable wear when operated at a once per hour setting.   Routine manual cleaning of the downstream area, where the screen cleaner does not reach, provides an indication of debris build up on the screen and can be used to set cleaner frequency.   Currently, the cleaner is operating when little or no debris is present.   The possibility of large amounts of debris in the river that could cause plugging of the screen or descaling of fish occurs during the spring run off.  Typically, this is when sweeping of the screen needs to be more frequent, but not every hour.  During the summer months, debris movement in the river usually follows a significant rain occurrence.  The frequency of the screen cleaner should be adjusted during the times of low debris to cycle fewer times to maintain a clean screen.  This will reduce the amount of wear on the equipment and prolong the need for unscheduled maintenance and outages.  In addition, this change will put Ice Harbor more in agreement with what is in the 2012 FPP for Little Goose and McNary facilities who receive much more debris in river than Ice Harbor.      

Added justification from Operating Project Fishery Biologist, as requested by FPOM during the meeting in April:

When the facility was built in 1995/96 the primary dewatering unit screen cleaner was designed and constructed with a tractor drive system.  This system was essentially two small tires that would move the cleaner upstream and downstream by their contact with a common rail in the center of the collection channel over the dewatering screen.  This method of movement was soon found to have problems as the screen cleaner would be found mid travel with the brush down or at one of the ends of its travel with the wheels spinning with no movement.  The screen cleaner was then modified to a cable system similar to Lower Monumental's (which was modified for the same reason) that would pull the cleaner upstream and downstream by a motor and a drum mounted on the screen cleaner with a cable spanning the length of travel.  The cable is wrapped around the drum so that as the motor turns, the screen cleaner is pulled along the cable.  This cable system worked better than the tractor drive system, but still has faults due to the need to replace the cable during the fish season requiring either work over the water (which is kinda scary when there is 300 cfs of water below your feet) or unwatering the collection channel and handling fish.  The system also has a bubbler under part of the screen to remove debris and several "fail safe" devices that sense the water level to initiate an automatic cleaning until the water elevation in the channel is restored and or close off all of the orifices but those in unit 1 which will provide enough water down the bypass, but will not overflow the flume by design.  None of these safety features were built into Lower Monumental which soon after start up, had a problem with screen plugging and overflowing of the primary dewatering unit and the separator.   

The next major problem was the electrical supply to the screen cleaner.  Originally it was a festoon system that would slide along a rail.  This became problematic due to dirt and such getting onto the slide section and would cause it to hang up and pull the wires either out of the motor or out of the electrical box at its source.  It was then modified to a cable system with a series of eyes suspending the electrical cable.  This worked for a while, but then as it would become dirty it also would hang up and pull the electrical cable.  In addition, the cable would become frayed from constant travel back and forth even though the cable was lubricated.  A few years ago we replaced this system with a track style similar to McNary's which once we got the right track put in (the contractor provided us with the wrong track for the application) seems to be performing well so far.  It is worth mentioning that since the facility was constructed, the dewatering screens themselves (Johnson bar screen) have been changed to orient perpendicular to the flow of the water.  This orientation appears to keep the screen cleaner than the original.

Currently, the configuration of the screen cleaner is with the cable system and motor system to provide the travel upstream and downstream.  The electrical power is provided by the track system I mention before.  There is also a cable system that lifts and lowers the screen cleaner brush powered by a separate motor.  The problems we are experiencing now and in the past few years is that although the cable system seems to work pretty well, the constant travel, on an hourly basis, wears the cables out.  It becomes frayed and or breaks requiring replacement during the juvenile season.  We have tried several modifications to alleviate this situation such as: guide rollers, rollers to keep the cables from rubbing on each other, different cable diameters, different cable materials, various tensions on the cables, adjusting timing of the retraction or travel of the cleaner, different drum diameters, and I am sure I am forgetting a few others.  We at the fish facility clean the primary dewatering area downstream of the screen cleaners reach daily(when we are here), with a squeegee type device not only to keep this area clean, but also to give us an idea of how much debris we are seeing.  

Requiring this device to cycle once an hour the entire fish passage season (April - December) is wearing the cables out requiring frequent replacement.  We typically see the majority of our small debris  during the spring runoff.  During this time, I have often set the screen cleaner cycle to less than 1 hour depending on what we are seeing.  However, there are several times when a 1 hour cycle is doing nothing more than wearing out the cables causing more down time and repairs when it is needed.  What I am asking for is more flexibility to increase the time between cycles depending on the need to keep the screen clean.  I have noticed that the FPP provides that flexibility at Little Goose and McNary.

"Some" related outages in the past:

8/2/10 replace screen cleaner cable

8/5/10 adjust screen cleaner cable

8/12/10 repair screen cleaner cable

9/9/10 screen cleaner overload tripping

12/02/10 screen cleaner overload tripping

3/24/11 repair screen cleaner brush cable

10/3/11 repair screen cleaner cable

10/25/11 screen cleaner cable spooled off

12/16/11 screen cleaner brush found in water

3/19/11 screen cleaner cable jumped pulley

Mark F. Plummer

Ice Harbor Dam

Project Fisheries Biologist

voice 509-543-3208 fax 509-543-3209

Mark.F.Plummer@USACE.ARMY.MIL
Comments from others:

April FPOM meeting:
Hevlin suggested having a minimum of every three hours instead of every hour.  Spurgeon noted that there is not a way to physically see the amount of debris.  The only way is to base the need on the amount of debris coming through.

Record of Final Action:

[image: image11.jpg]April 2012

= T = e T = e
BT & T
s BT
- =
| [ e [ (S | St 20t A | oo 2o THT | i 2005 e[ D g
Bl e
£
0 5 i i ) i
S o Ie— ey
e o | R
= oo st | Sz T
3 S0 e i
2 hiSidhens
L s e,
£l
S i 2 i i % 5
Qg T
" oS e | e ot T &
2
i ) 5 5 5% 7 B
W | s e | LT i g
a 550 Lo oS T
% SR ot
B ) Vay T B B 0 5
S
- i rommG -
K et mamace
£ e 107

o

Lot 35c0pm 7O
405 back p 0%k
(rop 3E Q)




[image: image12.jpg]May 2012

ETm ot T Tty
A EQ Ty T 7
S T AT | S0 (5o T
6 7 8 9 10 11 12
T —
q & e — e )
9 izt raC | sooem 100 T | | (.St elens
% o NoAR)
H
53 7] 5 3 7 ) i)
) B =
F) 1y F) = 1) s 2
TSR ITORESTa | soan 1200 T
. St L2165 £AC
7 f) 3 £ En Sunt 2
e Tl | Soer TG PR | S TE T | mpr A e





[image: image13.jpg]June 2012 T

Sy Vo Tuesier I Ty ZE ETE
Way 77 = % £ 3T EITEY T
Tomorey ez e
B n 5 O 7 s 5
500 12005 FPAC | $09m T200pm THT | 5:00am 2:005m WA
FrORNG
g
10 1 12 [13 s 15 i
Teanan s —
o 500 12005 FPAC | 3000 TZ00pm THT | (ML StHelens
2 oo NORA)
17 15 10 20 23
T e ST6am 1200 FRAC | S0 T2 T
&
2 25 26 27 2 2 50
g | [ A Fredaion] | 90em 120pm 1T
i 5:00am 12:00pm FPAC






