FPP Change Request Form
Change Request Number: 14BON006 Project Facts and Figures
Date Submitted:  8 August 2013
Project: BON
Requester Name, Agency: NWP Fisheries
Location of Change:  Backside of Project Tab (new)
Proposed Change:
Facts and Figures

10-Generator First Powerhouse

Length- 1,027 ft

Total generating capacity- 526,700kw

8-Generator Second Powerhouse

Length- 986 ft

Total generating capacity- 558,200kw*

*includes two other generators used to attract fish into ladders.

1938 Navigation Lock

Chamber length- 500 ft

Chamber width- 76 ft

Maximum lift- 70 ft

1993 Navigation Lock

Chamber length- 675 ft

Chamber width- 86 ft

Maximum lift- 70 ft

Lake Bonneville

Length- 48 mi

Forebay max/min

76.5’ msl maximum

71.5’ msl minimum
Tailrace rate of change

Summer rate of change limits

1’ per hour

4’ per day

Winter rate of change limits.

3’ per hour

7’ per day 
Justification for Change:  This information is often asked for but not readily found in the FPP.
Comments from others (Date – Name – Comments): 
Record of Final Action (Date – Action): 
