OFFICIAL COORDINATION REQUEST FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION TITLE – 13 IHR 011 Line #1 disconnect maintenance –Revision / Update to Appendix A.
COORDINATION DATE – July 8, 2013
PROJECT - Ice Harbor Lock and Dam
RESPONSE DATE – 12 July 2013
Description of the problem – The Project is requesting to begin Special Project Operations & Studies 1.9. Line #1 Disconnect Maintenance ahead of time frame noted in FPP Appendix A.  
 From: Appendix A – Special Project Operations & Studies

Ice Harbor Dam: 1.9. Line #1 Disconnect Maintenance.  Scheduled in August  (Page A-19)
To:  July 17 – July 26
Type of outage required – Taking Line 1 out of service.
Impact on facility operation – Main turbine units 1 and 2 will be out of service.  Turbine priority impacted. This is the period noted in the FPP section 4.3 for annual maintenance on units – mid July.
Dates of impacts/repairs:  July 17 – July 26
Length of time for repairs – Approximately 2 weeks.
Expected impacts on fish passage – 
Impacts to adult Chinook salmon and steelhead trout fish passage are expected to be minimal at this time.  This work will be completed between adult fish runs.  Juvenile fish migration numbers low during this time period.  See graphs below.

[image: image1.jpg]Summer Chinook Adult Passage at Ice Harbor Dam

Number of

06112 06115 06/18 06721 06124 06127 06730 07/U3 07106 07109 07/12 07/15 Q7/18 07121 07724 07127 07730 02 8IS 0B/08 08/11
Passage Date

Ten Vear Average (2003.2012)

2012

2015

Graph designed by the Fish Passage Center - Copyright © 2013 Fish Passage Center. Alrights reserved.
Graph design last updated on 03/13/13




 
[image: image2.jpg]Fall Chinook Adult Passage at Ice Harbor Dam

1,800
1600
1,400
1200
1,000

a0
&0
40

Number of

200

08/12 08/16 08720 08724 08128 09101 03/05 03109 09/13 09117 03721 09725 09729 10/03 10/07 10711 10/15 10719 10123 10727 10731
Passage Date

Ten Vear Average (2003.2012)

2012

2015

Graph designed by the Fish Passage Center - Copyright © 2013 Fish Passage Center. Alrights reserved.
Graph design last updated on 03/13/13






Comments from agencies

Final results

Please email or call with questions or concerns.
Thank you, 
Mark Plummer
Ice Harbor Project Fisheries Biologist
