OFFICIAL COORDINATION REQUEST FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION TITLE:  13MCN12 – RAS Testing
COORDINATION DATE:  June 25, 2013 / July2, 2013
PROJECT:  McNary Dam
RESPONSE DATE:  July 3, 2013
Description of the problem:  BPA is in the process of replacing the 1980's era equipment at McNary associated with the Remedial Action Schemes (RAS), to bring them up to the latest standard.  RAS are sets of high-speed, automatic controls that sense some change in the operating condition of the power system (typically, the opening of one or more transmission lines or transformers) which then initiate an action (such as generator dropping or runback, load shedding, or switching of reactive devices).  The purpose of the RAS is to maintain system stability and/or to relieve overloads on one or more system elements.  At McNary, the RAS trip individual turbine unit breakers.  
Type of outage required:  As the new equipment is brought on-line, the BPA crew will test-trip the individual turbine units to insure continuity of the trip path.  One unit at a time will be taken out of service (OOS) for the RAS testing.  The testing will be conducted from 0700 hours to 1800 hours on July 8 to July 11 and July 15 to July 17, 2013.  July 18th has been made available as insurance for unforeseen issues during testing.  Units 1 and 14 will be taken OOS after 1200 hours when there are typically less adult fish entering the Oregon ladder.
Impact on facility operation:  Turbine units will be taken OOS one unit at a time, for approximately 2-3 hours for each unit.  During the RAS testing outage period, the units that are available for service will be operated according to Fish Passage Plan operating priority.  
Dates of impacts/repairs:  July 8-11, July 15-17, 2013, with July 18 also available if needed.
Length of time for repairs:  2 – 3 hours per unit within the 0700-1800 hours time frame each time, except for Units 1 and 14, which will only be affected within the 1200-1800 hours time frame.
Expected impacts on fish passage:  Minimal.  Per the attached diel charts, fewer fish are entering the Oregon fish ladder entrances, which are adjacent to Units 1 and 14, during the 1200 to 1800 hours time frame.

[image: image1.emf]
[image: image2.emf]
[image: image3.emf]
Some of the comments initially received (see comments section below) were concerning the affect of the unit outages for RAS testing on water temperatures on juvenile fish, especially when other units will be OOS for Doble testing and for repairs during the same period.
Doble testing at McNary was previously coordinated through inclusion in Appendix A of the 2013 Fish Passage Plan (FPP), and is scheduled to occur on July 8-11 and July 15-18.  Doble testing will require a 4-day continous outage of transformer banks T4 (and associated units) and another 4-day continuous outage of T5 (and associated units), one at a time.  As a result of this, units 7 and 8 will be OOS on Monday through Thursday of one week, and units 9 and 10 will be OOS on Monday through Thursday of the other week.

RAS testing and Doble testing cannot occur on the same unit at the same time.  Units 3, 4, and 11 will all be OOS for annual maintenance/repairs during the RAS and Doble testing period.  RAS testing on these units will occur while they are OOS. 
If warm water temperatures are a concern during this period, the FPP (MCN Section 4.1) calls for operating every-other unit (“staggered” pattern) instead of adjacent units.  Howver, as many as five units in a row will be off at any one time with the staggered pattern and the units OOS for the Doble testing and unit maintenance/repairs:  

-Units 8, 9, 10, 11, 12.  Units 8 and 12 will be off in the staggered pattern that has the odd-numbered units operating. Use the staggered pattern that has the even-numbered units operating for as much as possible when units 9, 10, and 11 are off so that there will be three units off in a row instead of five. . 

-Units 3, 4, and one adjacent unit.  Unit 2 will be off in the staggered pattern that has the odd-numbered units operating.  Unit 5 will be off in the off in the opposite staggered pattern.

-Units 7, 8, and one adjacent unit.  Unit 6 will be off in the staggered pattern that has the odd-numbered units operating.  Unit 9 will be off in the opposite staggered pattern. 

-  RAS testing on units 7 and 8, and 9 and 10 will need to occur on the weeks when Doble testing is not occurring on each set of units.  Units 9 and 10 will be RAS-tested the first week, and units 8 and 9 will be RAS-tested the second week.

-RAS testing will be performed first on the even-numbered units, including unit 10, and other units that are not running in the staggered pattern to reduce the number of times units need to be stopped and started.  

-Towards the end of the first week, the staggered pattern will be switched (during the cooler early morning hours) to the odd-numbered units not running so RAS testing can be done on the odd-numbered units, including unit 9).  However, since unit 1 is the priority unit for fish, it will be kept on except for when it is RAS-tested in the afternoon hours.  During the beginning of the second week, RAS testing will be done on unit 7. 

-Towards the end of the second week, the staggered pattern will be switched (during the cooler early morning hours) back to the even-numbered units not running, so RAS testing can be performed on unit 8 and any other units that need to be completed.

- RAS testing should not exacerbate warm water temperature problems when performed as outlined above.  

-When possible, the project will avoid shutting down and turning on units during the hottest part of the day, from 1500 to 2100 hours. 

-The Project Fishery Biologist may coordinate a different unit operating pattern if needed , to better reduce warm water problems and accommodate RAS testing completion. 
Comments from agencies:

-----Original Message-----
From: Wills, David [mailto:david_wills@fws.gov] 
Sent: Wednesday, June 26, 2013 7:43 AM
To: Fone, Kenneth R NWW
Cc: Bailey, John C NWW; Baus, Douglas M NWD; BPA Scott Bettin; Dave Benner; Ed Meyer (ed.meyer@noaa.gov); Fredricks, Gary; Haeseker, Steve; Hevlin, Bill; Jason Sweet; Kiefer,Russell; Klatte, Bernard A NWP; Kruger, Rick; Langeslay, Mike J NWP; Lorz, Tom; Mackey, Tammy M NWP; Moody, Gregory P NWW; Richards, Steven P (DFW); Setter, Ann L NWW; Shutters, Marvin K NWW; Stansell, Robert J NWP; Swenson, Larry; trevor.conder@noaa.gov; Cordie, Robert P NWP; Dykstra, Timothy A NWD; Eppard, Matthew B NWP; Faulkner, Donald L NWD; Feil, Dan H NWD; Hausmann, Ben J NWP; Hurd, Terry W NWP; Keller, Paul S NWP; Lear, Gayle HQ @ NWD; Medina, George J NWP; Ocker, Paul A NWD; Peters, Rock D NWD; Rerecich, Jonathan G NWP; Richards, Natalie A NWP; Schneider, Carolyn B NWP; Schwartz, Dennis E NWP; Tackley, Sean C NWP; Traylor, Andrew NWP; Van-der-leeuw, Bjorn NWP; Walker, Christopher NWP; Wright, Lisa NWD; Zorich, Nathan A NWP; Zyndol, Miroslaw A NWP; Brooks, Francis C NWW; Dugger, Carl R NWW; Eskildsen, Robert D NWW; FCRPS NWW; Fryer, Derek S NWW; Halter, Mike J NWW; Juul, Steve T NWW; Kirts, Linda R NWW; Melanson, George W NWW; Plummer, Mark F NWW; Spurgeon, William F NWW; Weston, Dwayne M NWW; Aaron Jackson; Agnes Lute (axlut@bpa.gov); Ballinger, Dean; Bob Rose; Brian McIlraith; Charles Morrill (charles.morrill@dfw.wa.gov); Chris Caudill (caudill@uidaho.edu); Chris_Peery@fws.gov; Statler, Dave; elmerc@nezperce.org; Erick VanDyke; 'Fred Mensik' (lgrsmolt@gmail.com); Fryer, Jeff; Jerry McCann; Kathryn Kostow; Kovalchuk, Greg; Martinson, Rick; Patrick Luke; Roger Dick Jr.; Rosanna Mensik; Rapp, Shawn; Shane Scott; Skidmore,John T - KEWR-4; Tucker Jones; Warf, Don; Whiteaker, John; Sears, Sheri; Mettler, Lonnie E NWW; Gersbach, William J NWW; Johnson, Bobby NWW; Roberts, Timothy J NWW
Subject: Re: FPOM: 13MCN12 - RAS Testing (UNCLASSIFIED)

Ken,

According to the FPP, doble testing of transformer banks is scheduled for McNary from July 8-19.  Is this still going forward?  Banks of turbine units would be out for days.  Warming forebay temperatures may be a factor for the bypass system with various turbines offline.  Should we assume that the doble testing and RAS testing will be performed concurrently and not sequentially?  Whatever the case, the impacts of the RAS testing is not accurately portrayed if the doble testing is going forward as scheduled.  Some more clarification is needed to help me understand all the potential impacts of the testing.

David Wills

U.S. Fish & Wildlife Service

Columbia River Fisheries Program Office

1211 S.E. Cardinal Court, Suite 100

Vancouver, Washington 98683-9684

   phone: (360) 604-2500

   fax: (360 604-2505

   e-mail: david_wills@fws.gov
   http://www.fws.gov/columbiariver
On Tue, Jun 25, 2013 at 3:36 PM, Fone, Kenneth R NWW <Kenneth.R.Fone@usace.army.mil> wrote:


Classification: UNCLASSIFIED


Caveats: NONE


FPOM folks,


See the attached coordination request for RAS testing at McNary scheduled for July 8-11 and July 15-17, 2013.  Please respond with any comments/concerns by July 3.


Thanks,


Ken Fone


Fishery Biologist


Operations Division


Walla Walla District


U.S. Army Corps of Engineers


509-527-7140

-----Original Message-----
From: Gary Fredricks - NOAA Federal [mailto:gary.fredricks@noaa.gov] 
Sent: Wednesday, June 26, 2013 7:17 AM
To: Fone, Kenneth R NWW
Cc: Lorz, Tom; Trevor Conder - NOAA Federal
Subject: Re: FPOM: 13MCN12 - RAS Testing (UNCLASSIFIED)

Ken,  Thanks for the clarification.  I thought these were probably the new entrance graphs that we discussed at the last FPOM, which would probably be the best data to use for determining unit outage times.  However, given that the graphs you showed were based on window counts, I would agree with your proposed timing.  Looking at in that light, I also see why the north and south entrances have different timing since it would take fish entering the north side longer to get to the count window.   Starting around noon is probably best.  Thanks,   Gary

On Tue, Jun 25, 2013 at 4:29 PM, Fone, Kenneth R NWW <Kenneth.R.Fone@usace.army.mil> wrote:


Classification: UNCLASSIFIED


Caveats: NONE


Gary,


Thanks for the quick reply.  For clarification, these graphs are from the counts at the window.  So these fish entered the ladder a little bit earlier than the times shown on the graphs (I don't know what the mean passage time is from the entrances to the window).  The different colors on the graphs represent the Oregon and Washington ladders, not the south and north fishway entrances of the Oregon ladder.


If your recommendation is not to take unit 1 OOS until after 1400, that should not be a problem to accommodate.


Thanks,


Ken


-----Original Message-----


From: Gary Fredricks - NOAA Federal [mailto:gary.fredricks@noaa.gov]


Sent: Tuesday, June 25, 2013 4:00 PM


To: Fone, Kenneth R NWW


Cc: Lorz, Tom; Trevor Conder - NOAA Federal


Subject: Re: FPOM: 13MCN12 - RAS Testing (UNCLASSIFIED)


Ken,  I agree that the dates are ok, but I would say that noon was a bit soon to start an outage of the end units.  It looks like, from the graphs that you included, lower passage for each speciesis different for each entrance.  I looks like noon might be a good starting time for the north entrance (unit 14) but somenting more like 1400 would be better for the south (unit 1).  This should still give time for the 2-3 hour test before the 1800 quitting time.  Thanks,  Gary

-----Original Message-----
From: Rosanna Mensik [mailto:rmensik@psmfc.org] 
Sent: Wednesday, June 26, 2013 6:24 AM
To: Fone, Kenneth R NWW; Bailey, John C NWW; Baus, Douglas M NWD; BPA Scott Bettin; Dave Benner; Ed Meyer (ed.meyer@noaa.gov); Fredricks, Gary; Haeseker, Steve; Hevlin, Bill; Jason Sweet; Kiefer,Russell; Klatte, Bernard A NWP; 'Kruger, Rick'; Langeslay, Mike J NWP; Lorz, Tom; Mackey, Tammy M NWP; Moody, Gregory P NWW; Richards, Steven P (DFW); Setter, Ann L NWW; Shutters, Marvin K NWW; Stansell, Robert J NWP; 'Swenson, Larry'; trevor.conder@noaa.gov; Wills, Dave; Cordie, Robert P NWP; Dykstra, Timothy A NWD; Eppard, Matthew B NWP; Faulkner, Donald L NWD; Feil, Dan H NWD; Hausmann, Ben J NWP; Hurd, Terry W NWP; Keller, Paul S NWP; Lear, Gayle HQ @ NWD; Medina, George J NWP; Ocker, Paul A NWD; Peters, Rock D NWD; Rerecich, Jonathan G NWP; Richards, Natalie A NWP; Schneider, Carolyn B NWP; Schwartz, Dennis E NWP; Tackley, Sean C NWP; Traylor, Andrew NWP; Van-der-leeuw, Bjorn NWP; Walker, Christopher NWP; Wright, Lisa NWD; Zorich, Nathan A NWP; Zyndol, Miroslaw A NWP; Brooks, Francis C NWW; Dugger, Carl R NWW; Eskildsen, Robert D NWW; FCRPS NWW; Fryer, Derek S NWW; Halter, Mike J NWW; Juul, Steve T NWW; Kirts, Linda R NWW; Melanson, George W NWW; Plummer, Mark F NWW; Spurgeon, William F NWW; Weston, Dwayne M NWW; Aaron Jackson; Agnes Lute (axlut@bpa.gov); Ballinger, Dean; Bob Rose; Brian McIlraith; Charles Morrill; Chris Caudill (caudill@uidaho.edu); Chris_Peery@fws.gov; Statler, Dave; 'elmerc@nezperce.org'; Erick VanDyke; 'Fred Mensik' (lgrsmolt@gmail.com); Jeff Fryer; Jerry McCann; Kathryn Kostow; Greg Kovalchuk; Martinson, Rick; Patrick Luke; Roger Dick Jr.; Rapp, Shawn; 'Shane Scott'; Skidmore,John T - KEWR-4; Tucker Jones; Don Warf; Whiteaker, John; Sears, Sheri
Cc: Mettler, Lonnie E NWW; Gersbach, William J NWW; Johnson, Bobby NWW; Roberts, Timothy J NWW
Subject: RE: FPOM: 13MCN12 - RAS Testing (UNCLASSIFIED)

I see in your graphs that you have done the home work on adults.  Have you considered the impact on juveniles?  McNary forebay can heat up starting in the afternoon around 2 pm until 2 hours after sundown.  If we are turning units off and on during that time, we will impact fish.

Rosanna L. Mensik

McNary Dam JFF

541.922.3630 office

541.561.6158 cell

Final results:

Please email or call with questions or concerns.

Thank you, 
Ken Fone

Fishery Biologist

Operations Division

Walla Walla District Office

509-527-7140

Carl R. Dugger

Supervisory Fisheries Biologist

McNary Lock and Dam

541-922-2263

