FPP Change Form
Change Request Number: 14TDA002 Mid season ROV trashrack inspection
Date:  06/24/2013
Proposed by: Bob Cordie 
Location of Change:  The Dalles Dam 
Proposed Change/Add: 
2.4.1.2. a.

‘Inspect units 3, 8 and 18 by ROV between June 1 and June 15’…Should be changed to ‘Inspect 3 units across the powerhouse that have the most prior operation and will not interfere with sluiceway operation.
Reason for Change: 
Inspecting 3 units is intended to provide and indicator of possible debris build up on turbine trashracks from spring operations. However 3, 8 and 18 require sluiceway outage to safely operate the ROV.  Unit 8 requires crane operation to close its chaingate, Also, forced outages may cause these units to have considerably less operating time, thus would not provide an good indication of debris loading on other units. 

We recommend the 3 units be selected by project fisheries. These units will have the most prior operation and will not affect operation of the sluiceway during the inspection.
Comments from others: 
Record of Final Action: 
