FPP Change Form
Change Request Number: 14TDA003 Sluicegate movement timing
Date:  06/24/2013
Proposed by: Bob Cordie 
Location of Change:  The Dalles Dam 
Proposed Change/Add: 
2.4.1.2. e.  If any these MUs are out of service more than 6 hours, operate the next available MU and associated gates adjacent to the unit’ 
Reason for Change: There presently no time limit on MU outage as to when a sluicegate should be moved.  When a unit is out less than 6 hours there is no benefit to swapping gates because it takes several hours of crane time to swap gates. A reasonable time limit is needed.
Comments from others: 
Record of Final Action: 
