FPP Change Request Form

Change Request Number: 14BON004 Section 5.9 Wicket gate position
Date Submitted:  5/8/2013
Project: Bonneville Dam

Requester Name, Agency: Bonneville Project Fisheries
Location of Change: 5.9 (New)
When a unit is idle, wicket gates will remain in a closed position unless: tail logs are installed and a fish salvage has been done in the draft tube or the project is holding a safety pool below the level of the wicket gates.
Proposed Change: No prior language to replace
Justification for Change: Adjust language to reflect current operation and to maximize fish protection
Comments from others (Date – Name – Comments): 

Record of Final Action (Date – Action): Approved on 9 May 2013
