
FPP Change Request Form
Change Request Number: 14BON006 Project Facts and Figures
Date Submitted:  8/8/2013
Project: BON
Requester Name, Agency: NWP Fisheries
Location of Change - FPP Project and Section:

Backside of project tab (new section).
Proposed Changes:
Add new section:
Project Facts, Figures and Operating Criteria – Bonneville Dam, Columbia River (RM 146.1)
Reservoir

Lake Bonneville (48 miles long)
Forebay Elevation
Normal operating range: 71.5–76.5 ft msl 
Maximum rate of change: 
4 ft per 24 hrs (as measured at Stevenson gauge)

Tailrace Elevation 
Maximum rate of change: 
Summer (Apr 1–Sep 30): 1.5 ft per hour / 4 ft per 24 hours
Winter (Oct 1–Mar 31): 3 ft per hour / 7 ft per 24 hours 

Discharge Minimum
Instantaneous: 80 kcfs

Daily average: 100 kcfs

Powerhouse One (Oregon Shore)
Length: 1,027 ft

Main units: 10

Total generating capacity (nameplate): 518 MW
Hydraulic capacity: 136 kcfs
Powerhouse Two (Washington Shore)
Length: 986 ft

Main units: 8

Fish units: 2

Total generating capacity (nameplate): 558 MW (includes 2 fish units)
Hydraulic capacity: 152 kcfs
Spillway

Length: 1,450 ft

Spillbays: 18
Navigation Lock

1938 Lock: Chamber 500 ft long x 76 ft wide, max lift 70 ft

1993 Lock: Chamber 675 ft long x 86 ft wide, max lift 70 ft

Justification for Change:
This information is often asked for but not readily found in the FPP.
Comments from others: 
Record of Final Action:

