
FPP Change Request Form
Change Request Number: 14JDA004 Project Facts and Figures
Date Submitted:  8/8/2013
Project: JDA
Requester Name, Agency: NWP Fisheries
Location of Change - FPP Project and Section:

Backside of project tab (new section).
Proposed Changes:
Add new section:
Project Facts, Figures and Operating Criteria – John Day Dam, Columbia River (RM 215.6)

Reservoir

Lake Umatilla (76.4 miles long)
Forebay Elevation

Minimum pool: 257.0 ft

Full pool: 268.0 ft

Normal operating range: 265.0-268.0 ft (July 1–Oct 1); 260.0-265.0 (Nov 1–June 1)

Tailrace Elevation 

Maximum rate of change: 3 ft per hour
Discharge Limits
Minimum (Dec-Feb): 12.5 kcfs

Minimum (Mar-Nov): 50 kcfs

Maximum rate of change: 200 kcfs per hour

Powerhouse 
Length: 1,975 ft

Main units: 16
Total generating capacity (nameplate): 2,480 MW

Hydraulic capacity: 322 kcfs

Spillway

Length: 1,447 ft

Spillbays: 19
Navigation Lock

Chamber: 650 ft long x 86 ft wide, max lift 113 ft

Average transit time: 30 minutes
Justification for Change:
This information is often asked for but not readily found in the FPP.
Comments from others: 
Record of Final Action:

