14BON014

FPP Change Request Form
Change Request Number: 14BON014 BOP Definition
Date Submitted:  January 28, 2014
Project: BON
Requester Name, Agency: Corps NWP 
Location of Change - FPP Project and Section:

Table BON-15. PH1 Turbine Units Operating Range – modified footnote to table re: BOP.
Proposed Changes:  
2013 FPP:



Justification for Change: 
Based on the PNNL JSATS retro analysis at Bonneville Dam PH1, survival data suggests operating within the 1% and up to the generator limit are acceptable for fish passage and guidelines widening the operations range may provide benefit to total dissolved gas management.  Conclusions from the analysis included:  

“There was not a difference in survival for salmonids passing within the 1% of peak operating efficiency and salmonids passing at operations above the upper 1% operating efficiency” 
  
Comments from others:

Record of Final Action:  
Page 1 of 1

