OFFICIAL COORDINATION REQUEST FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION TITLE-  14BON08 BI Bridge overlay
COORDINATION DATE-  30 April 2014
PROJECT-  Bonneville Lock and Dam
RESPONSE DATE- 8 May 2014 (FPOM)
Description of the problem

The Bonneville Bradford Island Mainstem Fish Ladder Bridge is a cast in place concrete bridge constructed in 1937. The deck has undergone serious deterioration within the top 3-4 inches of concrete, which reduces the load capacity. Currently, a steel plate is over the area as a temporary solution. Several inspections have been conducted between 1992 and 2012, with the latest inspection and analysis showing a de-rating of the bridge. The current recommended load rating for the bridge is 24 tons for Type 3 (single axle), 33 tons for type 3S2 (double axle), 39 tons for type 3-3 (tandem axles) vehicles. This affects the following traffic: 
1. Motor Coaches w/ luggage bays, 25 tons

2. All single unit trucks with 3 or more axles, special haul vehicles, tractor trailer rigs, 33 tons or more

3. All unlimited and limited permit loads (Includes several AT cranes)

4. All RT cranes over 19 tons GVW. 

Repair of the bridge deck (980 sq.ft.), span of about 50 ft, and full depth patches (3) to the underside is necessary. This repair work will help to preserve the bridge, improved the driving surface and reduce maintenance-related lane closures, by removing 3-4 inches or more of the bridge deck and repave with a longer-lasting, rapid-set latex-modified concrete. This bridge is considered mission critical. It connects all tourist, construction and project personnel traffic from the south side of the project to the Bradford Island Visitor Center. There is no alternate means to reroute traffic at this site.

If this repair work is not done, the deck will continue to deteriorate resulting in more load restrictions and higher repair costs. The deck will not be able to remain unposted. Repair of the deck will restore the bridge to a condition where no load restrictions will be required for normal traffic.

Type of outage required: Closing one lane of traffic at a time on the bridge. 
Impact on facility operation: One lane of the bridge will need to be closed at a time  for the repair work. This will affect traffic and will need constant flagging. This will also allow for passage of personnel, the public, and security during all hours. Bridge work will occur between 0700 – 1700 and will require lighting due to the season of operation. 
Flaggers will be provided by the Bonneville Project. Signage will be needed at night and will also be provided by the Bonneville Project. 

Dates of impacts/repairs:  10 – 28 November 2014.
Length of time for repairs: Approximately  3 weeks. 
Expected impacts on fish passage:  
Downstream migrants: no expected impacts as this work is over the fish ladder and not near the downstream passage routes.

Upstream migrants: The impacts to fish passage are expected to be minimal as the work will take place while the Washington Shore ladder is still operational (prior to the in-water work period) and Powerhouse 2 is the priority powerhouse.  The Bradford Island ladder will remain operational throughout the work period but the work will be directly above the ladder and noise during the concrete removal portion of the job may have some negative impact.  The table below shows daily fish passage totals and averages for the past 5 years for the Bradford Island ladder during the proposed work window.
	Date
	
	2013
	2012
	2011
	2010
	2009
	daily average

	1-Nov
	
	234
	90
	300
	136
	56
	163.2

	2-Nov
	
	463
	104
	175
	19
	46
	161.4

	3-Nov
	
	110
	93
	249
	50
	72
	114.8

	4-Nov
	
	54
	87
	190
	52
	70
	90.6

	5-Nov
	
	63
	55
	189
	50
	74
	86.2

	6-Nov
	
	118
	112
	110
	39
	9
	77.6

	7-Nov
	
	45
	60
	107
	262
	11
	97

	8-Nov
	
	77
	50
	98
	26
	25
	55.2

	9-Nov
	
	65
	35
	79
	42
	16
	47.4

	10-Nov
	
	40
	27
	66
	72
	18
	44.6

	11-Nov
	
	44
	34
	129
	107
	12
	65.2

	12-Nov
	
	28
	51
	46
	46
	20
	38.2

	13-Nov
	
	56
	93
	83
	47
	13
	58.4

	14-Nov
	
	29
	45
	57
	73
	29
	46.6

	15-Nov
	
	41
	63
	70
	73
	31
	55.6

	16-Nov
	
	16
	28
	79
	49
	15
	37.4

	17-Nov
	
	28
	36
	60
	39
	10
	34.6

	18-Nov
	
	30
	25
	47
	50
	2
	30.8

	19-Nov
	
	31
	37
	63
	31
	14
	35.2

	20-Nov
	
	30
	24
	70
	63
	5
	38.4

	21-Nov
	
	20
	19
	50
	28
	5
	24.4

	22-Nov
	
	2
	30
	58
	25
	22
	27.4

	23-Nov
	
	22
	11
	57
	39
	3
	26.4

	24-Nov
	
	21
	9
	49
	31
	10
	24

	25-Nov
	
	16
	10
	55
	24
	8
	22.6

	26-Nov
	
	34
	16
	35
	30
	21
	27.2

	27-Nov
	
	27
	18
	20
	17
	17
	19.8

	28-Nov
	
	1
	11
	22
	28
	13
	15

	29-Nov
	
	10
	9
	23
	30
	24
	19.2

	30-Nov
	
	11
	16
	21
	20
	10
	15.6


Bull Trout: This work will occur outside the periods when bull trout have been reported at BON.  Impacts are expected to be minimal to non-existent.  

Five distinct population segments (DPS) of bull trout are listed as threatened by the USFWS.  The Columbia River DPS (listed in 1998) is the only one of the five that is likely to occur in the vicinity of the proposed project.  Historically, bull trout of the Columbia River DPS likely ranged through much of the Columbia River Basin with spawning and rearing occurring in the coldest creeks, often at higher elevations.  Presently, bull trout of the Columbia River DPS are distributed in a more fragmented pattern throughout the Columbia River Basin with fewer adult migratory fish and fewer, more compressed spawning reaches than historically occurred.  WDFW and COE provided a list of anecdotal sightings/captures of bull trout in the mainstem Columbia River.  From 2000 through 2012 there were eleven bull trout reported.  Three were downstream of Bonneville Dam, with two at the mouth of Hamilton Creek (CRM 143) and one in 2005 at the Bonneville Dam Smolt Monitoring Facility (CRM 144).  Upstream of the dam, one bull trout was found at Cascade Locks (CRM 149), two at Drano Lake (CRM 162), two at the mouth of the Klickatat River (CRM 180.5), one in 2002 at the John Day Dam Smolt Monitoring Facility (CRM 215), and one sighting at Dog Creek Falls by a reputable WDFW creel sampler who observed 18-24” cuts or dollies working old redds below the splash pool over the course of two weeks.  Fish passage data from the Bonneville Dam fish ladders (COE, unpublished) show three sightings of bull trout moving through the fish ladders for 2000 through 2012 during the fish counting season (April 1st through October 31st ).  This occurred from 5/30/09 through 6/2/09 and was reported as 12 inch bull trout moving upstream through count window on each occasion.  
Lamprey: This work will occur after the bulk of the lamprey migration season.  Impacts are expected to be minimal to non-existent. 

Comments from agencies

Final results

Please email or call with questions or concerns.
Thank you, 

Tammy

Tammy Mackey

NWP Operations Division Fishery Section

Columbia River Coordination Biologist

503-961-5733 
Tammy.m.mackey@usace.army.mil 
[image: image1.png]5p539.d0c (Read:=Only) [Compatibility Mode] S Microsoft Wore =

veloper  Acrobat ®

L Insert  Pagelayout  References  Mailings R

¥ Bonneville Dam - G.. %

L) ¥ htps//maps google.com/ - @ & X [ citix XenApp - Logge...|

— . Find
File Edit View Favorites Tools Help Ju e cfellE - 5109 || sasbeep, AABBCC AaBbCel AsBbCCT [AaBbee] | AL | o
- 23 Repla
% v B v (= d v Pagev Safety~ Toolsv @~ &l @& _| Change e
= % styles - || 1 Select ~
rch Images Maps Play YouTube News Gmail Drve N Corina — — =

G Sl Bonneville Dam . “

Get directions My places. & eo ‘

00539.80_ Measurement - No measurement of quantities will be made for work performed
under this Section.

Payment

® Bonneville Dam
OR 97014

00539.90_Payment - No separate or additional payment will be made for work performed
under this Section. Payment will be included in payment made for the appropriate items
under which this work is required.

Directions ~ Search nearby Save tomap more-

Waps Lobs - Help

Google Maps -©2014 Google - Terms of Use - Prvacy

EHEAGE

Editin Google ap Maker | Reparta problem

212PM
a 5oy
=i 3/19/2014




