FPP Change Request Form

Change Form# & Title:
15TDA001 – Table TDA-4 Unit Priority Clarification 
Date Submitted: 

October 30, 2014
Project: 


TDA
Requester Name, Agency: 
TDA Fisheries Section
Final Action:



FPP Section:  TDA Section 5.1.1. Table TDA 4.
Justification for Change:   Rather than stating “1 and/or 2, 3 and/or 4”, simply make it a block of units and fill in west to east like the other blocks. The result is the same when ‘or’ is applied. Units 1, 8 and 18 will continue to be first priority units with open sluicegates. Can also simplify by stating “adjacent units will be the new priority if any of 1, 8 or 18 are out of service”. 
Also, unit 8 should not be a priority during March operation since only units 1 and 18 will have open sluicegates.
Proposed Change:  
Table TDA-4.  Turbine Unit Operating Priorities at The Dalles Dam.
	PERIOD
	PRIORITY

	Fish Passage Season: April 1–November 30
	1, 8, 18*

	If additional units needed, operate one unit from each block moving west to east. Repeat as necessary.
	block 1-4, block 5-8, block 9-12, 
block 13-16, block 17-22

	
	

	December 1 – December 15
	1 and 18†

	December 16 – February 28
	1–22 in any order

	March 1 – March 31
	1 and 18†


*During fish passage season – , Units under open sluice gates 1,8,18.

† During March and December operation for adult steelhead fallbacks and kelt passage – Unit 1  and 18 must be operated with 2 open sluice gates per unit.
Comments from others:
Record of Final Action:

15TDA001 - Page 1 of 1

