OFFICIAL COORDINATION REQUEST FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION TITLE- 15BON06 CI FV5-4 repair in October
COORDINATION DATE-  21 May 2015
PROJECT-  Bonneville Lock and Dam
RESPONSE DATE- 11 June 2015 (FPOM)
Description of the problem – Please see MFR 15BON03 for more details.  
Cascades Island valve FV5-4 has failed.  BON is ordering supplies and will prepare to dewater Cascades Island beginning mid-October.  The repairs will take three weeks.  This outage will be outside the normal winter maintenance period.

Type of outage required – Cascades Island fishway will be fully dewatered for the repair of FV5-4.  Spillbay 1 will be closed during the fishway outage.  
Impact on facility operation – The Project will operate three fishway entrances instead of four. Spillbay 1 will be closed while CI is OOS.  
Dates of impacts/repairs – Orifice flow is scheduled to begin on 8 October; dewatering will occur on 12 October.  Repairs are expected to take three weeks, with crews working six days/week.
Length of time for repairs – About three weeks.
Expected impacts on fish passage – 
Upstream migrants – Cascades Island is one of four ladder entrances available to upstream migrating fish.  It is anticipated that the other three entrances will maintain FPP criteria and fish looking for an entrance in the spillway tailrace will be able to find the B-Branch entrance.  Attraction flow will only be provided to B-Branch through spill bay 18; this should help guide fish to the operating entrance.
Table 1. 10 year (2005 – 2014) average fish passage numbers at BON Washington Shore from 8 – 31 October.
	Date
	All Chinook
	All steelhead
	Coho
	Totals

	8-Oct
	1779
	429
	1710
	3917

	9-Oct
	1586
	355
	1575
	3515

	10-Oct
	1294
	302
	1585
	3181

	11-Oct
	1066
	295
	1656
	3017

	12-Oct
	680
	216
	1137
	2033

	13-Oct
	853
	204
	1334
	2391

	14-Oct
	802
	195
	1178
	2175

	15-Oct
	597
	173
	1141
	1911

	16-Oct
	687
	208
	1438
	2333

	17-Oct
	656
	225
	1282
	2163

	18-Oct
	589
	269
	1300
	2157

	19-Oct
	320
	183
	968
	1471

	20-Oct
	296
	137
	854
	1287

	21-Oct
	291
	126
	808
	1225

	22-Oct
	240
	116
	654
	1009

	23-Oct
	254
	117
	726
	1097

	24-Oct
	221
	97
	663
	982

	25-Oct
	195
	97
	537
	828

	26-Oct
	149
	88
	518
	755

	27-Oct
	117
	83
	618
	818

	28-Oct
	112
	75
	437
	624

	29-Oct
	127
	68
	477
	673

	30-Oct
	92
	66
	407
	565

	31-Oct
	115
	74
	435
	623


Downstream migrants – This action will occur outside the peak juvenile passage time and will not impact surface passage routes.  
Comments from agencies

NOAA Fisheries – -----Original Message-----
From: Gary Fredricks - NOAA Federal [mailto:gary.fredricks@noaa.gov] 
Sent: Tuesday, May 26, 2015 3:41 PM
To: Mackey, Tammy M NWP
Cc: Lorz, Tom; Trevor Conder - NOAA Federal; Hausmann, Ben J NWP
Subject: [EXTERNAL] Re: FPOM: Official Coordination - 15BON06 CI FV5-4 repair

Tammy,  Overall, this looks ok however, I would recommend moving the spill from bay 1 to bay 18 rather than just shutting it off.  Moving additional attraction water to this side may help passage somewhat, with no additional cost.  Thanks,  Gary

CRITFC - -----Original Message-----
From: Tom Lorz [mailto:lort@critfc.org] 
Sent: Tuesday, May 26, 2015 3:53 PM
To: Mackey, Tammy M NWP
Subject: [EXTERNAL] Re: FPOM: Official Coordination - 15BON06 CI FV5-4 repair

will agree with gary, but had hoped that attraction/spill was going to be shifted anyway, but thought it should be stated since it was not in the MOC.

thanks

tom

Final results
Please email or call with questions or concerns.
Thank you, 

Ben Hausmann
BON Project Fisheries

541-347-4598
Tammy Mackey

NWP Operations Division Fishery Section

Columbia River Coordination Biologist

Tammy.m.mackey@usace.army.mil 

