OFFICIAL COORDINATION REQUEST FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION TITLE- 15 IHR 005 – Line 2 Disconnect Maintenance and Unit 4 Thrust Bearing Oil Pump Replacement
COORDINATION DATE-  4 June, 2015
PROJECT-  Ice Harbor Dam
RESPONSE DATE-  11 June, 2015
Description of the problem – From the FPP 2015 Appendix “A” - Line Disconnects Maintenance.  Scheduled for September 2015, line disconnects maintenance will take the following out-of-service: Line 2, transformers TW3 and TW4, and turbine units 3 and 4. This work will be completed in conjunction with main units 3 and 4 scheduled annual maintenance. Line disconnects have not been properly maintained in the past. And are past due. Additionally, Unit 4 will remain out of service through October 2015 to complete installation of a small capital project to install a new thrust bearing oil pump. Since Ice Harbor Dam has multiple transformer banks, transmission lines and redundant switching capability, the remaining turbine units will be available for operation during this timeframe.  Turbine units will operate within the 1% range and in accordance with FPP priority order.
Type of outage required – A line 2 outage will affect units 3 and 4.
Impact on facility operation – Based on the low river flows that are typically occurring in September and October, up to three turbine units, but usually two units, will probably be running.  Unit operating priority is 1, 3, 6, 4, 2, 5, so units 1 and 6 would be operating, with unit 2 running if needed from 14 September to 2 October.  On 3 October, normal operating priority for three units operating would be restored.
Dates of impacts/repairs – Unit 3 is scheduled out of service 14 September through 2 October for routine maintenance and Unit 4 is scheduled out of service 14 September through 23 October for routine maintenance and completion of capital work..
Length of time for repairs – Actual Line Disconnect Maintenance is 1 week; however it is in conjunction with scheduled routine maintenance on units 3 and 4.  The unit 4 thrust bearing oil pump replacement will take 3 weeks beyond the routine annual maintenance period. 
Expected impacts on fish passage – Juvenile fish passage is very low in September and October.  Adult steelhead and Fall Chinook passage is typically peaking during this period.  However, units 1 and sometimes unit 6 will be operating to help attract adult fish to the south shore entrance and north powerhouse entrance, respectively, of the south fish ladder.  Unit 3 will be back in service and operating second in priority as normal on October 2.  AWS pumps will be operating as normal for attraction to the entrances. 
Comments from agencies

Final results
Please email or call with questions or concerns.
Thank you, 

