OFFICIAL COORDINATION REQUEST FOR

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION TITLE – 15LWG013 Bridge Crane Power Install

COORDINATION DATE - 10 June 15

PROJECT - Lower Granite Dam

RESPONSE DATE - 11 June 2015 (FPOM Meeting)

Description of the problem: The Contractor working on the Lower Granite Powerhouse Bridge Crane needs to establish a new power feed line as part of the complete rehab.

Type of outage required:  To move forward with this work the power supplies to Units 1, 2, and 3 ESBS screen cleaners in will be disconnected simultaneously.  This will allow crews to tie new power feeds into the Power House Bridge Crane.

Impact on facility operation:  The screen cleaners will be removed from service while work is performed.  Unit operating priority is 2, 3, 4-6 any order, and then 1 (Table LWG-5).

Dates of impacts/repairs:  The Contactor at Granite would like to proceed as soon as possible, preferably at 1700 hours Thursday June 11, 2015, to remain on schedule.

Length of time for repairs:  The outage is scheduled to occur between 1700 hours on June 11 to 0300 hours on June 12 and is not expected to exceed 10 hours.  The work will resume at 1700 hours on June 12 if an unexpected event occurs that prevents completion within 1700-0300 hour time frame the first day.

Expected impacts on fish passage:  Debris load has been light this season with occasional sticks being removed from gatewells and the Juvenile Facility over the last few weeks.  Screen cleaners are currently operating every 4 hours.  Debris load is not expected to increase in the foreseeable future.  Removing the screen cleaners from service for 10 hours will likely result in little or no change in debris accumulation on the screens and have no impact to juvenile fish passage.  Screens will be operated prior to being removed from service and once power is restored.  An alternative would be to remove unit’s 1-3 from service.  This alternative would likely adversely affect fish ladder attraction and adult passage.

Comments from agencies:

Final results:

Please email or call with questions or concerns.

Thank you,

Elizabeth Holdren

Supervisory Fisheries Biologist

Lower Granite Lock and Dam

Ph. 1(509)843-1493 ext.263

Email: elizabeth.a.holdren@usace.army.mil