OFFICIAL COORDINATION REQUEST FOR

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION TITLE- 15LWG 012 Fish Ladder Cooling Pump Power Supply Installation

COORDINATION DATE- 	9June15

PROJECT- 	Lower Granite Dam

RESPONSE DATE-	June FPOM meeting –  June 11,2015

Description of the problem: Three emergency cooling pumps were powered with diesel during the 2014 fish season.  To eliminate a possible fuel spill into the forebay pumps will be ran with electrical power in 2015.  Lower Granite electrical crew have completed design of the power supply and would like to install power as soon as possible in preparation for the 2015 fish ladder cooling pump operations.  Installation of the electrical power supply for Lower Granite adult fish ladder cooling pumps requires interruption of the main line to the adult fish trap, diffuser 14, and the Visitor Center.

Type of outage required:  Disconnecting service power will result in the trap and Diffuser 14 being out of service for about 4 hours during installation of new power feed for the adult ladder emergency cooling pumps.

Impact on facility operation:  Adult trap operation is currently at a trapping rate of 15% Monday through Friday.  The power outage is scheduled to begin when the trap will not be operating and after the adult sample is complete.  Diffuser 14 will be in manual mode set at the current position of 100% open to ensure the fish ladder depth over the weir criteria of 1.0-1.3 feet is maintained.

Dates of impacts/repairs:  Granite electrical crew would like to perform the work between 1030-1700 hours June 12, 2015.

Length of time for repairs:  The work is estimated to take 4 hours and will be done between1030-1700 hours.

Expected impacts on fish passage:  There are no expected impacts to juvenile or adult fish passage.

Comments from agencies:

Final results:

Please email or call with questions or concerns.

Thank you,

Elizabeth Holdren

Supervisory Fisheries Biologist

Lower Granite Lock and Dam

Ph. 1(509)843-1493 ext.263

Elizabeth.a.holdren@usace.army.mil