# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title:	16LGS003 – SW Close Criteria to 50 kcfs

Date Submitted:		February 4, 2016; Revised February 8, 2016

Project:			LGS

Requester Name, Agency:	Corps NWW

Final Action:

FPP SECTION:  LGS section 2.3.3.7. Juvenile Facilities – Fish Passage Season; LGS section 4.2 Turbine Unit Operating Range; Tables LGS-8 through LGS-11.

JUSTIFICATION:  Changes criteria to close the spillway weir (SW) from the previous 35 kcfs trigger to 50 kcfs, based on juvenile fish survival data from performance tests indicating lower survival at lower river discharges with the TSW operating, with follow-up modeling results at ERDC in September 2014.

PROPOSED CHANGES:

2.3.3.7. Spillway Weir (SW)

c. Close SW: On or after June 21 (start of summer spill), when daily average discharge drops below 50 kcfs and forecasts indicate flow below 50 kcfs for at least 3 days, the SW will be closed for the remainder of the spill season and spill distributed in “Uniform” patterns with no SW (Table LGS-10).  The SW will be closed within 3 normal work days after RCC issues the teletype and coordinated through CENWW-OD-T.  During work to close the SW, spill will be distributed in “Alternate Uniform" patterns (Table LGS-11) and Bay 2 will be closed to ensure worker safety in adjacent Bay 1.

c.1. The SW will be closed no earlier than June 21 to enhance subyearling migration even if the low flow criterion (daily average discharge below 50 kcfs) is achieved.

4.2. Turbine Unit Operating Range.

4.2.4. Unit 1 Special Operation. During fish passage season when the spillway weir (SW) is operating in Bay 1 and total project outflow is greater than 38 kcfs, Unit 1will be operated in the upper 25% of the 1% range. Historically, the GDACS program tended to balance flow out of all units in operation. However, this operation will at times result in an unbalanced operation where more flow is passing through Unit 1 than other operating units. Physical modeling has indicated that a higher flow out of Unit 1 is very important to disrupt the eddy that forms along the south shore downstream of the powerhouse when the SW is operating in bay 1 in order to optimize tailrace conditions for both adult passage and juvenile egress. When the SW is removed from service during summer spill, the tailrace eddy is mostly non-existent and all turbine units may be operated within the full 1% range.

Tables LGS-8 through LGS-11 (footnote to spill pattern tables).

e. Flow >85 kcfs = SW-Lo  /  Flow 50-85 kcfs = SW-Hi  /  Flow <50 kcfs = SW close.

COMMENTS:

-----Original Message-----
From: Milligan, Sean C NWW

Sent: Wednesday, February 03, 2016 10:36 AM

Here are my comments on this change form:

1)  The ERDC model trip for LGo low-flow operations was Sept 2014...

2)  In the justification paragraph, I think we should mention that the initial impetus to look at this was poor survival in the performance study, which identified lower survival at the lower flows with the TSW operating.  So then we looked at the model and confirmed acceptable operating conditions with TSW above 50 kcfs and better operating conditions with uniform spill (TSW out) below 50 kcfs.  So I suggest a statement like this:  "Changes criteria to close the spillway weir (SW) from the previous 35 kcfs trigger to 50 kcfs, based on juvenile fish survival data from performance tests indicating lower survival at lower river discharges with the TSW operating, with follow-up modeling results at ERDC in September 2014."

3) I believe the agreement was that the TSW would be removed when river discharge falls below 50 kcfs, regardless of the date.  So Paragraph 2.3.3.7.c.1 needs to be removed entirely, and the first phrase in Paragraph 2.3.3.7.c referring to the date should be removed.

-----Original Message-----
From: Trevor Conder - NOAA Federal 
Sent: Thursday, February 04, 2016 12:59 PM

I agree Aug 1 is probably too late of a trigger date, we should have a trigger date so we don't remove the RSW in the spring where we made the standard for spring migrants under the normal RSW operation. I suggest using the RSW for the bulk of the spring migration, but allow it to come out during the summer migration. Looking at the data in 2015 it appears if we had used June 1 and below 50K we would have captured that idea best.

-----Original Message-----
From: Tom Lorz 
Sent: Friday, February 05, 2016 10:09 AM

close but needs some work. This was suppose to be for the summer period or at lease that was my way of thinking, the way it is written would affect anytime of year. I would add some language anytime after July 1st? pick your favorite day.  Otherwise will need to have some re-install language and then we could be taking the [SW] in and out repeatedly across the season as flows change in a 3 day window, not sure if this is what people wanted. If we do add this to spring part of the run, people could easily ask, since this has not been tested how do we know that it is good idea, especially given the high usage of the TSW by steelhead.

-----Original Message-----
From: Tom Lorz [mailto:lort@critfc.org] 
Sent: Monday, February 08, 2016 10:25 AM

I was leaning more towards the [June] 20th to keep the spring/summer switch consistent.

-----Original Message-----
From: Trevor Conder - NOAA Federal

Sent: Monday, February 08, 2016 10:47 AM

I just spoke with Bill on this, and we support CRITFC in using the spring/summer transition date for the first step on the LGO RSW removal trigger.

-----Original Message-----
From: Milligan, Sean C NWW

Sent: Monday, February 08, 2016 12:42 PM

Ok with me, although at some point we may have to acknowledge that the tailwater doesn't care what the date is -- it will react to whatever the discharge and our operating configuration is, and if the discharge is less than 50 kcfs with the TSW operating, resulting in poor passage conditions for both adults and juveniles, what is the appropriate response?  But this is still an improvement over the current plan, and Q<50 kcfs is a relatively rare event in the spring, so let's move forward.

RECORD OF FINAL ACTION: