Fish Passage Operation and Maintenance (FPOM) Team meeting

10 March 2016 0930-1300

BON Auditorium

Bonneville Lock and Dam Oregon

Conference line: 888-675-2535	Access/Security code: 4849586

Documents may be found at: http://www.nwd-wc.usace.army.mil/tmt/documents/FPOM/2010/

- Approve January and February meeting minutes. (Mackey)

- Action Items

  - NWW Action Items

    - [Feb 16] MCN ladder permanent closure. ACTION: Trachtenbarg will send out an MOC.

    - [Feb 16] LWG using JDA screens. ACTION: Morrill will write something up for distribution. The study will currently move forward as planned.

  - NWP Action Items.

    - [Feb 16] Unit priority for PH1 when the main unit breaker is OOS.  ACTION: Fredricks will pick a time and send out a notification.

    - [Feb 16] BON Weir 68 Bleed-off. ACTION: Hausmann will insert cautionary language in the BON dewatering plans with a note to conduct a test in the future.

    - [Feb 16] BON BI count station lamprey mods. ACTION: Hausmann will send out photos when the mods are completed.

    - [Feb 16] NWP Oil spill plans. ACTION: FPOM will review for March meeting.

    - [Feb 16] BON FOG rehab. ACTION: Rerecich will look into previous studies investigating biological FOG use and send that to Fredricks.

  - Completed Action Items or to be discussed later in the agenda.

    - [Feb 16] LWG diversion gate update. ACTION: Pinney will resend the hydraulic evaluation of the PIT-tag antenna installation. NWW will provide an update next FPOM and try to have some alternatives for operation. STATUS: discussed under NWW updates.

    - [Feb 16] 16BON03 MOC Blown AWS grating at PH2CC diffuser C4_updated. ACTION: Hausmann will update the MOC to address hydraulic impact, size of the chamber, and concerns of flow in the diffuser when it’s closed. STATUS: discussed under NWP updates.

    - [Feb 16] JDA-S AWS pump #1. ACTION: Zyndol will send Bettin an email stating funding need. Zyndol will update FPOM on status of JDA-S AWS turbine pump #1. STATUS: discussed under NWP updates.

- Updates

  - NWW Updates.

    - Upcoming maintenance/construction/research activities.  FPOM OUTAGES schedule available on the web site.

    - Wasco PUD at MCN. (Martinson)

    - LWG diversion gate update. (Pinney)

  - NWP Updates

    - Upcoming maintenance/construction/research activities.  Includes already coordinated MOCs.

      - 15TDA07 MOC 35 ton gantry crane rehab_updated.

      - 16BON03 MOC Blown AWS grating at PH2CC diffuser C4_updated.

    - Winter maintenance recap

      - BON

      - TDA

      - JDA

    - NWP Project oil spill plans – FPOM website under Jan 2016.

    - BON CI subsidence. (Hausmann)

    - JD-S AWS turbine update. (Zyndol/Grosvenor)

  - Research/FFDRWG updates. www.nwd-wc.usace.army.mil/tmt/documents/FPOM/2010/NWP%20Research/Research.html

  - RCC update.

Table 1. RCC flow forecast

| # Project | # Previous day average (kcfs) | # 5 day forecast average (kcfs) | # 10 day forecast average (kcfs) | # Projected Peak |
| --- | --- | --- | --- | --- |
| # LWG |  |  |  |  |
| MCN |  |  |  |  |
| BON |  |  |  |  |

  - Pinniped updates.

    - BON FOG barriers.

  - Lamprey updates.

  - Avian.

    - TDA avian lines. (Cordie)

    - JDA avian lines. (Zyndol)

  - BPA updates.

- Coordination/Notification forms (need concurrence/discussion)

  - 16BON08 Fish Unit floating times for Feb 2016

  - 16JDA01 MOC Wing gate and weir removal from JDA-S.

  - 16JDA02 MOC JDA-S operation and AWS turbine repair.

  - 16 MCN 01  MCN Fishway Spill Entrances Permanent Closure – OR and WA Shore

  - 16 MCN 02 MCN Debris Spill Notification

  - 16IHR002 ladder entrance gate calibration

  - 16 LMN 01 MOC Special Operation of Unit 2 for Data Collection.

  - 16 LGS 02 TSW Removal and ASW Installation

- Fish Passage Plan:  The Draft 2016 FPP and Change Forms are online at: http://www.nwd-wc.usace.army.mil/tmt/documents/fpp/.

  - Pending FPP Change Forms.

    - 16AppB002 – LMN-LGS Condition Sampling.

    - 16JDA001 – JD-S fishway operations for AWS turbine outages

  - New FPP Change Forms.

  - Potential FPP change forms.

    - Digital governor testing.

    - JDA-S fishway operations with one or two AWS turbines.

- Task Group Updates.

  - New Task Groups.

    - BON minimum spill to maintain good B2CC egress.  (Fredricks and Lorz).  Team members include: Bettin, Ebner, Hausmann, Mackey, Rerecich, Wright.  Report from Laurie, waiting for ERDC information

  - Active Task Groups.  Currently no active task groups meeting at this time.