# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title:	18LMN001 – Table LMN-11 modification

Date Submitted: 		8/25/17

Project: 			Lower Monumental

Requester Name, Agency: 	Ann Setter, USACE

Final Action:			PENDING evaluation of patterns at ERDC

FPP Section:  Table LMN-11 Spill Patterns with no RSW

Justification for Change: Need an additional row to cover a higher spill level.

Proposed Change: Modify spill table LMN-11 by adding bottom row.

Table LMN- 11. Lower Monumental Dam Spill Patterns with No RSW (Bay 8 Closed). a, b

| LMN Spill Patterns w/ NO RSW - # Gate Stops per Spillbay |  |  |  |  |  |  |  | Total Stops | Spill a |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Bay 1 | Bay 2 | Bay 3 | Bay 4 | Bay 5 | Bay 6 | Bay 7 | Bay 8 b | (#) | (kcfs) |
|  | 1 |  |  |  |  |  | CLOSE | 1 | 1.8 |
|  | 1 |  |  |  |  | 1 | CLOSE | 2 | 3.6 |
|  | 1 |  |  | 1 |  | 1 | CLOSE | 3 | 5.4 |
|  | 2 |  |  | 1 |  | 1 | CLOSE | 4 | 6.9 |
|  | 2 |  |  | 1 |  | 2 | CLOSE | 5 | 8.4 |
|  | 2 |  |  | 2 |  | 2 | CLOSE | 6 | 9.9 |
|  | 2 |  |  | 2 |  | 3 | CLOSE | 7 | 11.4 |
|  | 2 |  |  | 3 |  | 3 | CLOSE | 8 | 12.9 |
|  | 2 |  |  | 3 |  | 4 | CLOSE | 9 | 14.3 |
|  | 2 |  |  | 3 |  | 5 | CLOSE | 10 | 16.0 |
|  | 2 |  |  | 4 |  | 5 | CLOSE | 11 | 17.4 |

Comments:

9/14/17 FPOM:  Conder noted that the patterns with one stop in Bay 5 might be better shifting that stop to Bay 7. Need to look at these patterns at ERDC next week, then revise if necessary.

Record of Final Action: