# Fish Passage Plan (FPP) Change Request Form

Change Form # & Title:	19TDA004 – AWS Backup Operation 2

Date Submitted:		2/28/2019

Project:			TDA

Requester Name, Agency:	Bob Cordie, USACE

Final Action:

FPP Section: TDA 4.3.2.1.b.

Justification for Change: Newly constructed East fishway AWS backup system

Proposed Change: [see below with edits to existing FPP in track changes]

- 4.3.2.1.b. If both of the fishway auxiliary water turbines fail or malfunction, regardless of fish passage season, the adult passage facility will be operated as follows:

            - Open AWS backup water supply.

            - Raise the south entrance weirs to elevation 81’ msl (closed position).

            - Close west entrance.

            - Close entrance weir E1, and keep E2 and E3 at >8’ depth.

            - Operate closest available main unit to the east entrance for attraction flow.

Comments:

Record of Final Action: