OFFICIAL COORDINATION REQUEST FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION TITLE - 19BON52 Spillway Attraction Flow Outage for Hydro-survey
COORDINATION DATE – 27 August 2019
PROJECT – Bonneville Lock and Dam
RESPONSE DATE – 10 September 2019 or September FPOM (12 Sept)
Description of the problem – 
The stilling basin at Bonneville is thought to have an unknown volume of loose rock in it. A hydro-survey is going to be conducted by a contractor to assess it. The survey requires that attraction flow (0.5 kcfs) be shut down in the vicinity of the work. The region has previously requested closing one spillbay at a time.  The project is able to accommodate that request. 
Type of outage required – Spill bays 1 and 18 
Impact on facility operation (FPP deviations)
This operation will necessitate a deviation from FPP section 2.2.5, which states “From September 1 through April 9, during Day hours (Table BON-5), spill will occur from Bays 1 and 18, each open 6" (1 stop), to provide attraction flow to the Cascades Island and Bradford Island B-Branch entrances, respectively.”

Impact on unit priority
None.   
Impact on forebay/tailwater operation

None.
Impact on spill

Spill bays 2-17 will be locked out / tagged out and unavailable during the duration of the survey. Spillbays 1 and 18 will not be locked out / tagged out unless surveying is occurring in the immediate vicinity. No attraction flow will occur out of spillbays 1 nor 18 when locked out / tagged out.   
Dates of impacts/repairs

24 September 2019. 

Length of time for repairs

Up to ten hours (0700 – 1700) total for the entire survey. 
Analysis of potential impacts to fish

1. 10-year average passage by run during the period of impact for adults and juvenile listed species, as appropriate for the proposed action and time of year.
[image: image1.png]Bonneville 10 YR Average
30000
25000
20000
15000
10000

5000

o
1-Mar 22-Mar 12-Apr 3-May 24-May 14-Jun 5Jul  26Jul 16-Aug 6-Sep 27-Sep 18-Oct 8-Nov 29-Nov

10YR CHN 10YR COHO 10YRSTT 10YR SOC




2. Statement about the current year’s run (e.g., higher or lower than 10-year average).
We are currently well below the 10-year average for all species of salmonids. 

[image: image2.png]35000

30000

25000

20000

15000

10000

5000

0

1-Mar 22-Mar 12-Apr 3-May 24-May 14-Jun  5-ul

-5000

BON 10-Year vs 2019 Daily Total Salmonids

= 10-YR Totals

9-Sep,

26-Jul 16-Aug 6-Sep 27-Sep 18-Oct 8-Nov 29-Nov

= 2019 Totals




3. Estimated exposure to impact by species and age class (i.e., number or percentage of run exposed to an impact by the action).
	Species
	9/24 10-Year Average
	10-Year Average
	% of Run Affected

	CHN
	9,629
	901,304
	1.07%

	STT
	1,829
	383,555
	0.48%

	Coho
	1,632
	115,254
	1.42%


4. Type of impact by species and age class (increased delay, exposure to predation, exposure to a route of higher injury/mortality rate, exposure to higher TDG, etc.).
Only one spill bay will be closed at a time for short duration. Impacts due to delay are thought to be minimal as all other routes of passage throughout the project will remain in service and in criteria. However, a delay could expose upstream migrants to increased predation in the tailwater. 
Summary statement - expected impacts on: 
Downstream migrants

The hydro-survey will occur outside spill season. Impacts to downstream migrants is thought to be minimal if any. The PH1 ITS and PH2 DSM will remain in service during the hydro-survey. Only one attraction flow spillbay (1 and/or 18) will be out of service at a time. 

Upstream migrants (including Bull Trout)

Impacts to returning adults is thought to be minimal. All other routes of passage will remain in service and in criteria during the hydro-survey. Impacts to Bull Trout are thought to be minimal as well since very few PIT tagged fish have been observed migrating past Bonneville. 
Lamprey

Impacts to lamprey are thought to be minimal. The majority of returning adults will have already passed on late September. 
Comments from agencies
-----Original Message-----
From: Tom Lorz [mailto:lort@critfc.org] 
Sent: Friday, August 30, 2019 11:55 AM
To: Kovalchuk, Erin H CIV USARMY CENWP (US) <Erin.H.Kovalchuk@usace.army.mil>
Subject: [Non-DoD Source] Re: FPOM: Official Coordination 19BON52 MOC Spillway hydro-survey
we are fine with this one, not happy but fine

Final coordination results
After Action update (After action statement stating what the effect of the action was on listed species. This statement could simply state that the MOC analysis was correct and the action went as expected, or it could explain how the actual action changed the expected effect (e.g., you didn’t need to close that AWS valve after all, so there was no impact of the action).  List any actual mortality noted as a result of the action)
Please email or call with questions or concerns.
Thank you, 

Erin
Erin Kovalchuk
NWP Operations Division Fishery Section

Columbia River Coordination Biologist
Erin.H.Kovalchuk@usace.army.mil
Brian Bissell, Fish Biologist

U.S. Army Corps of Engineers

Bonneville Lock & Dam
Brian.M.Bissell@usace.army.mil 

