# Fish Passage Plan (FPP) Change Form

Change Form # & Title: 	21TDA002 – Unit 8 Sluicegates Open

Date Submitted:		April 20, 2021

Project:			The Dalles Dam

Requester Name, Agency:	Cordie, Corps

Final Action:

FPP Section:  TDA Section 2.3.2.6. Juvenile Facilities – Fish Passage Season

Justification for Change:

Slot 8-2 has hanger for unit trashrack rake, preventing access to sluicegate 8-2. Project has been opening sluicegate 8-1 instead. The future plans include modifications to allow moving rake, but date is to be determined. Has been mentioned at FPOM but was not changed in FPP yet. Past research general recommendation was only to open gates on operating unit 8.

Proposed Change:  Change 8-2 to 8-1

- 2.3.2.6. Operate the ITS 24 hours/day for juvenile fish passage per Table TDA-4. Open gates 1-1, 1-2, 1-3 over operating Main Unit (MU)-1; gates 8-1, 8-3 over operating MU-8; and gate 18-2 over operating MU-18. If any these MUs are out of service for more than 6 hours, operate the next available MU and associated gates adjacent to the unit (i.e., if MU-1 is OOS, operate MU-2 w/gates; if MU-18 is OOS, operate MU-17 w/gates or MU-19 w/gates).

Table TDA-4. The Dalles Dam Ice & Trash Sluiceway (ITS) Schedule of Operations.

| DATES | SLUICEWAY OPERATION (24 hrs/day) | PURPOSE | FPP Section |
| --- | --- | --- | --- |
| March 1–31; December 1–15 | OPEN End gate OPEN Sluice gates 1-2, 1-3 / 18-1, 18-2 | Adult fallback; kelt passage | 2.4.2.9 (Mar) 2.4.1.6 (Dec) |
| April 1– November 30 | OPEN End gate OPEN Sluice gates 1-1, 1-2, 1-3 / 8-1, 8-3 / 18-2 | Juvenile passage | 2.3.2.6 |
| *December 16– end of February | CLOSE End gate OPEN Sluice gates 1-1 / 18-3 | No passage: allows egress when equalized w/ forebay | 2.3.1.4, 2.4.1.6.ii |

*Dec 16–end of Feb, discontinue ITS operation except during periods of spill when the ITS will be operated if available, per section 2.2.3.

Comments:

Record of Final Action: