## DEC22-FEB23
FPOM transmission outages DEC 22-FEB 23
Equipment Outage | Start | End | Impacted Generation | Notes
THE DALLES PH-BIG EDDY NO 6 230KV LINE | 12/12/2022 06:30 | 12/12/2022 07:00 | The Dalles 17-22
JOHN DAY: 4138/4139 TERMINAL OF JOHN DAY PH-JOHN DAY NO 1 500KV LINE | 12/05/2022 07:00 | 12/22/2022 17:00 | John Day 1-4
MCNARY: 230KV MAIN BUS SECTION 1 INCLUDING PCB'S A-404, A-408, A-412 AND A-414 | 12/14/2022 07:00 | 12/15/2022 16:00 | McNary 1-4
LOWER GRANITE: 4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE 1 500KV LINE | 12/7/2022 06:00 | 12/16/2022 18:00 | Lower Granite 1-6
THE DALLES PH: 230/13.2KV BANK 11 | 12/12/2022 06:30 | 12/28/2023 17:00 | The Dalles 21-22
Equipment Outage | Start | End | Impacted Generation | Notes
LITTLE GOOSE: 4349/4351 TERMINAL OF, LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE | 01/21/2023 08:00 | 01/28/2023 17:00 | Little Goose 1-6
LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE, INCLUDING LITTLE GOOSE PCBs 4348 & 4350 | 01/21/2023 09:00 | 01/28/2023 15:00 | Little Goose 1-6
BIG EDDY: PCB A-824 RELAYS | 01/31/2023 08:00 | 01/31/2023 16:30 | The Dalles 9-12
LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE, INCLUDING LOWER GRANITE PCB'S 4770 & 4772 | 01/09/2023 08:00 | 01/20/2023 16:00 | Lower Granite 1-6
THE DALLES PH-BIG EDDY NO 6 230KV LINE | 01/17/2023 06:30 | 01/17/2023 07:00 | Big Eddy 17-22
LOWER MONUMENTAL 500KV WEST BUS INCLUDING LOWER MONUMENTAL PH #1 500KV LINE STUB BUS AND MOD 4343 | 01/30/2023 08:30 | 02/03/2023 15:00 | Lower Monumental 1-6
Equipment Outage | Start | End | Impacted Generation | Notes
THE DALLES PH-BIG EDDY NO 6 230KV LINE | 02/06/2023 07:00 | 02/06/2023 07:30 | The Dalles 17-22
THE DALLES PH-BIG EDDY NO 6 230KV LINE | 02/16/2023 12:00 | 02/16/2023 12:30 | The Dalles 17-22
THE DALLES PH-BIG EDDY NO 6 230KV LINE | 02/16/2023 16:30 | 02/16/2023 17:00 | The Dalles 17-22
THE DALLES PH: 230/13.2KV BANK 9 | 02/06/2023 07:00 | 02/16/2023 17:00 | The Dalles 17-22