## Sheet1
FPOM January-February 2022 Transmission Outages That Have Potential to Limit Generation
January
Equipment Outage | Date(s) | Hours | Impacted Generation | Notes
BONNEVILLE PH 2-NORTH BONNEVILLE NO 4 230KV LINE | 1/31/2022 - 2/11/2022 | Continuous | BONNEVILLE Units 15- 18
FRANKLIN: PCB B-608 INCLUDING ICE HARBOR-FRANKLIN NO 3 115KV LINE | 1/18/22-2/4/22 | Continuous | Ice Harbor Units 5-6
MCNARY PH-MCNARY NO 6 115KV LINE | 1/3/2022-2/18/2022 | Continuous | McNary Units 13-14
JOHN DAY: 4156/4157 TERMINAL OF JOHN DAY PH-JOHN DAY NO 2 500KV LINE | 1/24/2022 - 1/27/2022 | Continuous | John Day Units 5-8
February
Equipment Outage | Date(s) | Hours | Impacted Generation | Notes
BONNEVILLE PH 2-NORTH BONNEVILLE NO 4 230KV LINE | 2/14/2022-03/11/2022 | Continuous | Bonneville Units 15-18
FRANKLIN: ICE HARBOR-FRANKLIN NO 1 115KV LINE INCLUDING 115KV AUX BUS AND PCB B-1528 | 2/07/2022-2/25/2022 | Continuous | Ice Harbor Units 1-2
FRANKLIN: PCB B-612 AND ICE HARBOR-FRANKLIN NO 2 115KV LINE AND FRANKLIN 115KV AUX BUS | 2/28/2022-3/11/2022 | Continuous | Ice Harbor Units 3-4
JOHN DAY PH-JOHN DAY NO 1 500KV LINE | 2/26/2022-2/28/2022 | Continuous | John Day Units 1-4
MCNARY: 115KV MAIN BUS SECTION 2 INCLUDING PCB B-990 | 2022-02-18 | 0700-1200 | McNary Units 13-14
MCNARY PH-MCNARY NO 6 115KV LINE INCLUDING MCNARY 115KV AUX BUS & PCB B-990 | 2022-02-18 | 1200-1600 | McNary Units 13-14
BIG EDDY: PCB A-842 OF THE DALLES PH-BIG EDDY NO 6 230KV LINE | 2022-02-17 | 1630-1700 | The Dalles Units 17-22
BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE | 2022-02-07 | 0630-0700 | The Dalles Units 9-12
HUNGRY HORSE PH: PCB 2382, PCB 2182 | 2/28/2022-6/24/2022 | Continuous | Hungry Horse Units 1-2
1/13/2022 sb