## FPOM Jun-Aug 2022
FPOM June- August Transmission Outages That Have Potential to Limit Generation
2022-06-01
ITOA ID | Equipment Outage | Date(s) | Hours | Impacted Generation | Notes
22-00256 | HUNGRY HORSE PH: PCB 2382, PCB 2182 | 2/28/22-6/24/22 | Continuous | Hungry Horse Units 1-2
22-07710 | BIG EDDY: 115KV MAIN BUS SECTIONS 1 AND 2 | 2022-06-21 | 0600-2200 | The Dalles Units 1-4
22-03909 | MCNARY: PCB A-420 OF MCNARY PH-MCNARY NO 3&4 230KV LINE | 2022-06-27 | 0630-0700 | Mcnary Units 5-8
22-06885 | BIG EDDY: PCB A-812 OF THE DALLES PH-BIG EDDY NO 3 230KV LINE | 2022-06-09 | 1630-1700 | The Dalles Units 5-8
2022-07-01
ITOA ID | Equipment Outage | Date(s) | Hours | Impacted Generation | Notes
22-04985 | BONNEVILLE PH 2-NORTH BONNEVILLE NO 3 230KV LINE | 7/18/22-8/5/22 | Continous | Bonneville Units 11-14
22-06406 | BONNEVILLE PH 2-NORTH BONNEVILLE NO 3 230KV LINE | 2022-07-18 | 0800-1500 | Bonneville Units 11-14
22-02192 | LOWER MONUMENTAL: 4318 TERMINAL OF LOWER MONUMENTAL PH-LOWER MONUMENTAL NO 1 500KV LINE | 7/25/22-8/5/22 | Continous | Lower Monumental Units 1-6
22-02236 | BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE | 2022-07-18 | 0630-0700 | The Dalles Units 9-12
22-02238 | BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE | 2022-07-28 | 1630-1700 | The Dalles Units 9-12
22-07893 | LIBBY: A-1590 TERMINAL OF THE LIBBY PH-LIBBY NO 1 230KV LINE | 7/26/22-7/27/22 | Continous | Libby Units 1-2
22-04983 | JOHN DAY: 4165/4166 TERMINAL OF JOHN DAY PH-JOHN DAY NO 3 500KV LINE | 7/25/22-7/28/22 | Continous | John Day Units 9-12
22-01167 | ICE HARBOR-FRANKLIN NO 1 115KV LINE | 7/18/22-7/24/22 | Continous | Ice Harbor Units 1-2
22-08682 | NORTH BONNEVILLE: PCB A-6 OF THE BONNEVILLE PH-NORTH BONNEVILLE #2 230KV LINE | 2022-07-11 | 0900-1300 | Bonneville Units 5-8
2022-08-01
ITOA ID | Equipment Outage | Date(s) | Hours | Impacted Generation | Notes
22-09616 | LITTLE GOOSE: 4349/4351 TERMINAL OF , LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE | 8/1/22-8/14/22 | Continous | Little Goose Units 1-6
22-03912 | MCNARY: PCB B-990 OF MCNARY PH-MCNARY NO 6 115KV LINE | 2022-08-15 | 0630-0700 | McNary Units 13-14
22-02186 | LIBBY: A-1587 TERMINAL OF THE LIBBY PH-LIBBY NO 2 230KV LINE | 8/22/22-9/9/22 | Continous | Libby Units 1-2
22-04702 | LOWER MONUMENTAL: 4318 TERMINAL OF LOWER MONUMENTAL PH-LOWER MONUMENTAL NO 1 500KV LINE | 2022-08-22 | 0700-0900 | Lower Monumental Units 1-6 | outage to isolate T2 for maintenance
22-00324 | THE DALLES PH-BIG EDDY NO 6 230KV LINE | 2022-08-23 | 1630-1700 | The Dalles Unites 17-22
22-02505 | MCNARY: PCB A-420 OF THE PH-MCNARY NO 3&4 230KV LINE , MCNARY PH-MCNARY NO 3&4 230KV LINE | 2022-08-29 | 0630-0700 | McNary Units 5-8
22-08685 | NORTH BONNEVILLE: A-11 TERMINAL OF THE BONNEVILLE PH-NORTH BONNEVILLE NO 4 230KV LINE | 8/29/22-9/15/22 | Continous | Bonneville Unites 15-18
22-01869 | LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE (UNGROUNDED) | 2022-08-08 | 0600-1800 | Lower Granite Units 1-6 | Doble testing
22-01865 | LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE (UNGROUNDED) | 2022-08-09 | 0600-1800 | Lower Granite Units 1-6 | Doble tesitng
22-01866 | LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE (UNGROUNDED) | 2022-08-10 | 0600-1800 | Lower Granite Units 1-6 | Doble testing
22-01867 | LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE (UNGROUNDED) | 2022-08-11 | 0600-1800 | Lower Granite Units 1-6 | Doble testing
22-01868 | LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE (UNGROUNDED) | 2022-08-12 | 0600-1800 | Lower Granite Units 1-6 | Doble testing
sb 6/10/22