## FPOM
FPOM Transmission Outages That Have Potential to Limit Generation March-May 2022
March
Equipment Outage | Date(s) | Hours | Impacted Generation | Notes
BONNEVILLE PH 2-NORTH BONNEVILLE NO 4 230KV LINE | 2/28/2022-03/18/2022 | Continuous | Bonneville Units 15-18
FRANKLIN: ICE HARBOR-FRANKLIN 2 115KV LINE RELAYS | 3/14/22-4/01/22 | Continous | Ice Harbor Units 3-4
FRANKLIN: PCB B-612 AND ICE HARBOR-FRANKLIN NO 2 115KV LINE AND FRANKLIN 115KV AUX BUS | 2/28/2022-3/11/2022 | Continuous | Ice Harbor Units 3-4
HUNGRY HORSE PH: PCB 2382, PCB 2182 | 2/28/2022-6/24/2022 | Continuous | Hungry Horse Units 1-2
April
Equipment Outage | Date(s) | Hours | Impacted Generation | Notes
FRANKLIN: 115KV EAST MAIN BUS INCLUDING PCB B-615, PCB B-618, PCB B-620, PCB B-622, PCB B-1524, PCB B-1526, PCB B-1528, PCB B-1541 AND PCB B-2112. | 4/4/22-4/15/22 | Continous | Ice Harbor Units 1-2
BIG EDDY: PCB A-812 OF THE DALLES PH-BIG EDDY NO 3 230KV LINE | 2022-04-11 | 0630-0700 | The Dalles Units 5-8
FRANKLIN: PCB B-608 INCLUDING ICE HARBOR-FRANKLIN NO 3 115KV LINE | 4/18/22-5/6/22 | Continous | Ice Harbor Units 5-6
BIG EDDY: PCB A-812 OF THE DALLES PH-BIG EDDY NO 3 230KV LINE | 2022-04-21 | 1630-1700 | The Dalles Units 5-8
May
Equipment Outage | Date(s) | Hours | Impacted Generation | Notes
NOXON-LIBBY NO 1 230KV LINE | 5/16/22 -5/19/22 | Continous | Libby 400 MW Max 65 MW Min Hungry Horse 240 MW Max 35 MW Min
sb3/9/22