# Fish Passage Plan (FPP) Change Form

Change Form # & Title:	22MCN004 – McNary Dam modified spill tables

Date Submitted:		January 27, 2022 / UPDATED February 15, 2022

Project:  			McNary Dam

Requester Name, Agency:	Chris Peery, Corps NWW

Final Action:

FPP Section:  Spill Pattern Tables MCN-7 (with TSWs) and MCN-9 (No TSWs).

Justification for Change: Excessive wear and tear from operating beyond the designed capabilities has increased risk of failure for critical flood emergency response equipment, cranes 6 and 7.  Even after extensive repairs, limiting the number of times the electrical relays for spillway cranes are operated is critical to ensure the cranes will be fully functional when needed for emergency flood situations along with spillway maintenance.  The hoist for spillbay 6 is out of operation until the gearbox can be repaired.

Proposed Change:  Set the spill gates in bays 2 and 19, at the locations of spillway cranes 6 and 7, to a static opening of gate step 4 or 6.  The cranes will not be operated remotely.  If changes are required, a crane operator will adjust the gates on a limited basis.  Spillbay 6 will be set to an opening of step 6 during spring spill and step during summer spill.

See modified spill pattern tables on the pages below.

Comments:

2/10/22 FPOM:

Peery noted that the patterns should also have Bay 6 at a set opening. Wright will update the change form with the correct patterns (UPDATED 15-FEB)

FPOM asked if juvenile egress will be affected during low flow/spill with bay 6 set at 6 stops? Peery responded via email on 15-FEB:

Project biologist and Ryan Laughery did not believe this will have a significant effect on egress conditions.  Any potential effects will also be dependent on flow.  The current spill table calls for bay 6 to be open starting at spill of 100 kcfs.  In an average flow year, spill on 10 April would be closer to 150-170 kcfs with the 125% spill cap.  Biologists will be tracking tailrace conditions during the spill season and changes will be considered if determine egress conditions appear poor.

FPOM reps need more time to discuss and refine.

PENDING – will be discussed at March FPOM

Record of Final Action:

Table MCN-7. McNary Dam Spill Patterns for Fish Passage with TSWs in Bays 19-20 and Bays 2 and 6 Locked at 4 or 6 Stops.

| MCN Spill Patterns with TSWs (# Gate Stops per Spillbay) and Bays 2 and 6 Locked at 4 or 6 Stops |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Total Stops | Spill a |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 b | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 c | 20 c | 21 | 22 b | (#) | (kcfs) |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | TSW | TSW | 1 |  | 1 | 21.2 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 1 | TSW | TSW | 1 |  | 2 | 23.2 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 1 | TSW | TSW | 1 | 1 | 3 | 25.2 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 1 | TSW | TSW | 2 | 1 | 4 | 27.1 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2 | TSW | TSW | 2 | 1 | 5 | 29.0 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 1 | 2 | TSW | TSW | 2 | 1 | 6 | 31.0 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2 | 2 | TSW | TSW | 2 | 1 | 7 | 32.9 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 1 |  | 2 | 2 | TSW | TSW | 2 | 1 | 8 | 34.9 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 1 |  | 2 | 2 | TSW | TSW | 2 | 2 | 9 | 36.8 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2 |  | 2 | 2 | TSW | TSW | 2 | 2 | 10 | 38.7 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2 | 1 | 2 | 2 | TSW | TSW | 2 | 2 | 11 | 40.7 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 12 | 42.6 |
|  |  |  |  |  |  |  |  |  |  |  |  | 1 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 13 | 44.6 |
|  |  |  |  |  |  |  |  |  |  |  |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 14 | 46.5 |
|  |  |  |  |  |  |  |  |  |  | 1 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 15 | 48.5 |
|  |  |  |  |  |  |  |  |  |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 16 | 50.4 |
|  |  |  |  |  |  |  |  | 1 |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 17 | 52.4 |
|  |  |  |  |  |  |  |  | 2 |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 18 | 54.3 |
|  |  | 1 |  |  |  |  |  | 2 |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 19 | 56.3 |
|  |  | 2 |  |  |  |  |  | 2 |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 20 | 58.2 |
|  |  | 2 |  | 1 |  |  |  | 2 |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 21 | 60.2 |
|  |  | 2 |  | 2 |  |  |  | 2 |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 22 | 62.1 |
|  |  | 2 |  | 2 |  | 1 |  | 2 |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 23 | 64.1 |
|  |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 24 | 66.0 |
| 1 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 25 | 68.0 |
|  | 4 |  |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 26 | 69.3 |
|  | 4 | 1 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 27 | 71.3 |
|  | 4 | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 28 | 73.2 |
| 1 | 4 | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 29 | 75.2 |
| 2 | 4 | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 30 | 77.1 |
| 2 | 4 | 2 | 1 | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 31 | 79.1 |
| 2 | 4 | 2 | 2 | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 32 | 81.0 |
| 2 | 4 | 2 | 2 | 2 |  | 2 | 1 | 2 |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 33 | 83.0 |
| 2 | 4 | 2 | 2 | 2 |  | 2 | 2 | 2 |  | 2 |  | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 34 | 84.9 |
| 2 | 4 | 2 | 2 | 2 |  | 2 | 2 | 2 |  | 2 | 1 | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 35 | 86.9 |
| 2 | 4 | 2 | 2 | 2 |  | 2 | 2 | 2 |  | 2 | 2 | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 36 | 88.8 |
| 2 | 4 | 2 | 2 | 2 |  | 2 | 2 | 2 | 1 | 2 | 2 | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 37 | 90.8 |
| 2 | 4 | 2 | 2 | 2 |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 38 | 92.7 |
| 2 | 4 | 2 | 2 | 2 |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 39 | 94.7 |
| 2 | 4 | 2 | 2 | 2 |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 40 | 96.6 |
| 2 | 4 | 2 | 2 | 3 |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 41 | 98.3 |
| 2 | 4 | 2 | 2 |  | 6 |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 42 | 99.2 |
| 2 | 4 | 2 | 2 |  | 6 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 43 | 101.2 |
| 2 | 4 | 2 | 2 |  | 6 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 44 | 103.1 |
| 2 | 4 | 2 | 2 | 1 | 6 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 45 | 105.1 |
| 2 | 4 | 2 | 2 | 2 | 6 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | TSW | TSW | 2 | 2 | 46 | 107.0 |
| 2 | 4 | 2 | 2 | 2 | 6 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | TSW | TSW | 3 | 2 | 47 | 108.7 |
| 2 | 4 | 2 | 2 | 2 | 6 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | TSW | TSW | 3 | 2 | 48 | 110.4 |
| 2 | 4 | 3 | 2 | 2 | 6 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | TSW | TSW | 3 | 2 | 49 | 112.1 |
| 2 | 4 | 3 | 2 | 2 | 6 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 2 | 3 | TSW | TSW | 3 | 2 | 50 | 113.8 |
| 2 | 4 | 3 | 2 | 3 | 6 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 2 | 3 | TSW | TSW | 3 | 2 | 51 | 115.5 |
| 2 | 4 | 3 | 2 | 3 | 6 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 2 | 3 | 2 | 3 | TSW | TSW | 3 | 2 | 52 | 117.2 |
| 2 | 4 | 3 | 2 | 3 | 6 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 2 | 3 | 2 | 3 | TSW | TSW | 3 | 2 | 53 | 118.9 |
| 2 | 4 | 3 | 2 | 3 | 6 | 3 | 2 | 2 | 2 | 2 | 3 | 2 | 3 | 2 | 3 | 2 | 3 | TSW | TSW | 3 | 2 | 54 | 120.6 |
| 2 | 4 | 3 | 2 | 3 | 6 | 3 | 2 | 3 | 2 | 2 | 3 | 2 | 3 | 2 | 3 | 2 | 3 | TSW | TSW | 3 | 2 | 55 | 122.3 |
| 2 | 4 | 3 | 2 | 3 | 6 | 3 | 2 | 3 | 3 | 2 | 3 | 2 | 3 | 2 | 3 | 2 | 3 | TSW | TSW | 3 | 2 | 56 | 124.0 |
| 2 | 4 | 3 | 2 | 3 | 6 | 3 | 2 | 3 | 3 | 2 | 3 | 2 | 3 | 2 | 3 | 2 | 3 | TSW | TSW | 3 | 3 | 57 | 125.7 |
| 3 | 4 | 3 | 2 | 3 | 6 | 3 | 2 | 3 | 3 | 2 | 3 | 2 | 3 | 2 | 3 | 2 | 3 | TSW | TSW | 3 | 3 | 58 | 127.4 |
| 3 | 4 | 3 | 2 | 3 | 6 | 3 | 2 | 3 | 3 | 2 | 3 | 2 | 3 | 2 | 3 | 3 | 3 | TSW | TSW | 3 | 3 | 59 | 129.1 |
| 3 | 4 | 3 | 3 | 3 | 6 | 3 | 2 | 3 | 3 | 2 | 3 | 2 | 3 | 2 | 3 | 3 | 3 | TSW | TSW | 3 | 3 | 60 | 130.8 |
| 3 | 4 | 3 | 3 | 3 | 6 | 3 | 2 | 3 | 3 | 2 | 3 | 2 | 3 | 3 | 3 | 3 | 3 | TSW | TSW | 3 | 3 | 61 | 132.5 |
| 3 | 4 | 3 | 3 | 3 | 6 | 3 | 3 | 3 | 3 | 2 | 3 | 2 | 3 | 3 | 3 | 3 | 3 | TSW | TSW | 3 | 3 | 62 | 134.2 |
| 3 | 4 | 3 | 3 | 3 | 6 | 3 | 3 | 3 | 3 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | TSW | TSW | 3 | 3 | 63 | 135.9 |
| 3 | 4 | 3 | 3 | 3 | 6 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | TSW | TSW | 3 | 3 | 64 | 137.6 |
| 3 | 4 | 3 | 3 | 3 | 6 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | TSW | TSW | 4 | 3 | 65 | 139.2 |
| 3 | 4 | 3 | 3 | 3 | 6 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | TSW | TSW | 4 | 3 | 66 | 140.8 |
| 3 | 4 | 4 | 3 | 3 | 6 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | TSW | TSW | 4 | 3 | 67 | 142.4 |
| 3 | 4 | 4 | 3 | 3 | 6 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 3 | 4 | TSW | TSW | 4 | 3 | 68 | 144.0 |
| 3 | 4 | 4 | 3 | 4 | 6 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 3 | 4 | TSW | TSW | 4 | 3 | 69 | 145.6 |
| 3 | 4 | 4 | 3 | 4 | 6 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 3 | 4 | 3 | 4 | TSW | TSW | 4 | 3 | 70 | 147.2 |
| 3 | 4 | 4 | 3 | 4 | 6 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 3 | 4 | 3 | 4 | TSW | TSW | 4 | 3 | 71 | 148.8 |
| 3 | 4 | 4 | 3 | 4 | 6 | 4 | 3 | 3 | 3 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | TSW | TSW | 4 | 3 | 72 | 150.4 |
| 3 | 4 | 4 | 3 | 4 | 6 | 4 | 3 | 4 | 3 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | TSW | TSW | 4 | 3 | 73 | 152.0 |
| 3 | 4 | 4 | 3 | 4 | 6 | 4 | 3 | 4 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | TSW | TSW | 4 | 3 | 74 | 153.6 |
| 3 | 4 | 4 | 3 | 4 | 6 | 4 | 3 | 4 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | TSW | TSW | 4 | 4 | 75 | 155.2 |
| 4 | 4 | 4 | 3 | 4 | 6 | 4 | 3 | 4 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | TSW | TSW | 4 | 4 | 76 | 156.8 |
| 4 | 4 | 4 | 3 | 4 | 6 | 4 | 3 | 4 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 4 | 4 | TSW | TSW | 4 | 4 | 77 | 158.4 |
| 4 | 4 | 4 | 4 | 4 | 6 | 4 | 3 | 4 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 4 | 4 | TSW | TSW | 4 | 4 | 78 | 160.0 |
| 4 | 4 | 4 | 4 | 4 | 6 | 4 | 3 | 4 | 4 | 3 | 4 | 3 | 4 | 4 | 4 | 4 | 4 | TSW | TSW | 4 | 4 | 79 | 161.6 |
| 4 | 4 | 4 | 4 | 4 | 6 | 4 | 4 | 4 | 4 | 3 | 4 | 3 | 4 | 4 | 4 | 4 | 4 | TSW | TSW | 4 | 4 | 80 | 163.2 |
| 4 | 4 | 4 | 4 | 4 | 6 | 4 | 4 | 4 | 4 | 3 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | TSW | TSW | 4 | 4 | 81 | 164.8 |
| 4 | 4 | 4 | 4 | 4 | 6 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | TSW | TSW | 4 | 4 | 82 | 166.4 |
| 4 | 4 | 4 | 4 | 4 | 6 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | TSW | TSW | 5 | 4 | 83 | 168.0 |
| 4 | 4 | 4 | 4 | 4 | 6 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | TSW | TSW | 5 | 4 | 84 | 169.6 |
| 4 | 4 | 5 | 4 | 4 | 6 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | TSW | TSW | 5 | 4 | 85 | 171.2 |
| 4 | 4 | 5 | 4 | 4 | 6 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 5 | TSW | TSW | 5 | 4 | 86 | 172.8 |
| 4 | 4 | 5 | 4 | 5 | 6 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 5 | TSW | TSW | 5 | 4 | 87 | 174.4 |
| 4 | 4 | 5 | 4 | 5 | 6 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 5 | 4 | 5 | TSW | TSW | 5 | 4 | 88 | 176.0 |
| 4 | 4 | 5 | 4 | 5 | 6 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 5 | 4 | 5 | TSW | TSW | 5 | 4 | 89 | 177.6 |
| 4 | 4 | 5 | 4 | 5 | 6 | 5 | 4 | 4 | 4 | 4 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | TSW | TSW | 5 | 4 | 90 | 179.2 |
| 4 | 4 | 5 | 4 | 5 | 6 | 5 | 4 | 5 | 4 | 4 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | TSW | TSW | 5 | 4 | 91 | 180.8 |
| 4 | 4 | 5 | 4 | 5 | 6 | 5 | 4 | 5 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | TSW | TSW | 5 | 4 | 92 | 182.4 |
| 4 | 4 | 5 | 4 | 5 | 6 | 5 | 4 | 5 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | TSW | TSW | 5 | 5 | 93 | 184.0 |
| 5 | 4 | 5 | 4 | 5 | 6 | 5 | 4 | 5 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | TSW | TSW | 5 | 5 | 94 | 185.6 |
| 5 | 4 | 5 | 4 | 5 | 6 | 5 | 4 | 5 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 5 | 5 | TSW | TSW | 5 | 5 | 95 | 187.2 |
| 5 | 4 | 5 | 5 | 5 | 6 | 5 | 4 | 5 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 5 | 5 | TSW | TSW | 5 | 5 | 96 | 188.8 |
| 5 | 4 | 5 | 5 | 5 | 6 | 5 | 4 | 5 | 5 | 4 | 5 | 4 | 5 | 5 | 5 | 5 | 5 | TSW | TSW | 5 | 5 | 97 | 190.4 |
| 5 | 4 | 5 | 5 | 5 | 6 | 5 | 5 | 5 | 5 | 4 | 5 | 4 | 5 | 5 | 5 | 5 | 5 | TSW | TSW | 5 | 5 | 98 | 192.0 |
| 5 | 4 | 5 | 5 | 5 | 6 | 5 | 5 | 5 | 5 | 4 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | TSW | TSW | 5 | 5 | 99 | 193.6 |
| 5 | 4 | 5 | 5 | 5 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | TSW | TSW | 5 | 5 | 100 | 195.2 |
| 5 | 4 | 5 | 5 | 5 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | TSW | TSW | 6 | 5 | 101 | 196.8 |
| 5 | 4 | 5 | 5 | 5 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | TSW | TSW | 6 | 5 | 102 | 198.4 |
| 5 | 4 | 6 | 5 | 5 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | TSW | TSW | 6 | 5 | 103 | 200.0 |
| 5 | 4 | 6 | 5 | 5 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 5 | 6 | TSW | TSW | 6 | 5 | 104 | 201.6 |
| 5 | 4 | 6 | 5 | 6 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 5 | 6 | TSW | TSW | 6 | 5 | 105 | 203.2 |
| 5 | 4 | 6 | 5 | 6 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 5 | 6 | 5 | 6 | TSW | TSW | 6 | 5 | 106 | 204.8 |
| 5 | 4 | 6 | 5 | 6 | 6 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 5 | 6 | 5 | 6 | TSW | TSW | 6 | 5 | 107 | 206.4 |
| 5 | 4 | 6 | 5 | 6 | 6 | 6 | 5 | 5 | 5 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | TSW | TSW | 6 | 5 | 108 | 208.0 |
| 5 | 4 | 6 | 5 | 6 | 6 | 6 | 5 | 6 | 5 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | TSW | TSW | 6 | 5 | 109 | 209.6 |
| 5 | 4 | 6 | 5 | 6 | 6 | 6 | 5 | 6 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | TSW | TSW | 6 | 5 | 110 | 211.2 |
| 5 | 4 | 6 | 5 | 6 | 6 | 6 | 5 | 6 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | TSW | TSW | 6 | 6 | 111 | 212.8 |
| 6 | 4 | 6 | 5 | 6 | 6 | 6 | 5 | 6 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | TSW | TSW | 6 | 6 | 112 | 214.4 |
| 6 | 4 | 6 | 5 | 6 | 6 | 6 | 5 | 6 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 6 | 6 | TSW | TSW | 6 | 6 | 113 | 216.0 |
| 6 | 4 | 6 | 6 | 6 | 6 | 6 | 5 | 6 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 6 | 6 | TSW | TSW | 6 | 6 | 114 | 217.6 |
| 6 | 4 | 6 | 6 | 6 | 6 | 6 | 5 | 6 | 6 | 5 | 6 | 5 | 6 | 6 | 6 | 6 | 6 | TSW | TSW | 6 | 6 | 115 | 219.2 |
| 6 | 4 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 5 | 6 | 5 | 6 | 6 | 6 | 6 | 6 | TSW | TSW | 6 | 6 | 116 | 220.8 |
| 6 | 4 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 5 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | TSW | TSW | 6 | 6 | 117 | 222.4 |
| 6 | 4 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | TSW | TSW | 6 | 6 | 118 | 224.0 |
| 6 | 4 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | TSW | TSW | 7 | 6 | 119 | 225.6 |
| 6 | 4 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 7 | TSW | TSW | 7 | 6 | 120 | 227.2 |
| 6 | 4 | 7 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 7 | TSW | TSW | 7 | 6 | 121 | 228.8 |
| 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 7 | TSW | TSW | 7 | 6 | 122 | 230.4 |
| 6 | 6 | 7 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 7 | TSW | TSW | 7 | 6 | 123 | 232.0 |
| 6 | 6 | 7 | 7 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 7 | 7 | TSW | TSW | 7 | 6 | 125 | 235.2 |
| 6 | 6 | 7 | 7 | 7 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 7 | 7 | 7 | TSW | TSW | 7 | 6 | 127 | 238.4 |
| 6 | 6 | 7 | 7 | 7 | 6 | 7 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 7 | 7 | 7 | 7 | TSW | TSW | 7 | 6 | 129 | 241.6 |
| 6 | 6 | 7 | 7 | 7 | 6 | 7 | 7 | 6 | 6 | 6 | 6 | 6 | 7 | 7 | 7 | 7 | 7 | TSW | TSW | 7 | 6 | 131 | 244.8 |
| 6 | 6 | 7 | 7 | 7 | 6 | 7 | 7 | 7 | 6 | 6 | 6 | 7 | 7 | 7 | 7 | 7 | 7 | TSW | TSW | 7 | 6 | 133 | 248.0 |
| 6 | 6 | 7 | 7 | 7 | 6 | 7 | 7 | 7 | 7 | 6 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | TSW | TSW | 7 | 6 | 135 | 251.2 |
| 7 | 6 | 7 | 7 | 7 | 6 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | TSW | TSW | 7 | 6 | 137 | 254.4 |
| 7 | 6 | 7 | 7 | 7 | 6 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 8 | TSW | TSW | 7 | 7 | 139 | 257.7 |
| 7 | 6 | 8 | 7 | 7 | 6 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 8 | TSW | TSW | 8 | 7 | 141 | 261.1 |
| 7 | 6 | 8 | 8 | 7 | 6 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 8 | 8 | TSW | TSW | 8 | 7 | 143 | 264.5 |
| 7 | 6 | 8 | 8 | 8 | 6 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 8 | 8 | 8 | TSW | TSW | 8 | 7 | 145 | 267.9 |
| 7 | 6 | 8 | 8 | 8 | 6 | 8 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 8 | 8 | 8 | 8 | TSW | TSW | 8 | 7 | 147 | 271.3 |
| 7 | 6 | 8 | 8 | 8 | 6 | 8 | 8 | 7 | 7 | 7 | 7 | 7 | 8 | 8 | 8 | 8 | 8 | TSW | TSW | 8 | 7 | 149 | 274.7 |
| 7 | 6 | 8 | 8 | 8 | 6 | 8 | 8 | 8 | 7 | 7 | 7 | 8 | 8 | 8 | 8 | 8 | 8 | TSW | TSW | 8 | 7 | 151 | 278.1 |
| 7 | 6 | 8 | 8 | 8 | 6 | 8 | 8 | 8 | 8 | 7 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | TSW | TSW | 8 | 7 | 153 | 281.5 |
| 8 | 6 | 8 | 8 | 8 | 6 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | TSW | TSW | 8 | 7 | 155 | 284.9 |
| 8 | 6 | 8 | 8 | 8 | 6 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 9 | TSW | TSW | 8 | 8 | 157 | 288.2 |
| 8 | 6 | 9 | 8 | 8 | 6 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 9 | TSW | TSW | 9 | 8 | 159 | 291.4 |
| 8 | 6 | 9 | 9 | 8 | 6 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 9 | 9 | TSW | TSW | 9 | 8 | 161 | 294.6 |
| 8 | 6 | 9 | 9 | 9 | 6 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 9 | 9 | 9 | TSW | TSW | 9 | 8 | 163 | 297.8 |
| 8 | 6 | 9 | 9 | 9 | 6 | 9 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 9 | 9 | 9 | 9 | TSW | TSW | 9 | 8 | 165 | 301.0 |
| 8 | 6 | 9 | 9 | 9 | 6 | 9 | 9 | 8 | 8 | 8 | 8 | 8 | 9 | 9 | 9 | 9 | 9 | TSW | TSW | 9 | 8 | 167 | 304.2 |
| 8 | 6 | 9 | 9 | 9 | 6 | 9 | 9 | 9 | 8 | 8 | 8 | 9 | 9 | 9 | 9 | 9 | 9 | TSW | TSW | 9 | 8 | 169 | 307.4 |
| 8 | 6 | 9 | 9 | 9 | 6 | 9 | 9 | 9 | 9 | 8 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | TSW | TSW | 9 | 8 | 171 | 310.6 |
| 9 | 6 | 9 | 9 | 9 | 6 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | TSW | TSW | 9 | 8 | 173 | 313.8 |
| 9 | 6 | 9 | 9 | 9 | 6 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 10 | TSW | TSW | 9 | 9 | 175 | 317.0 |
| 9 | 6 | 10 | 9 | 9 | 6 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 10 | TSW | TSW | 10 | 9 | 177 | 320.2 |
| 9 | 6 | 10 | 10 | 9 | 6 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 10 | 10 | TSW | TSW | 10 | 9 | 179 | 323.4 |
| 9 | 6 | 10 | 10 | 10 | 6 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 10 | 10 | 10 | TSW | TSW | 10 | 9 | 181 | 326.6 |
| 9 | 6 | 10 | 10 | 10 | 6 | 10 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 10 | 10 | 10 | 10 | TSW | TSW | 10 | 9 | 183 | 329.8 |
| 9 | 6 | 10 | 10 | 10 | 6 | 10 | 10 | 9 | 9 | 9 | 9 | 9 | 10 | 10 | 10 | 10 | 10 | TSW | TSW | 10 | 9 | 185 | 333.0 |
| 9 | 6 | 10 | 10 | 10 | 6 | 10 | 10 | 10 | 9 | 9 | 9 | 10 | 10 | 10 | 10 | 10 | 10 | TSW | TSW | 10 | 9 | 187 | 336.2 |
| 9 | 6 | 10 | 10 | 10 | 6 | 10 | 10 | 10 | 10 | 9 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | TSW | TSW | 10 | 9 | 189 | 339.4 |
| 10 | 6 | 10 | 10 | 10 | 6 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | TSW | TSW | 10 | 9 | 191 | 342.6 |
| 10 | 6 | 10 | 10 | 10 | 6 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 11 | TSW | TSW | 10 | 10 | 193 | 345.7 |
| 10 | 6 | 11 | 10 | 10 | 6 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 11 | TSW | TSW | 11 | 10 | 195 | 348.7 |
| 10 | 6 | 11 | 11 | 10 | 6 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 11 | 11 | TSW | TSW | 11 | 10 | 197 | 351.7 |
| 10 | 6 | 11 | 11 | 11 | 6 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 11 | 11 | 11 | TSW | TSW | 11 | 10 | 199 | 354.7 |
| 10 | 6 | 11 | 11 | 11 | 6 | 11 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 11 | 11 | 11 | 11 | TSW | TSW | 11 | 10 | 201 | 357.7 |
| 10 | 6 | 11 | 11 | 11 | 6 | 11 | 11 | 10 | 10 | 10 | 10 | 10 | 11 | 11 | 11 | 11 | 11 | TSW | TSW | 11 | 10 | 203 | 360.7 |
| 10 | 6 | 11 | 11 | 11 | 6 | 11 | 11 | 11 | 10 | 10 | 10 | 11 | 11 | 11 | 11 | 11 | 11 | TSW | TSW | 11 | 10 | 205 | 363.7 |
| 10 | 6 | 11 | 11 | 11 | 6 | 11 | 11 | 11 | 11 | 10 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | TSW | TSW | 11 | 10 | 207 | 366.7 |
| 11 | 6 | 11 | 11 | 11 | 6 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | TSW | TSW | 11 | 10 | 209 | 369.7 |
| 11 | 6 | 11 | 11 | 11 | 6 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 12 | TSW | TSW | 11 | 11 | 211 | 372.8 |
| 11 | 6 | 12 | 11 | 11 | 6 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 12 | TSW | TSW | 12 | 11 | 213 | 376.0 |
| 11 | 6 | 12 | 12 | 11 | 6 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 12 | 12 | TSW | TSW | 12 | 11 | 215 | 379.2 |
| 11 | 6 | 12 | 12 | 12 | 6 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 12 | 12 | 12 | TSW | TSW | 12 | 11 | 217 | 382.4 |
| 11 | 6 | 12 | 12 | 12 | 6 | 12 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 12 | 12 | 12 | 12 | TSW | TSW | 12 | 11 | 219 | 385.6 |
| 11 | 6 | 12 | 12 | 12 | 6 | 12 | 12 | 11 | 11 | 11 | 11 | 11 | 12 | 12 | 12 | 12 | 12 | TSW | TSW | 12 | 11 | 221 | 388.8 |
| 11 | 6 | 12 | 12 | 12 | 6 | 12 | 12 | 12 | 11 | 11 | 11 | 12 | 12 | 12 | 12 | 12 | 12 | TSW | TSW | 12 | 11 | 223 | 392.0 |
| 11 | 6 | 12 | 12 | 12 | 6 | 12 | 12 | 12 | 12 | 11 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | TSW | TSW | 12 | 11 | 225 | 395.2 |
| 12 | 6 | 12 | 12 | 12 | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | TSW | TSW | 12 | 11 | 227 | 398.4 |
| 12 | 6 | 12 | 12 | 12 | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 13 | TSW | TSW | 12 | 12 | 229 | 401.6 |
| 12 | 6 | 13 | 12 | 12 | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 13 | TSW | TSW | 13 | 12 | 231 | 404.8 |
| 12 | 6 | 13 | 13 | 12 | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 13 | 13 | TSW | TSW | 13 | 12 | 233 | 408.0 |
| 12 | 6 | 13 | 13 | 13 | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 13 | 13 | 13 | TSW | TSW | 13 | 12 | 235 | 411.2 |
| 12 | 6 | 13 | 13 | 13 | 6 | 13 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 13 | 13 | 13 | 13 | TSW | TSW | 13 | 12 | 237 | 414.4 |

Table MCN-9. McNary Dam Spill Patterns with No TSWs and Bays 2 and 19 Locked at 4 Stops, and Bay 6 Locked at 2 Stops.

| MCN Spill Patterns with NO TSWs (# Gate Stops per Spillbay) and Bays 2, 6, 19 Locked at 2 or 4Stops |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Total Stops | Spill a |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 b | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 b | (#) | (kcfs) |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 4 |  |  |  | 4 | 7.2 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 1 | 4 |  |  |  | 5 | 9.2 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2 | 4 |  |  |  | 6 | 11.1 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2 | 4 | 1 |  |  | 7 | 13.1 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2 | 4 | 2 |  |  | 8 | 15.0 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 1 |  |  | 2 | 4 | 2 |  |  | 9 | 17.0 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2 |  |  | 2 | 4 | 2 |  |  | 10 | 18.9 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 1 | 2 |  |  | 2 | 4 | 2 |  |  | 11 | 20.9 |
|  |  |  |  |  |  |  |  |  |  |  |  |  | 2 | 2 |  |  | 2 | 4 | 2 |  |  | 12 | 22.8 |
|  |  |  |  |  |  |  |  |  |  |  | 1 |  | 2 | 2 |  |  | 2 | 4 | 2 |  |  | 13 | 24.8 |
|  |  |  |  |  |  |  |  |  |  |  | 2 |  | 2 | 2 |  |  | 2 | 4 | 2 |  |  | 14 | 26.7 |
|  |  |  |  |  |  |  |  |  | 1 |  | 2 |  | 2 | 2 |  |  | 2 | 4 | 2 |  |  | 15 | 28.7 |
|  |  |  |  |  |  |  |  |  | 2 |  | 2 |  | 2 | 2 |  |  | 2 | 4 | 2 |  |  | 16 | 30.6 |
|  |  |  |  |  |  |  | 1 |  | 2 |  | 2 |  | 2 | 2 |  |  | 2 | 4 | 2 |  |  | 17 | 32.6 |
|  |  |  |  |  |  |  | 2 |  | 2 |  | 2 |  | 2 | 2 |  |  | 2 | 4 | 2 |  |  | 18 | 34.5 |
|  |  |  |  |  | 2 |  | 1 |  | 2 |  | 2 |  | 2 | 2 |  |  | 2 | 4 | 2 |  |  | 19 | 36.5 |
|  |  |  |  |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 |  |  | 2 | 4 | 2 |  |  | 20 | 38.4 |
|  |  | 1 |  |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 |  |  | 2 | 4 | 2 |  |  | 21 | 40.4 |
|  |  | 2 |  |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 |  |  | 2 | 4 | 2 |  |  | 22 | 42.3 |
|  |  | 3 |  |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 |  |  | 2 | 4 | 2 |  |  | 23 | 44.0 |
| 1 |  | 3 |  |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 |  |  | 2 | 4 | 2 |  |  | 24 | 46.0 |
| 2 |  | 3 |  |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 |  |  | 2 | 4 | 2 |  |  | 25 | 47.9 |
| 3 |  | 3 |  |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 |  |  | 2 | 4 | 2 |  |  | 26 | 49.6 |
| 3 |  | 3 |  |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 |  | 1 | 2 | 4 | 2 |  |  | 27 | 51.6 |
| 3 |  | 3 |  |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 |  | 2 | 2 | 4 | 2 |  |  | 28 | 53.5 |
| 3 |  | 3 |  |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 |  | 2 | 3 | 4 | 2 |  |  | 29 | 55.2 |
| 3 |  | 3 |  |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 |  | 2 | 4 | 4 | 2 |  |  | 30 | 56.8 |
| 3 |  | 3 | 1 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 |  | 2 | 4 | 4 | 2 |  |  | 31 | 58.8 |
| 3 |  | 3 | 2 |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 |  | 2 | 4 | 4 | 2 |  |  | 32 | 60.7 |
| 3 |  | 3 | 2 | 1 | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 |  | 2 | 4 | 4 | 2 |  |  | 33 | 62.7 |
| 3 |  | 3 | 2 | 2 | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 |  | 2 | 4 | 4 | 2 |  |  | 34 | 64.6 |
| 3 |  | 3 | 2 | 2 | 2 | 1 | 2 |  | 2 |  | 2 |  | 2 | 2 |  | 2 | 4 | 4 | 2 |  |  | 35 | 66.6 |
| 3 |  | 3 | 2 | 2 | 2 | 2 | 2 |  | 2 |  | 2 |  | 2 | 2 |  | 2 | 4 | 4 | 2 |  |  | 36 | 68.5 |
| 3 |  | 3 | 2 | 2 | 2 | 2 | 2 | 1 | 2 |  | 2 |  | 2 | 2 |  | 2 | 4 | 4 | 2 |  |  | 37 | 70.5 |
| 3 |  | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  | 2 | 0 | 2 | 2 |  | 2 | 4 | 4 | 2 |  |  | 38 | 72.4 |
| 3 |  | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  | 2 | 1 | 2 | 2 |  | 2 | 4 | 4 | 2 |  |  | 39 | 74.4 |
| 3 |  | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  | 2 | 2 | 2 | 2 | 0 | 2 | 4 | 4 | 2 |  |  | 40 | 76.3 |
| 3 |  | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  | 2 | 2 | 2 | 2 | 1 | 2 | 4 | 4 | 2 |  |  | 41 | 78.3 |
| 3 |  | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 4 | 2 |  |  | 42 | 80.2 |
| 3 |  | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 4 | 2 |  |  | 43 | 82.2 |
| 3 |  | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 4 | 2 |  |  | 44 | 84.1 |
| 3 |  | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 4 | 2 |  |  | 45 | 85.7 |
| 3 |  | 5 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 4 | 2 |  |  | 46 | 87.3 |
| 3 |  | 5 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 4 | 2 |  |  | 47 | 89.0 |
| 3 |  | 5 | 3 | 2 | 2 | 2 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 4 | 2 |  |  | 48 | 90.7 |
| 3 |  | 5 | 3 | 2 | 2 | 2 | 3 | 2 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 4 | 2 |  |  | 49 | 92.4 |
| 3 |  | 5 | 3 | 2 | 2 | 2 | 3 | 2 | 3 | 2 | 3 | 2 | 2 | 2 | 2 | 2 | 4 | 4 | 2 |  |  | 50 | 94.1 |
| 3 |  | 5 | 3 | 2 | 2 | 2 | 3 | 2 | 3 | 2 | 3 | 2 | 2 | 3 | 2 | 2 | 4 | 4 | 2 |  |  | 51 | 95.8 |
| 3 |  | 5 | 3 | 2 | 2 | 2 | 3 | 2 | 3 | 2 | 3 | 2 | 2 | 3 | 2 | 3 | 4 | 4 | 2 |  |  | 52 | 97.5 |
| 3 |  | 5 | 3 | 2 | 2 | 2 | 3 | 2 | 3 | 2 | 3 | 2 | 2 | 3 | 2 | 3 | 4 | 4 | 2 | 1 |  | 53 | 99.5 |
| 3 |  | 5 | 3 | 3 | 2 | 2 | 3 | 2 | 3 | 2 | 3 | 2 | 2 | 3 | 2 | 3 | 4 | 4 | 2 | 1 |  | 54 | 101.2 |
| 3 |  | 5 | 3 | 3 | 2 | 2 | 3 | 2 | 3 | 2 | 3 | 2 | 2 | 3 | 2 | 3 | 4 | 4 | 2 | 2 |  | 55 | 103.1 |
| 3 | 4 | 5 | 3 | 3 | 2 | 2 | 3 | 2 | 3 | 2 | 3 | 2 | 2 | 3 | 2 | 2 | 4 | 4 | 2 |  |  | 56 | 104.7 |
| 3 | 4 | 5 | 3 | 3 | 2 | 2 | 3 | 2 | 3 | 2 | 3 | 2 | 2 | 3 | 2 | 3 | 4 | 4 | 2 |  |  | 57 | 106.4 |
| 3 | 4 | 5 | 3 | 3 | 2 | 2 | 3 | 2 | 3 | 2 | 3 | 2 | 2 | 3 | 2 | 3 | 4 | 4 | 2 | 1 |  | 58 | 108.4 |
| 3 | 4 | 5 | 3 | 3 | 2 | 2 | 3 | 2 | 3 | 2 | 3 | 2 | 2 | 3 | 2 | 3 | 4 | 4 | 2 | 2 |  | 59 | 110.3 |
| 3 | 4 | 5 | 3 | 3 | 2 | 3 | 3 | 2 | 3 | 2 | 3 | 2 | 2 | 3 | 2 | 3 | 4 | 4 | 2 | 2 |  | 60 | 112.0 |
| 3 | 4 | 5 | 3 | 3 | 2 | 3 | 3 | 2 | 3 | 2 | 3 | 2 | 2 | 3 | 2 | 3 | 4 | 4 | 2 | 2 | 1 | 61 | 114.0 |
| 3 | 4 | 5 | 3 | 3 | 2 | 3 | 3 | 2 | 3 | 2 | 3 | 2 | 2 | 3 | 2 | 3 | 4 | 4 | 2 | 2 | 2 | 62 | 115.9 |
| 3 | 4 | 5 | 3 | 3 | 2 | 3 | 3 | 2 | 3 | 2 | 3 | 2 | 2 | 3 | 2 | 3 | 4 | 4 | 2 | 3 | 2 | 63 | 117.6 |
| 4 | 4 | 5 | 3 | 3 | 2 | 3 | 3 | 2 | 3 | 2 | 3 | 2 | 2 | 3 | 2 | 3 | 4 | 4 | 2 | 3 | 2 | 64 | 119.2 |
| 4 | 4 | 5 | 3 | 3 | 2 | 3 | 3 | 3 | 3 | 2 | 3 | 2 | 2 | 3 | 2 | 3 | 4 | 4 | 2 | 3 | 2 | 65 | 120.9 |
| 4 | 4 | 5 | 3 | 3 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 2 | 2 | 3 | 2 | 3 | 4 | 4 | 2 | 3 | 2 | 66 | 122.6 |
| 4 | 4 | 5 | 3 | 3 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 2 | 3 | 2 | 3 | 4 | 4 | 2 | 3 | 2 | 67 | 124.3 |
| 4 | 4 | 5 | 3 | 3 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 2 | 3 | 4 | 4 | 2 | 3 | 2 | 68 | 126.0 |
| 4 | 4 | 5 | 3 | 3 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 2 | 3 | 2 | 69 | 127.7 |
| 4 | 4 | 5 | 3 | 3 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 3 | 3 | 2 | 70 | 129.4 |
| 4 | 4 | 5 | 3 | 3 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 3 | 3 | 3 | 71 | 131.1 |
| 4 | 4 | 5 | 3 | 3 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 3 | 3 | 72 | 132.7 |
| 4 | 4 | 5 | 3 | 4 | 2 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 3 | 3 | 73 | 134.3 |
| 4 | 4 | 5 | 3 | 4 | 2 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 3 | 3 | 74 | 135.9 |
| 4 | 4 | 5 | 3 | 4 | 2 | 4 | 3 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 3 | 3 | 75 | 137.5 |
| 4 | 4 | 5 | 3 | 4 | 2 | 4 | 3 | 4 | 3 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 3 | 3 | 76 | 139.1 |
| 4 | 4 | 5 | 3 | 4 | 2 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 3 | 3 | 77 | 140.7 |
| 4 | 4 | 5 | 3 | 4 | 2 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 3 | 4 | 4 | 4 | 3 | 3 | 78 | 142.3 |
| 4 | 4 | 5 | 3 | 4 | 2 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 4 | 4 | 4 | 3 | 3 | 79 | 143.9 |
| 4 | 4 | 5 | 3 | 4 | 2 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 4 | 4 | 5 | 3 | 3 | 80 | 145.5 |
| 4 | 4 | 5 | 3 | 4 | 2 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 4 | 4 | 5 | 3 | 4 | 81 | 147.1 |
| 4 | 4 | 5 | 3 | 4 | 2 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 4 | 4 | 5 | 4 | 4 | 82 | 148.7 |
| 4 | 4 | 5 | 3 | 4 | 2 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 4 | 83 | 150.3 |
| 4 | 4 | 5 | 3 | 4 | 2 | 4 | 3 | 4 | 3 | 4 | 3 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 4 | 84 | 151.9 |
| 4 | 4 | 5 | 3 | 4 | 2 | 4 | 3 | 4 | 3 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 4 | 85 | 153.5 |
| 4 | 4 | 5 | 3 | 4 | 2 | 4 | 3 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 4 | 86 | 155.1 |
| 4 | 4 | 5 | 3 | 4 | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 4 | 87 | 156.7 |
| 4 | 4 | 5 | 4 | 4 | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 4 | 88 | 158.3 |
| 5 | 4 | 5 | 4 | 4 | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 4 | 89 | 159.9 |
| 5 | 4 | 6 | 4 | 4 | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 4 | 90 | 161.5 |
| 5 | 4 | 6 | 4 | 4 | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 5 | 4 | 4 | 91 | 163.1 |
| 5 | 4 | 6 | 4 | 5 | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 5 | 4 | 4 | 92 | 164.7 |
| 5 | 4 | 6 | 4 | 5 | 2 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 5 | 4 | 4 | 93 | 166.3 |
| 5 | 4 | 6 | 4 | 5 | 2 | 5 | 4 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 5 | 4 | 4 | 94 | 167.9 |
| 5 | 4 | 6 | 4 | 5 | 2 | 5 | 4 | 5 | 4 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 5 | 4 | 4 | 95 | 169.5 |
| 5 | 4 | 6 | 4 | 5 | 2 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 4 | 4 | 4 | 4 | 5 | 4 | 5 | 4 | 4 | 96 | 171.1 |
| 5 | 4 | 6 | 4 | 5 | 2 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 4 | 4 | 5 | 4 | 5 | 4 | 4 | 97 | 172.7 |
| 5 | 4 | 6 | 4 | 5 | 2 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 5 | 4 | 5 | 4 | 4 | 98 | 174.3 |
| 5 | 4 | 6 | 4 | 5 | 2 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 5 | 4 | 6 | 4 | 4 | 99 | 175.9 |
| 5 | 4 | 6 | 4 | 5 | 2 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 5 | 4 | 6 | 4 | 5 | 100 | 177.5 |
| 5 | 4 | 6 | 4 | 5 | 2 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 5 | 4 | 6 | 5 | 5 | 101 | 179.1 |
| 5 | 4 | 6 | 4 | 5 | 2 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 5 | 5 | 5 | 4 | 6 | 5 | 5 | 102 | 180.7 |
| 5 | 4 | 6 | 4 | 5 | 2 | 5 | 4 | 5 | 4 | 5 | 4 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 6 | 5 | 5 | 103 | 182.3 |
| 5 | 4 | 6 | 4 | 5 | 2 | 5 | 4 | 5 | 4 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 6 | 5 | 5 | 104 | 183.9 |
| 5 | 4 | 6 | 4 | 5 | 2 | 5 | 4 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 6 | 5 | 5 | 105 | 185.5 |
| 5 | 4 | 6 | 4 | 5 | 2 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 6 | 5 | 5 | 106 | 187.1 |
| 5 | 4 | 6 | 5 | 5 | 2 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 6 | 5 | 5 | 107 | 188.7 |
| 6 | 4 | 6 | 5 | 5 | 2 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 6 | 5 | 5 | 108 | 190.3 |
| 6 | 4 | 7 | 5 | 5 | 2 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 6 | 5 | 5 | 109 | 191.9 |
| 6 | 4 | 7 | 5 | 5 | 2 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 6 | 5 | 5 | 109 | 191.9 |
| 6 | 4 | 7 | 5 | 6 | 2 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 6 | 5 | 5 | 110 | 193.5 |
| 6 | 4 | 7 | 5 | 6 | 2 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 6 | 5 | 5 | 111 | 195.1 |
| 6 | 4 | 7 | 5 | 6 | 2 | 6 | 5 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 6 | 5 | 5 | 112 | 196.7 |
| 6 | 4 | 7 | 5 | 6 | 2 | 6 | 5 | 6 | 5 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 4 | 6 | 5 | 5 | 113 | 198.3 |
| 6 | 4 | 7 | 5 | 6 | 2 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 5 | 5 | 5 | 5 | 4 | 6 | 5 | 5 | 114 | 199.9 |
| 6 | 4 | 7 | 5 | 6 | 2 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 5 | 5 | 4 | 6 | 5 | 5 | 115 | 201.5 |
| 6 | 4 | 7 | 5 | 6 | 2 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 4 | 6 | 5 | 5 | 116 | 203.1 |
| 6 | 4 | 7 | 5 | 6 | 2 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 4 | 7 | 5 | 5 | 117 | 204.7 |
| 6 | 4 | 7 | 5 | 6 | 2 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 4 | 7 | 5 | 6 | 118 | 206.3 |
| 6 | 4 | 7 | 5 | 6 | 2 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 4 | 7 | 6 | 6 | 119 | 207.9 |
| 6 | 4 | 7 | 5 | 6 | 2 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 6 | 6 | 5 | 4 | 7 | 6 | 6 | 120 | 209.5 |
| 6 | 4 | 7 | 5 | 6 | 2 | 6 | 5 | 6 | 5 | 6 | 5 | 6 | 6 | 6 | 6 | 6 | 5 | 4 | 7 | 6 | 6 | 121 | 211.1 |
| 6 | 4 | 7 | 5 | 6 | 2 | 6 | 5 | 6 | 5 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 5 | 4 | 7 | 6 | 6 | 122 | 212.7 |
| 6 | 4 | 7 | 5 | 6 | 2 | 6 | 5 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 5 | 4 | 7 | 6 | 6 | 123 | 214.3 |
| 6 | 4 | 7 | 5 | 6 | 2 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 5 | 4 | 7 | 6 | 6 | 124 | 215.9 |
| 6 | 4 | 7 | 6 | 6 | 2 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 5 | 4 | 7 | 6 | 6 | 125 | 217.5 |
| 7 | 4 | 7 | 6 | 6 | 2 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 5 | 4 | 7 | 6 | 6 | 126 | 219.1 |
| 7 | 4 | 8 | 6 | 6 | 2 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 5 | 4 | 7 | 6 | 6 | 127 | 220.8 |
| 7 | 4 | 8 | 6 | 6 | 2 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 5 | 4 | 7 | 6 | 6 | 127 | 220.8 |
| 7 | 4 | 8 | 6 | 7 | 2 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 5 | 4 | 7 | 6 | 6 | 128 | 222.4 |
| 7 | 4 | 8 | 6 | 7 | 2 | 7 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 5 | 4 | 7 | 6 | 6 | 129 | 224.0 |
| 7 | 4 | 8 | 6 | 7 | 2 | 7 | 6 | 7 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 5 | 4 | 7 | 6 | 6 | 130 | 225.6 |
| 7 | 4 | 8 | 6 | 7 | 2 | 7 | 6 | 7 | 6 | 7 | 6 | 6 | 6 | 6 | 6 | 6 | 5 | 4 | 7 | 6 | 6 | 131 | 227.2 |
| 7 | 4 | 8 | 6 | 7 | 2 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 6 | 6 | 6 | 6 | 5 | 4 | 7 | 6 | 6 | 132 | 228.8 |
| 7 | 4 | 8 | 6 | 7 | 2 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 6 | 6 | 5 | 4 | 7 | 6 | 6 | 133 | 230.4 |
| 7 | 4 | 8 | 6 | 7 | 2 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 5 | 4 | 7 | 6 | 6 | 134 | 232.0 |
| 7 | 4 | 8 | 6 | 7 | 2 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 5 | 4 | 8 | 6 | 6 | 135 | 233.7 |
| 7 | 4 | 8 | 6 | 7 | 2 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 5 | 4 | 8 | 6 | 7 | 136 | 235.3 |
| 7 | 4 | 8 | 6 | 7 | 2 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 5 | 4 | 8 | 7 | 7 | 137 | 236.9 |
| 7 | 4 | 8 | 6 | 7 | 2 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 7 | 7 | 5 | 4 | 8 | 7 | 7 | 138 | 238.5 |
| 7 | 4 | 8 | 6 | 7 | 2 | 7 | 6 | 7 | 6 | 7 | 6 | 7 | 7 | 7 | 7 | 7 | 5 | 4 | 8 | 7 | 7 | 139 | 240.1 |
| 7 | 4 | 8 | 6 | 7 | 2 | 7 | 6 | 7 | 6 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 5 | 4 | 8 | 7 | 7 | 140 | 241.7 |
| 7 | 4 | 8 | 6 | 7 | 2 | 7 | 6 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 5 | 4 | 8 | 7 | 7 | 141 | 243.3 |
| 7 | 4 | 8 | 6 | 7 | 2 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 5 | 4 | 8 | 7 | 7 | 142 | 244.9 |
| 7 | 4 | 8 | 7 | 7 | 2 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 5 | 4 | 8 | 7 | 7 | 143 | 246.5 |
| 8 | 4 | 8 | 7 | 7 | 2 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 5 | 4 | 8 | 7 | 7 | 144 | 248.2 |
| 8 | 4 | 9 | 7 | 7 | 2 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 5 | 4 | 8 | 7 | 7 | 145 | 249.8 |
| 8 | 4 | 9 | 7 | 7 | 2 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 5 | 4 | 8 | 7 | 7 | 145 | 249.8 |
| 8 | 4 | 9 | 7 | 8 | 2 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 5 | 4 | 8 | 7 | 7 | 146 | 251.5 |
| 8 | 4 | 9 | 7 | 8 | 2 | 8 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 5 | 4 | 8 | 7 | 7 | 147 | 253.2 |
| 8 | 4 | 9 | 7 | 8 | 2 | 8 | 7 | 8 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 | 5 | 4 | 8 | 7 | 7 | 148 | 254.9 |
| 8 | 4 | 9 | 7 | 8 | 2 | 8 | 7 | 8 | 7 | 8 | 7 | 7 | 7 | 7 | 7 | 7 | 5 | 4 | 8 | 7 | 7 | 149 | 256.6 |
| 8 | 4 | 9 | 7 | 8 | 2 | 8 | 7 | 8 | 7 | 8 | 7 | 8 | 7 | 7 | 7 | 7 | 5 | 4 | 8 | 7 | 7 | 150 | 258.3 |
| 8 | 4 | 9 | 7 | 8 | 2 | 8 | 7 | 8 | 7 | 8 | 7 | 8 | 7 | 8 | 7 | 7 | 5 | 4 | 8 | 7 | 7 | 151 | 260.0 |
| 8 | 4 | 9 | 7 | 8 | 2 | 8 | 7 | 8 | 7 | 8 | 7 | 8 | 7 | 8 | 7 | 8 | 5 | 4 | 8 | 7 | 7 | 152 | 261.7 |
| 8 | 4 | 9 | 7 | 8 | 2 | 8 | 7 | 8 | 7 | 8 | 7 | 8 | 7 | 8 | 7 | 8 | 5 | 4 | 9 | 7 | 7 | 153 | 263.3 |
| 8 | 4 | 9 | 7 | 8 | 2 | 8 | 7 | 8 | 7 | 8 | 7 | 8 | 7 | 8 | 7 | 8 | 5 | 4 | 9 | 7 | 8 | 154 | 265.0 |
| 8 | 4 | 9 | 7 | 8 | 2 | 8 | 7 | 8 | 7 | 8 | 7 | 8 | 7 | 8 | 7 | 8 | 5 | 4 | 9 | 8 | 8 | 155 | 266.7 |
| 8 | 4 | 9 | 7 | 8 | 2 | 8 | 7 | 8 | 7 | 8 | 7 | 8 | 7 | 8 | 8 | 8 | 5 | 4 | 9 | 8 | 8 | 156 | 268.4 |
| 8 | 4 | 9 | 7 | 8 | 2 | 8 | 7 | 8 | 7 | 8 | 7 | 8 | 8 | 8 | 8 | 8 | 5 | 4 | 9 | 8 | 8 | 157 | 270.1 |
| 8 | 4 | 9 | 7 | 8 | 2 | 8 | 7 | 8 | 7 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 5 | 4 | 9 | 8 | 8 | 158 | 271.8 |
| 8 | 4 | 9 | 7 | 8 | 2 | 8 | 7 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 5 | 4 | 9 | 8 | 8 | 159 | 273.5 |
| 8 | 4 | 9 | 7 | 8 | 2 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 5 | 4 | 9 | 8 | 8 | 160 | 275.2 |
| 8 | 4 | 9 | 8 | 8 | 2 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 5 | 4 | 9 | 8 | 8 | 161 | 276.9 |
| 9 | 4 | 9 | 8 | 8 | 2 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 5 | 4 | 9 | 8 | 8 | 162 | 278.5 |
| 9 | 4 | 10 | 8 | 8 | 2 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 5 | 4 | 9 | 8 | 8 | 163 | 280.1 |
| 9 | 4 | 10 | 8 | 8 | 2 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 5 | 4 | 9 | 8 | 8 | 163 | 280.1 |
| 9 | 4 | 10 | 8 | 9 | 2 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 5 | 4 | 9 | 8 | 8 | 164 | 281.7 |
| 9 | 4 | 10 | 8 | 9 | 2 | 9 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 5 | 4 | 9 | 8 | 8 | 165 | 283.3 |
| 9 | 4 | 10 | 8 | 9 | 2 | 9 | 8 | 9 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 5 | 4 | 9 | 8 | 8 | 166 | 284.9 |
| 9 | 4 | 10 | 8 | 9 | 2 | 9 | 8 | 9 | 8 | 9 | 8 | 8 | 8 | 8 | 8 | 8 | 5 | 4 | 9 | 8 | 8 | 167 | 286.5 |
| 9 | 4 | 10 | 8 | 9 | 2 | 9 | 8 | 9 | 8 | 9 | 8 | 9 | 8 | 8 | 8 | 8 | 5 | 4 | 9 | 8 | 8 | 168 | 288.1 |
| 9 | 4 | 10 | 8 | 9 | 2 | 9 | 8 | 9 | 8 | 9 | 8 | 9 | 8 | 9 | 8 | 8 | 5 | 4 | 9 | 8 | 8 | 169 | 289.7 |
| 9 | 4 | 10 | 8 | 9 | 2 | 9 | 8 | 9 | 8 | 9 | 8 | 9 | 8 | 9 | 8 | 9 | 5 | 4 | 9 | 8 | 8 | 170 | 291.3 |
| 9 | 4 | 10 | 8 | 9 | 2 | 9 | 8 | 9 | 8 | 9 | 8 | 9 | 8 | 9 | 8 | 9 | 5 | 4 | 10 | 8 | 8 | 171 | 292.9 |
| 9 | 4 | 10 | 8 | 9 | 2 | 9 | 8 | 9 | 8 | 9 | 8 | 9 | 8 | 9 | 8 | 9 | 5 | 4 | 10 | 8 | 9 | 172 | 294.5 |
| 9 | 4 | 10 | 8 | 9 | 2 | 9 | 8 | 9 | 8 | 9 | 8 | 9 | 8 | 9 | 8 | 9 | 5 | 4 | 10 | 9 | 9 | 173 | 296.1 |
| 9 | 4 | 10 | 8 | 9 | 2 | 9 | 8 | 9 | 8 | 9 | 8 | 9 | 8 | 9 | 9 | 9 | 5 | 4 | 10 | 9 | 9 | 174 | 297.7 |