## FPOM May-July 2022
FPOM May-July Transmission Outages That Have Potential to Limit Generation
Equipment Outage | Date(s) | Hours | Impacted Generation | Notes
HUNGRY HORSE PH: PCB 2382, PCB 2182 | 2/28/22-6/24/2022 | Continuous | Hungry Horse Units 1-2
BIG EDDY: 115KV MAIN BUS SECTIONS 1 AND 2 | 2022-05-17 | 0600-2200 | The Dalles Units 1-4 | replace PT's/ fish units on line 3
GRAND COULEE: GRAND COULEE SWITCHYARD 230-500KV TIE NO 1 500KV LINE INCLUDING PCBS 6582, 1996 AND 8692 | 5/16/22-7/1/22 | Continous | Chief Joseph Units 1-16 limited to 1197 MW Total
MCNARY: PCB A-420 OF MCNARY PH-MCNARY NO 3&4 230KV LINE | 2022-05-25 | 0600-1300 | Mcnary Units 5-8
BIG EDDY: PCB A-812 OF THE DALLES PH-BIG EDDY NO 3 230KV LINE | 2022-05-30 | 0700-0730 | The Dalles Units 5-8
Equipment Outage | Date(s) | Hours | Impacted Generation | Notes
MCNARY: PCB A-420 OF MCNARY PH-MCNARY NO 3&4 230KV LINE | 2022-06-27 | 0630-0700 | Mcnary Units 5-8
BIG EDDY: PCB A-812 OF THE DALLES PH-BIG EDDY NO 3 230KV LINE | 2022-06-09 | 1630-1700 | The Dalles Units 5-8
Equipment Outage | Date(s) | Hours | Impacted Generation | Notes
BONNEVILLE PH 2-NORTH BONNEVILLE NO 3 230KV LINE | 7/18/22-8/5/22 | Continous | Bonneville Units 11-14
BONNEVILLE PH 2-NORTH BONNEVILLE NO 3 230KV LINE | 2022-07-18 | 0800-1500 | Bonneville Units 11-14
| 2022-08-22 | 0800-1600 | Lower Monumental Units 1-6 | Isolate T2
LOWER MONUMENTAL: 4318 TERMINAL OF LOWER MONUMENTAL PH-LOWER MONUMENTAL NO 1 500KV LINE | 8/22/22-10/4/22 | Continous | Lower Monumental Units 5-6 | doble testing/ transformer rehab
BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE | 2022-07-18 | 0630-0700 | The Dalles Units 9-12
BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE | 2022-07-28 | 1630-1700 | The Dalles Units 9-12
NOXON-LIBBY NO 1 230KV LINE | 7/5/22-7/7/22 | Continous | Libby Max Gen 330 MW and Hungry Horse Max Gen 170 MW
COLUMBIA FALLS: PCB A-311 TERMINAL OF THE HUNGRY HORSE - COLUMBIA FALLS LINE NO 1 230KV LINE | 7/25/22-7/29/22 | Continous | Libby+Hungry Horse Combined Max Gen 600 MW
LIBBY: A-1590 TERMINAL OF THE LIBBY PH-LIBBY NO 1 230KV LINE | 7/26/22-7/27/22 | Continous | Libby Units 1-2
JOHN DAY: 4165/4166 TERMINAL OF JOHN DAY PH-JOHN DAY NO 3 500KV LINE | 7/25/22-7/28/22 | Continous | John Day Units 9-12
ICE HARBOR-FRANKLIN NO 1 115KV LINE | 7/18/22-7/24/22 | Continous | Ice Harbor Units 1-2
sb 5/11/22 | sb 5/11/22