## FPOM July-Sept
FPOM July-September Transmission Outages That Have Potential to Limit Generation
Equipment Outage | Start | End | Impacted Generation | Notes
NORTH BONNEVILLE: EAST M/B INCLUDING PCB'S A-11, A-17, A-10, A-16, A-8, A-14 AND A-9 | 7/25/2023/ 11:00 | 2023-07-25 20:00 | North Bonneville 11-18
CONKELLEY: 230KV EAST AUX BUS INCLUDING PCBS A-1210, A-1282, 230KV REACTIVE BUS 1 AND 230/13.8KV XFMR 4 | 07/24/2023 08:00 | 07/25/2023 15:00 | Libby + Hungry Horse total generation to 600MW
Equipment Outage | Start | End | Impacted Generation | Notes
TRUMBLE CREEK-CONKELLEY SECTION OF THE LIBBY-CONKELLEY #1 230KV LINE | 07/31/2023 07:00 | 08/18/2023 14:00 | Hungry Horse generation to 100 MW Minimum Libby generation to 453 MW Maximum.
LITTLE GOOSE: 4349/4351 TERMINAL OF LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE | 07/31/2023 05:00 | 08/12/2023 17:00 | Little Goose 1-6
LOWER MONUMENTAL: 4317/4343 TERMINAL OF LOWER MONUMENTAL PH-LOWER MONUMENTAL 1 500KV LINE | 07/24/2023 06:00 | 08/03/2023 15:00 | Lower Monumental 1-6
CHIEF JOSEPH 230kV UNITS 950 MW
Equipment Outage | Start | End | Impacted Generation | Notes
JOHN DAY: 4165/4166 TERMINAL OF JOHN DAY PH-JOHN DAY 3 500KV LINE | 09/05/2023 07:00 | 09/21/2023 17:00 | John Day 9-12
HASKILL-TRUMBULL CREEK SECTION OF LIBBY-CONKELLEY NO 1 230KV LINE | 2023-09-18 04:15 | 2023-10-02 22:00 | Hungry Horse generation to 100 MW Minimum Libby generation to 453 MW Maximum.
Libby-Trumbull Creek Section of the Libby-Conkelley No 1 230kV Line Including Haskill Tap | 2023-09-18 03:45 | 2023-09-18 04:14 | Hungry Horse generation to 100 MW Minimum Libby generation to 453 MW Maximum.