## FPOM Mar-May
FPOM March - May 2023 Transmission Outages That Have Potential to Limit Generation
March
Equipment Outage | Start | End | Impacted Generation | Notes
MCNARY: 230KV MAIN BUS SECTION 1 INCLUDING PCB'S A-404, A-408, A-412 AND A-414 | 03/13/2023 07:00 | 03/14/2023 17:00 | McNary 1-4
THE DALLES PH-BIG EDDY NO 5 230KV LINE | 03/27/2023 06:30 | 03/27/2023 07:00 | The Dallas 13-16
BIG EDDY: 115KV MAIN BUS SECTION 1 INCLUDING PCBS B-1696, AND B-1692 | 03/06/2023 08:00 | 03/10/2023 17:00 | The Dallas 1-2
-USBR- HUNGRY HORSE: PCB'S 2182 AND 2382 | 03/13/2023 06:00 | 2023-04-27 16:00 | Hungry Horse 1-2
April
Equipment Outage | Start | End | Impacted Generation | Notes
BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE | 04/03/2023 06:30 | 04/03/2023 07:00 | The Dalles 9-12
BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE | 04/13/2023 16:30 | 04/13/2023 17:00 | The Dalles 9-12
BIG EDDY: PCB B-1050 OF THE DALLES PH-BIG EDDY NO 2 115KV LINE | 04/17/2023 06:30 | 04/17/2023 07:00 | The Dalles 3-4
BIG EDDY: PCB B-1050 OF THE DALLES PH-BIG EDDY NO 2 115KV LINE | 04/27/2023 14:00 | 04/27/2023 15:00 | The Dalles 3-4
CHIEF JOSEPH: A-602 TERMINAL OF CHIEF JOSEPH PH-CHIEF JOSEPH 4 230KV LINE | 04/03/2023 05:00 | 04/21/2023 17:00 | Chief Joseph 13-16
THE DALLES PH-BIG EDDY NO 5 230KV LINE | 04/06/2023 16:30 | 04/06/2023 17:00 | The Dalles 13-16
ICE HARBOR-FRANKLIN NO 2 115KV LINE INCLUDING THE SACAJAWEA TAP | 04/14/2023 08:00 | 04/14/2023 15:00 | Ice Harbor 1-2
ICE HARBOR-FRANKLIN NO 1 115KV LINE | 04/14/2023 08:00 | 04/14/2023 15:00 | Ice Harbor 3-4
May
Equipment Outage | Start | End | Impacted Generation | Notes
BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE | 05/08/2023 06:30 | 05/08/2023 07:00 | The Dalles 9-12
-COE- DWORSHAK: 115/13.8KV BANK TW1 | 05/15/2023 07:00 | 05/18/2023 17:00 | Dworshak unit 1
BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE | 05/18/2023 16:30 | 2023-05-18 17:00 | The Dalles 9-12
BIG EDDY: PCB A-836 OF THE DALLES PH-BIG EDDY NO 5 230KV LINE | 05/22/2023 07:00 | 2023-05-22 07:30 | The Dalles 13-16
sb 3/8/23