## FPOM Aug-Oct
Equipment Outage | Start | End | Impacted Generation | Notes
LITTLE GOOSE: 4349/4351 TERMINAL OF LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE | 08/11/2024 05:00 | 08/11/2024 17:00 | Little Goose Units 1-6
LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE 1 500KV LINE | 08/12/2024 06:00 | 08/16/2024 18:00 | Lower Granite Units 1-6
Equipment Outage | Start | End | Impacted Generation | Notes
LIBBY: A-1590 TERMINAL OF LIBBY POWERHOUSE - LIBBY NO 1 230KV LINE | 08/05/2024 05:00 | 09/20/2024 15:00 | Libby Units 1-2
THE DALLES PH: ZMT5 DSC | 09/02/2024 06:30 | 09/12/2024 12:30 | Big Eddy 4 Unit 9-12
BONNEVILLE PH 2-NORTH BONNEVILLE NO 4 230KV LINE | 09/16/2024 07:00 | 10/03/2024 17:00 | Bonneville 4 Unit 15-18
JOHN DAY: 4174/4175 TERMINAL OF JOHN DAY PH-JOHN DAY 4 500KV LINE | 09/09/2024 06:00 | 09/12/2024 17:00 | John Day 1 Units 13-16
Equipment Outage | Start | End | Impacted Generation | Notes
NORTH BONNEVILLE: A-11 TERMINAL OF THE BONNEVILLE PH 2-NORTH BONNEVILLE NO 4 230KV LINE | 09/16/2024 07:00 | 10/03/2024 17:00 | Bonnvielle 2 Units 15-18
BONNEVILLE PH 2-NORTH BONNEVILLE NO 3 230KV LINE | 10/07/2024 07:00 | 10/24/2024 17:00 | Bonnvielle 2 Units 11-14