## FPOM May-July
Equipment Outage | Start | End | Impacted Generation | Notes
HUNGRY HORSE-CONKELLEY NO 1 230KV LINE | 05/06/2024 07:00 | 05/23/2024 14:00 | minimum Hungry Horse generation will not be required.
Equipment Outage | Start | End | Impacted Generation | Notes
HUNGRY HORSE-COLUMBIA FALLS NO 1 230KV LINE | 06/10/2024 07:00 | 06/17/2024 15:00 | Set “Libby + Hungry H” limit to 600MW
COLUMBIA FALLS: A-311 TERMINAL OF THE HUNGRY HORSE-COLUMBIA FALLS #1 230KV LINE | 06/10/2024 06:00 | 06/14/2024 16:00 | Set “Libby + Hungry H” limit to 600MW
Equipment Outage | Start | End | Impacted Generation | Notes
THE DALLES PH-BIG EDDY NO 5 230KV LINE | 03/27/2024 12:00 | 07/08/2024 23:00 | Big Edday 5 Unit 13-16
THE DALLES PH-BIG EDDY NO 1 115KV LINE | 03/27/2024 11:00 | 07/08/2024 23:00 | Big Edday 1 Unit 1-2 and Fish Units 1-2
LITTLE GOOSE: 4349/4351 TERMINAL OF LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE | 07/15/2024 05:00 | 07/15/2024 17:00 | LITTLE GOOSE PH-1 Units 1-6