CENWP-OP-B











05 April 2004

MEMORANDUM FOR THE RECORD

SUBJECT: Chlorinated water spill

On 31 March, approximately 23,300 gallons of chlorinated water was unintentionally released into the environment.  The estimated concentration of sodium hypochlorite was four parts per million.  

The spill occurred when a valve was left open while workers were cleaning out potable water piping.  Water was released into a drainage ditch, flowed several hundred feet into a storm drain, then into a drainage sump, mixed with other drainage (from lock walls and drains) then flowed to the river downstream of the new navlock. 

Biologists did not see any dead fish or other negative impacts from the chlorinated water.  It is believed the concentration was low enough to have a negligible impact to wildlife in the river.  

    








Bonneville Fisheries 

