CENWP-OD-B










26 March 2009
MEMORANDUM FOR THE RECORD

SUBJECT: Dead sturgeon caused from Unit 10 start-up.

Bonneville Fisheries was informed of five sturgeon mortalities on 24 March at 1545 hrs and 20 sturgeon mortalities on 26 March at 0855 hrs.  Both sets of mortalities are associated with the start-up of Unit 10.  

It is suspected that sturgeon more quickly and easily entered the Unit 10 draft tube since units 7-9 have been out of service for extended periods of time and end units have proven themselves to be more prone to having sturgeon enter their draft tubes.
During the week of 23 March, project maintenance was raking trash at PH1.  When a unit came down for the trashraking, another unit was started in its place. In this case, Unit 10 was started.  Neither time was the unit slow rolled since the verbal guidance had only referenced PH2 units.  

Fisheries has since made the Control Room aware of the 2009 FPP language and requested that the slow roll protocol be followed for both powerhouses.
Bonneville Fisheries

