OFFICIAL NOTIFICATION FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

NOTIFICATION DATE- 10 April 2009
PROJECT- Bonneville Lock and Dam
RESPONSE DATE- no response needed, this is for informational purposes only
Description of the problem- Spill season began at BON at 0001 on 10 April.  At that time, the control room opened the spill gates to the patterned coordinated by FPOM, since Bay 17 is dogged due to a broken hoist.  All bays opened as planned except Bay 14.  Bay 14 remained closed until an electrician could repair it.  This left a hole in the spill pattern for about 11 hours.
At 0810 on 10 April, an electrician arrived on site to investigate the problem.  There was an electrical ground preventing the controls for the spillbay to function.
Type of outage required- Bay 14 remained on sill while the problem was investigated and repaired.  Bay 14 should have been at 2.5 feet, thus passing about 5000kcfs.
Impact on facility operation- The spill pattern was not in FPP criteria during this outage.  A new spill pattern was created at 0130 to distribute the Bay 14 flow to additional bays.
Length of time for repairs- An electrician arrived on site at 0810 and Bay 14 was in the proper position by 1050 on 10 April.
Expected impacts on fish passage- Spill is mainly provided for juvenile fish.  They tend to migrate through the spillway during the evening hours.  With Bay 14 closed, there was a hole in the pattern, thus providing less than ideal egress conditions in the Main Dam tailrace. 
This outage was corrected as soon as an electrician could arrive on Project though, so it is expected that the impacts on fish passage were minimized to the extent possible.  In addition, 100Kcfs spill was still provided, with the Bay 14 flow distributed to the other operable bays
Comments from agencies
Final results- Bay 14 is back in service and the spill pattern is following the modified pattern as coordinated with FPOM.
Please email or call with questions or concerns.
Thank you, 

Tammy Mackey

NWP Operations Division Fishery Section

Columbia River Coordination Biologist

541-374-4552 Bonneville Office
503-961-5733 Blackberry

Tammy.m.mackey@usace.army.mil 
