OFFICIAL NOTIFICATION FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

NOTIFICATION DATE- 10 April 2009
PROJECT- Bonneville Lock and Dam
RESPONSE DATE- no response needed, but comments are always welcome.
Description of the problem- Unit 12 was tripped offline at 1054 on 9 April due to exciter issues.  
Type of outage required- Unit 12 will remain out of service until, at least, 13 April and possibly as long as 16 April.  
Impact on facility operation- With Unit 12 OOS, the unit priority for PH2 is 18,15,17,14,13,16.
Length of time for repairs- The unit won’t be looked at until 13 April, at the earliest.  It is currently unknown how long repairs might take but a return date of 16 April was discussed, with the hopes that the unit would return sooner.
Expected impacts on fish passage- Unit 12 is the priority south end unit while Unit 11 remains out of service.  At this time, Unit 13 flow is the only attraction flow at the south end of the powerhouse (units 14-16 are mid-powerhouse units, for the most part).  
Adults may experience a very slight delay in finding the south entrances, however, the impacts on their passage should be minimal since the north end of the powerhouse is providing attraction flow and all entrances are operating in criteria.

Juveniles may be pulled more towards the north end of the powerhouse and thus, through the JBS, instead of towards the south end and through the B2CC.  Juveniles passing via the B2CC are considered to have a better survival rate than those going through the JBS, however, the JBS is still considered a safe route of passage.
Comments from agencies
Final results- Unit 12 remains out of service until repairs can be made.  Updates will be provided to FPOM on Monday or as soon as more information is available.
Please email or call with questions or concerns.
Thank you, 

Tammy

Tammy Mackey

NWP Operations Division Fishery Section

Columbia River Coordination Biologist

541-374-4552 Bonneville Office
503-961-5733 Blackberry

Tammy.m.mackey@usace.army.mil 
