OFFICIAL COORDINATION REQUEST FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION DATE-  07 October 2010
PROJECT-  Bonneville Lock and Dam
RESPONSE DATE-  21 October 2010
Description of the problem- Unit 9 has completed the 72 hour heat run, now it needs to complete a 100 day operation, as per the contract and warranty.  
Type of outage required- BON requests to move Unit 9 to third in priority for PH1.  Project unit priority would be 12,18,15,17,14,13,16,1,10,9,3,7,6,2,4,5,8 (11 remains OOS).
Automated chain gate 6C would remain closed.  Manual chain gate 7A would remain opened to elevation 72’.
Impact on facility operation- Moving Unit 9 up in priority will allow the Project to get more run time during the 100 operation.  
Length of time for repairs- The unit priority change is requested for 100 days, starting once the unit has returned to commercial service (expected by mid-October).
Expected impacts on fish passage- There are limited impacts expected to fish passage since a chain gate will be open over the two priority units.  Unit 9 will not have an open chain gate, but it is at the north end and automated gate 10B will be open and properly operating.  
Comments from agencies

Approved at the 12 October 2010 FPOM.
Final results- The Project will move Unit 9 to third in PH1 unit priority. 
Please email or call with questions or concerns.
Thank you, 

Tammy Mackey

NWP Operations Division Fishery Section

503-961-5733 Blackberry

Tammy.m.mackey@usace.army.mil 

