OFFICIAL COORDINATION REQUEST FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION DATE-  01 April 2011
PROJECT-  Bonneville Lock and Dam
RESPONSE DATE- 14 April 2011 (FPOM)
Description of the problem- Unit 9 turbine bearing is getting significantly hotter than it should.  The Project would like to move U9 up in priority so they can troubleshoot the issue.  The unit will come down in August for annual maintenance, at which time they hope to have enough diagnostics to determine what the issue may be.
New PH1 priority would be 1,10,3,6,9,2,4,5,8,7
Type of outage required- No outage required but U9 would move up in the PH1 unit priority.
Impact on facility operation- U9 would move up in priority.  No other impacts on facility operation.
Length of time for repairs- Priority would remain 1,10,3,6,9,2,4,5,8,7 until U9 goes out of service for annual maintenance in August 2011.
Expected impacts on fish passage- Impacts on fish passage are expected to be minimal as the proposed priority leaves all units with automated chaingates ahead of U9.  U10 gates will remain open and in FPP criteria.
Comments from agencies

-----Original Message-----
From: Gary Fredricks [mailto:Gary.Fredricks@noaa.gov] 
Sent: Wednesday, April 06, 2011 1:41 PM
To: Mackey, Tammy M NWP
Subject: Re: FPOM: official coordination- BON unit 9 shift in priority

Tammy,  The PH1 unit priority change looks ok to me.  We will likely have full powerhouse operation for the foreseeable future anyway.  I expect that they would return to the FPP priority if they have enough diagnostics data prior to the August outage.  Thanks,  Gary

Final results- Approved at the April 2011 FPOM. The Project will move forward with the priority change as coordinated.
Please email or call with questions or concerns.
Thank you, 

Tammy Mackey

NWP Operations Division Fishery Section

Columbia River Coordination Biologist

Tammy.m.mackey@usace.army.mil 

