OFFICIAL COORDINATION REQUEST FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION TITLE- 12BON06 ITS closure for PNNL hydrophone installation
COORDINATION DATE-  19 March 2012
PROJECT-  Bonneville Lock and Dam
RESPONSE DATE- 20 March 2012, though comments are welcome even after the response date.
Description of the problem- PNNL needs access to the PH1 forebay Boat Restricted Zone (BRZ) to deploy hydrophones for the season.  PH1 BRZ work requires Ice and Trash Sluiceway (ITS) closure.  This work would have occurred outside of passage season but was suspended due to delays in trolley pipe repair dive operations, conflicting maintenance activities, and unavailability of clearance holders.

Type of outage required- PH1 ITS.  The endgate will be closed with the chain gates left in their proper position.
Impact on facility operation- The ITS will be closed during a time when it is normally open.  Closing the endgate is easier than closing all the chain gates and still provides a safe work environment.
Dates of impacts/repairs- 21 March 2012.
Length of time for repairs- Expected to only be from 0630 until 1200, but may require afternoon work as well.  Dependant on work crew, environmental conditions, etc. Clearance requested from 0630 until 1600, but will be released as soon as work is completed.
Expected impacts on fish passage- 
Juvenile salmonid impacts- there will be no surface bypass route at PH1 for juveniles.  PH1 turbine survival is generally seen as good for juveniles.

PH2 will remain the priority powerhouse with the DSM and B2CC operating within FPP criteria.

Adult downstream migrating salmonids- there will be no surface bypass route at PH1 for kelts for one day.  The B2CC opened on 19 March after the 2/2/20 kelt trigger was met.  The B2CC will remain open with PH2 as the priority powerhouse.
Adult upstream migrating salmonids- no expected impact as the closure is for the ITS and the work in the BRZ is at the face of the dam.
Comments from agencies

CRITFC (Lorz via phone) – Not thrilled with this outage, however, the data to be collected is important.  Try to minimize the outage as much as possible.  Move start time to after 1000 if possible.
-----Original Message-----
From: Tom Lorz [mailto:lort@critfc.org] 
Sent: Tuesday, March 20, 2012 6:47 AM
Subject: Re: FPOM: MOC 12BON06 ITS closure for PNNL hydrophone installation

This looks ok, not happy but ok.  Thanks  tom

IDFG- -----Original Message-----
From: Kiefer,Russell [mailto:russ.kiefer@idfg.idaho.gov] 
Sent: Tuesday, March 20, 2012 2:00 PM
Subject: RE: FPOM: MOC 12BON06 ITS closure for PNNL hydrophone installation

We have no objections.  Support delaying the start time to 10:00 if reasonably possible.  Russ

NOAA- -----Original Message-----
From: Trevor Conder [mailto:trevor.conder@noaa.gov] 
Sent: Tuesday, March 20, 2012 8:02 AM
Subject: Re: FPOM: MOC 12BON06 ITS closure for PNNL hydrophone installation

Optimally this would have been done prior to the kelt passage season, but since we are here now we need to minimize the impacts to the extent possible. Kelts tend to be most active at dawn and dusk so we second Tom's suggestion of working after 10am, or even starting a little later if you can get the work done before 5pm. Also, anything that can be done to load PH2 and reduce flows through PH1 will help to reduce impacts. Spilling the ITS flow (2.5K) through the nearest spillbay adjacent to PH1 should also help by pulling fish away from the first powerhouse.  Thanks for the coordination  Trevor

BPA-----Original Message-----
From: Bettin,Scott W (BPA) - KEWR-4 [mailto:swbettin@bpa.gov] 
Sent: Wednesday, March 21, 2012 10:50 AM
Subject: RE: FPOM : MOC 12BON06 ITS closure for PNNL

I concur with the 10 am start.  I do not support  moving 2.5 kcfs of flow to spillbay 18. Given the configuration of the project I do not see how increasing spill there will increase the number of kelts, currently at 1-4 fish/day to move towards the spillway and dive down to pass through the spillgate.     

Final results- Work could not be delayed until a 1000 start time due to other schedule constraints, but PNNL did complete their work early.  Project Fisheries reported PNNL was done and the ITS opened by 12:30 on 21 March.
Spill was not provided from Bay 18 for this outage.

Please email or call with questions or concerns.
Thank you, 

Tammy Mackey

Tammy.m.mackey@usace.army.mil 

