OFFICIAL COORDINATION REQUEST 

FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION DATE-  10/20/2008
PROJECT-  John Day Dam
RESPONSE DATE-  This is a notification.
Description of the problem
JDA needs to perform annual maintenance on Line 1.  This was accidentally overlooked, and not brought to the attention of FPOM on 9 October.  
Type of outage required

Units 1-4 will be out of service from 19-23 October.
Impact on facility operation

The fishways will remain in operation, but Unit 1, which provides flushing flow for the JBS and it provides some attraction flow at the south end, will not be in operation.  October was chosen at a good time for annual maintenance because of the decreasing fish numbers and the weather is still good.  
Length of time for repairs

The maintenance is expected to take four days.  19-23 October 2008.
Expected impacts on fish passage
In the past, a difference has been seen in fish passage when Unit 1 is OOS in Autumn.  Project Fisheries will observe any changes in fish passage during this outage.  If a significant change is noted, Fisheries may want to suggest a different time of year, when the weather is still mostly dry, for Line 1 maintenance.

Comments from agencies

This action is already occurring, but your comments are still welcome.
WDFW had no comments, but would watch for changes to ladder passage.

Final results
Line 1 is out of service, along with units 1-4, until 23 October.
Please email or call with questions or concerns.
Thank you, 

Tammy

Tammy Mackey

NWP Operations Division Fishery Section

Columbia River Coordination Biologist

541-374-4552 Bonneville Office
503-691-5733 Blackberry

Tammy.m.mackey@usace.army.mil 
