OFFICIAL NOTIFICATION FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

NOTIFICATION DATE-  02 April 2010
PROJECT-  John Day Dam
RESPONSE DATE- No response required, but comments are always welcome.
Description of the problem- The JDA tailrace BRZ avian lines installation requires units 1-3 are required to be OOS due to potential access of safety boat immediately downstream of south portion of powerhouse. The turbine boils are unsafe; they would make it impossible for a safety boat to conduct recovery operation if a worker fell into river while working on the tailrace deck.  

MU 1 and 3 are part of JD unit priority and we are requesting permission an exception for one day, 0800-1700 hrs, sometime the next week, 4/5-4/8. 

Type of outage required- Units 1, 2 and 3 will need to be out of service from 0800 until 1700 for one day between 5- 8 April.  
Impact on facility operation- Two priority units will be out of service during fish passage season.  
Length of time for repairs- nine hours for one day.
Expected impacts on fish passage - Impact on fish passage is minimal at this time of year, since very few are passing through SMF/JBS outfall (today, 4/1 24hrs 100% sample yielded only 8 juvenile fish.)  Benefit: this coordination will make possible to install of all planned lines. 

Comments from agencies- Comments regarding a preference for the day of the outage are greatly appreciated.
IDFG- With current cool temperatures and the status of outmigration, the sooner the better.  Russ

Final results- Approved at 15 April FPOM.  Work is scheduled to occur on 19 April.
Please email or call with questions or concerns.
Thank you, 

Tammy

Tammy Mackey

NWP Operations Division Fishery Section

503-961-5733 Blackberry

Tammy.m.mackey@usace.army.mil 

