CENWP-OD-J










17 May 2010
MEMORANDUM FOR THE RECORD

SUBJECT: Memorandum Concerning Juvenile Fish Mortalities at the John Day Dam (JDA) Smolt Monitoring Facility (SMF).

On May 11, 2010, Pacific Northwest National Laboratory (PNNL) staff discovered 144 dead juvenile Chinook salmon and steelhead at the JDA SMF.  PNNL project staff arrived at the JDA SMF at 2100 hrs on the evening of May 10 to pick up tagged juvenile salmonids.  These juveniles were to be released at 2200 hrs downstream of The Dalles Dam.  While filling totes used to transport the tagged fish, a plastic pipe joint on a water supply line ruptured.  PNNL staff notified JDA Corps biologists of the broken line and Corps biologists subsequently shut off the water supply to the broken pipe.  Repairs to the water supply line were not discussed by PNNL and Corps biologists at that time.  After the water was shut off, PNNL staff loaded the buckets of fish into the transport totes and noted that water was still circulating in the holding tank from which they had removed fish.  Unbeknownst to PNNL staff, the Corps biologist had inadvertently shut off the fresh water supply lines to tanks holding other live tagged fish as well.  When PNNL staff arrived at the JDA SMF the following morning, May 11, they immediately noticed the lack of water to the holding tanks and found 71 steelhead and 73 yearling Chinook mortalities.  These mortalities represent 0.3 percent of the estimated total number of steelhead and 0.2 percent of the estimated total number of yearling Chinook salmon that passed John Day Dam on May 11.  Of these, 17 (12%) were Endangered Species Act (ESA)-listed wild steelhead trout and 10 (7%) were ESA-listed wild Chinook salmon (see attached Table 1 for more detail).
Future and Preventative Measures:

1. All outside plumbing is being replaced to ensure that failures from aged components, such as this ruptured pipe joint, will not reoccur this field season. 

2. Standpipes will be refitted to ensure no loss of water from seepage around the standpipe base.

3. Spare water supply line parts will be on site and ready to use for repairs in the event of supply line failure.  Research staff will be trained on procedures for response to supply line failures.

4. The fresh water manifold that supplies the outside holding tanks has been secured so that it cannot be used as a water source to fill fish transport totes.  Only a small number of trained authorized research staff will have access to this manifold. 

5. A backup water supply and 4 port manifold will been installed in the event an emergency mandates a shut off of the water supply from the SMF.  This backup line is supplied independently of the water source that the holding tanks currently use.
6. The Corps will develop a standard operating procedure (SOP) to be followed when holding fish at the SMF for research purposes.  The SOP will include a checklist that ensures monitoring of critical water supply lines and valves occurs daily.

7. A tag-out system for identifying critical fish holding tank water supply valves will be established and implemented.  The tag-out procedure will be carried out by a Corps biologist or his designee and the tag will state “Do not close – Fish water supply”.
8. The Corps’ biologists and research biologists will notify each other as soon as deficiencies are noted with any aspect of the facility to coordinate a plan of action consistent with procedures noted above.
The Corps informed regional fish managers, including NOAA Fisheries, on May 13, 2010.
Table 1. Species and origin of juvenile fish mortalities found at John Day Dam Smolt Monitoring Facility on May 11, 2010. 
	ESU
	Hatchery or Wild
	Age
	Age detail
	Clipped
	Approx Number Dead

	Snake River Steelhead
	Hatchery
	Juvenile
	yearling
	clipped
	7

	Upper Columbia Steelhead
	Hatchery
	Juvenile
	yearling
	Clipped
	8

	Middle Columbia Steelhead
	Hatchery
	Juvenile
	yearling
	clipped
	5

	Snake River Spring Chinook
	Hatchery
	Juvenile
	yearling
	clipped
	2

	Snake River Fall Chinook
	Hatchery
	Juvenile
	yearling
	clipped
	2

	Upper Columbia Spring Chinook
	Hatchery
	Juvenile
	yearling
	clipped
	2

	Snake River Steelhead
	Hatchery
	Juvenile
	yearling
	not-clipped
	1

	Snake River Steelhead
	Wild
	Juvenile
	yearling
	NA
	3*

	Upper Columbia Steelhead
	Hatchery
	Juvenile
	yearling
	not-clipped
	5

	Upper Columbia Steelhead
	Wild
	Juvenile
	yearling
	NA
	4*

	Middle Columbia Steelhead
	Wild
	Juvenile
	yearling
	NA
	10*

	Middle Columbia Steelhead
	Hatchery
	Juvenile
	yearling
	not-clipped
	1

	Snake River Spring Chinook
	Hatchery
	Juvenile
	yearling
	not-clipped
	2

	Snake River Spring Chinook
	Wild
	Juvenile
	yearling
	NA
	5*

	Snake River Fall Chinook
	Hatchery
	Juvenile
	yearling
	not-clipped
	11

	Upper Columbia Spring Chinook
	Hatchery
	Juvenile
	yearling
	not-clipped
	7

	Upper Columbia Spring Chinook
	Wild
	Juvenile
	yearling
	NA
	5*

	Unlisted Species
	Hatchery or Wild
	Age
	Age detail
	Clipped
	 

	Spring Chinook 
	Hatchery
	Juvenile
	yearling
	clipped
	37

	Steelhead
	Hatchery
	Juvenile
	yearling
	clipped
	27

	
	
	
	
	TOTAL
	144


*ESA-listed fish

