CENWP-OD-D








13 June 2011
MEMORANDUM FOR THE RECORD

SUBJECT: Juvenile Salmonid morts in gatewell 2A.
On 13 June, JDA Fisheries reported juvenile salmonid mortalities have been occurring in the gatewells for approximately a week.  Gatewell MU 2A is the worst, with debris cover of about 70%.  Debris build-up is evident in gatewells at Units 1 and 3, with some covered up to 50 % with debris.  JDA Structural crew is cleaning the gatewells and trashracks this week.  Due to the equipment available and the type of debris (roots and branches) cleaning gatewells may take up to a day each.  

JDA Fisheries is assisting with debris removal and salvaging any live fish mixed with debris.  JDA Fisheries estimates total mortality to be around 200 fish, though more accurate numbers will be provided after cleaning.  
A. Species – salmonids.
B. Origin – unknown.
C. Length – juvenile sized.
D. Marks and tags – not collected.
E. Marks and Injuries found on carcass – NA
F. Cause and Time of Death – fish were trapped in gatewell debris from about 05 June through 12 June.
G. Future and Preventative Measures – JDA does not have a proper debris basket to handle long roots and branches, though Fisheries has requested a proper debris basket be acquired for more efficient and effective removal in the future. 

[image: image1.jpg]



[image: image2.jpg]



12 June 2011.  Gatewell 2A



12 June 2011.  Gatewell 2A
Sincerely,

MIROSLAW A. ZYNDOL

JOHN DAY DAM

CHIEF OF FISHERIES

