OFFICIAL COORDINATION REQUEST FOR 

NON-ROUTINE OPERATIONS AND MAINTENANCE

COORDINATION TITLE- 111012 JDA MU 6 draft tube
COORDINATION DATE- 12 October 2011
PROJECT- John Day Dam
RESPONSE DATE- No response needed, but comments are always welcome.
Description of the problem:  JDA Main Unit (MU) 6 was forced out of service (OOS) on 11 October due to a suspected bad blade seal and oil leak.  The Structural crew was able to install roller gates and tail logs quickly on 11 October.  MU6 is scheduled for further dewatering to verify the issues and source of the oil leak.
The scroll case will be dewatered on 13 October but the draft tube cannot be dewatered within 96 hours.  The draft tube will be slowly drained to contain leaked oil and to provide access to the blades for inspection.
More information is expected on 17 October.
Type of outage required: MU6 is OOS.  The scroll case will be dewatered on 13 October.  The draft tube will be dewatered sometime after 17 October, if needed.
Impact on facility operation: MU 6 will be OOS.  Normal dewatering procedures will not be followed due to oil containment needs.  
Dates of impacts/repairs: The unit went OOS on 11 October.  Fish may be in the draft tube and the scroll case now.  The scroll case will be drained on 13 October.  The draft tube will not be drained and fish salvaged until next week, at the earliest.  
Length of time for repairs: Unknown at this time as the extent of repairs needed is not known.
Expected impacts on fish passage: The FPP requires the draft tube be dewatered within four days of installing tail logs.  At this time, the draft tube will not be dewatered to allow fish salvage within the four day timeframe.  This is to keep oil from entering the river environment.  
Impacts to adult salmonids are expected to be minimal.  Typically about 30 fish (small sturgeon and ictalurids) are found in the JDA draft tubes.  For comparison, MU5 was dewatered in September.  The tail logs were installed the next day.  One adult coho, one juvenile steelhead, 35 small sturgeon and 65 small to medium catfish were recovered.  Since tail logs were installed quickly, Project Fisheries expects to the typical numbers and species to be held in the draft tube.

Impacts to juveniles are expected to be minimal as well.  The bulk of the juvenile migration has passed.   The scroll case will be dewatered and typically there are zero fish found in the scroll case.  Few numbers of juveniles are typically found in the draft tube. 

MU 6 is not a priority unit so adult attraction and juvenile flushing impacts are expected to be negligible.
Comments from agencies

NOAA Fisheries (Fredricks via phone)- ok with the operation as detailed in the MOC.  Understands the need to keep the oil out of the river.
Final results-
-----Original Message-----
From: Zyndol, Miroslaw A NWP 
Sent: Thursday, October 13, 2011 5:08 PM
To: Mackey, Tammy M NWP
Subject: JD MU 6 scroll case was sucessfully dewatered today at 1500 hrs (UNCLASSIFIED)

JD MU6 scroll case was dewatered as planned today, 10/13  with the Fisheries crew entering it at approximately 1500 hrs. 

Five resident fish total( 4 medium adult cats, 1 medium adult SMB)  were found, netted and released back into the tailrace in excellent condition. 

Thanks for the help and have a great weekend! 

MIROSLAW A. ZYNDOL 

JOHN DAY DAM  

CHIEF OF FISHERIES 

541-506-7860

BB CELL : 541-980-9958  

-----Original Message-----
From: Lewis, Rob NWP 
Sent: Thursday, October 13, 2011 5:11 PM
To: Mackey, Tammy M NWP; Stocks, Dennis C NWP; Moynahan, Kevin NWP
Subject: Re: FPOM: Official Coordination- JDA MU6 draft tube

Thanks to [FPOM] for a quick decision. We will take advantage of every opportunity to minimize the impact to our aquatic friends. Your understanding and cooperation is greatly appreciated.  

Rob Lewis

Chief of Maintenance

John Day/Willow Creek

Wk-541-298-7697

BB-541-980-6031

Sent via my BlackBerry

-----Original Message-----

From: Stocks, Dennis C NWP 

Sent: Thursday, October 13, 2011 3:14 PM

To: Mackey, Tammy M NWP

Subject: RE: FPOM: Official Coordination- JDA MU6 draft tube

[W]e are rescuing fish in the scroll case today.  We may not be able to get to the fish in the draft tube until the middle of next week.  Is there a possibility that we could leave the water in the draft tube in what we call the "fish saving mode" and not have to rescue them?  Depending on what we find next week once we open the draft tube could change our plans.  If it appears that we could change out blade seals we believe we could do that within two weeks.

Thanks

Dennis

-----Original Message-----
From: Zyndol, Miroslaw A NWP 
Sent: Tuesday, October 18, 2011 4:16 PM
To: Mackey, Tammy M NWP; Hurd, Terry W NWP
Cc: Moynahan, Kevin NWP; Lewis, Rob NWP; Hunter, Patrick J NWP; Stocks, Dennis C NWP; Schoenecker, Anthony H NWP; Hansen, Deborah C NWP
Subject: JD MU 6 draft tube was successfully dewatered today, 10/18 - 26 resident fish were found and salvaged in excellent condition (UNCLASSIFIED)

Classification: UNCLASSIFIED

Caveats: NONE

Tammy, 

JD MU 6 draft tube was dewatered today and the Fisheries crew entered it at approximately 0930 hrs. 

14  sturgeon and 12 catfish, all adults, small to medium were netted, transported in a fish tank and released into the tailrace in excellent condition. Additionally, the good news was that there was no indication of oil there. 

Thanks for the help! 

MIROSLAW A. ZYNDOL 

JOHN DAY DAM  

CHIEF OF FISHERIES 

541-506-7860

BB CELL : 541-980-9958  

Please email or call with questions or concerns.
Thank you, 

Tammy Mackey

NWP Operations Division Fishery Section

Columbia River Coordination Biologist

503-961-5733 
Tammy.m.mackey@usace.army.mil 

