CENWP-OD-J








15 May 2012
MEMORANDUM FOR THE RECORD 
SUBJECT: 12JDA10 Lamprey in the cooling water strainers
On 7 May- JDA Maintenance was notified of high differentials in the unit cooler strainers for units 15 and 17.  Maintenance found two juvenile lamprey macropthalmia (silvers) in Unit 15 cooling strainers and eight juvenile lamprey macropthalmia in Unit 17 cooling strainers.

Approximately five of the fish were alive, these lamprey were collected into a bucket and immediately released into the tailrace.  The other five were morts; additionally, there was some unidentifiable organic matter found.  

A. Species – juvenile lamprey
B. Origin – NA
C. Length – NA
D. Marks and tags – NA
E. Marks and Injuries found on carcass – of the 10 lamprey collected, about five were dead or decomposed, the other five were released to the tailrace.
F. Cause and Time of Death – Cause of death was the entrainment in the unit’s cooling water strainer, time in not known.  There was evidence of additional organic material that may have been decomposed juvenile lamprey.
G. Future and Preventative Measures – This was a rare occurrence of lamprey inside of the cooling strainers.  In an average year, there are no high cooling strainer differentials detected.  JDA Project will continue to monitor and report all similar cooling water strainer incidents involving juvenile lamprey.
Sincerely,

JDA Project Fisheries
